Section F. Inadvertent Interchange Standard
4. INADVERTENT INTERCHANGE Accounting. Adjacent  BALANCING AUTHORITIES shall operate to a common Net Interchange Schedule and Actual Net Interchange value and shall record these hourly quantities, with like values but opposite sign. Each  BALANCING AUTHORITY shall compute its INADVERTENT INTERCHANGE based on the following:
4.1. Daily accounting. Each BALANCING AUTHORITY, by the end of the next business day, shall agree with its adjacent BALANCING AUTHORITIES to:
4.1.1. The hourly values of Net Interchange Schedule.
4.1.2. The hourly integrated MWh values of Net Actual Interchange
4.2. Monthly accounting. Each  BALANCING AUTHORITY shall use the agreed-to Daily and Monthly accounting data to compile its monthly accumulated INADVERTENT INTERCHANGE for the On-Peak and Off-Peak hours of the month. [Refer to “Inadvertent Interchange Accounting Training Document”]
4.3. After-the-Fact Corrections. After-the-fact corrections to the agreed-to Daily and Monthly accounting data shall only be made to reflect actual operating conditions (e.g. a meter being used for control was sending bad data). Changes or corrections based on non-reliability considerations shall not be reflected in the BALANCING AUTHORITY ‘SINADVERTENT INTERCHANGE. After-the-fact corrections to scheduled or actual values will not be accepted without agreement of the Adjacent BALANCING AUTHORITY (s).

5. INADVERTENT INTERCHANGE payback. Each BALANCING AUTHORITY shall be diligent in reducing accumulated inadvertent balances. INADVERTENT INTERCHANGE accumulations shall be paid back by either of the following methods:

5.1. Energy “in-kind” payback. INADVERTENT INTERCHANGE accumulated during “onpeak” hours shall only be paid back during “on-peak” hours. INADVERTENT INTERCHANGE accumulated during “off-peak” hours shall only be paid back during “offpeak” hours. [See Appendix 1F, “On-Peak and Off-Peak Periods.”]

5.1.1. Bilateral payback. INADVERTENT INTERCHANGE accumulations may be paid back via an INTERCHANGE SCHEDULE with another BALANCING AUTHORITY. [Refer to Policy 3, “Interchange” for Interchange Scheduling Requirements.]

5.1.1.1. Opposite balances. The SOURCE BALANCING AUTHORITY and SINK BALANCING AUTHORITY must have inadvertent accumulations in the opposite direction.

5.1.1.2. Agreement on schedule. The terms of the inadvertent payback INTERCHANGE SCHEDULE shall be agreed upon by all involved BALANCING AUTHORITIES and TRANSMISSION PROVIDERS in accordance with NERC operating Policy 3, “Interchange.”

5.1.2. Unilateral payback. INADVERTENT INTERCHANGE accumulations may be paid back unilaterally controlling to a target of non-zero ACE. Controlling to a nonzero ACE ensures that the unilateral payback is accounted for in the CPS calculations. The unilateral payback control offset is limited to BALANCING AUTHORITY ‘sL10 limit and shall not burden the INTERCONNECTION.
5.2. Other payback methods. Upon agreement by all REGIONS within an INTERCONNECTION, other methods of INADVERTENT INTERCHANGE payback may be utilized.
C.
On-Peak and Off-Peak Periods

1.
On-Peak and Off-Peak Hours (Monday Through Sunday)

On- and Off-Peak designation. The hourly inadvertent energy created by a BALANCING AUTHORITY CONTROL AREA is classified as either On-Peak or Off-Peak inadvertent. The peak designation assigned is a function of hour of day, day of week, time zone, prevailing time (standard or daylight savings), and special holiday status.

Daylight saving time. The On-Peak to Off-Peak and Off-Peak to On-Peak boundary hours are unaffected by transitions to or from daylight savings time. If a BALANCING AUTHORITY CONTROL AREA remains on either standard or daylight savings time throughout the year, their inadvertent accounting practices shall use prevailing time.

On-peak hours. Each INTERCONNECTION has a reference time zone and standardized On-Peak and Off-Peak periods. On-Peak periods are summarized in the table below for each INTERCONNECTION. Sundays and special holidays are designated to be Off-Peak periods for the entire day. Hours for Monday through Saturday that are not shown in the table below are also designated as Off-Peak hours.

2.
On-Peak Hours For Monday Through Saturday In Hour-Ending Format

	Interconnection
	Reference Time Zone
	Hour Ending

	
	
	From
	To

	Eastern
	Central
	0700
	2200

	ERCOT
	Central
	0800
	2200

	Western
	Pacific
	0700
	2200


3.
Additional Off-Peak Holidays for the Eastern and Western Interconnections

There are six identified U.S. holidays each year:

· New Year’s Day

· Memorial Day

· Independence Day

· Labor Day

· Thanksgiving Day

· Christmas Day

If any of these holidays fall on a Sunday, the following Monday will be considered an Off-Peak day. Otherwise, the Off-Peak day will be the holiday itself.

