AREA CONTROL ERROR (ACE) EQUATION
1. Jointly Owned Units: Jointly owned units (JOU) must be accounted for properly by all owners in the Area Control Error Equation. 
1.1. The following examples illustrate the methodology.  Balancing authority X and Balancing authority Y each has a unit in their Balancing authority area jointly owned by both Balancing AUTHORITIES.  Unit 1 is in Balancing authority X and unit 2 is in Balancing authority Y.  The ACE equation for Balancing authority X must reflect its ownership of both units.  Two components are required:  one to reflect X’s ownership in unit 2 and one to reflect Y’s ownership of unit 1.  Balancing authority Y’s ACE equation will likewise have two components, one for its ownership in unit 1 and one for X’s ownership of unit 2.  If fixed schedules aren’t used, JOUs may be handled as a pseudo-tie or a dynamic schedule.

1.1.1. Pseudo-Tie

If the Jointly owned units are considered pseudo-ties then the NIS remains prearranged schedules and the NIA term becomes NIa ( IAJOUE ( IAJOUI where:

NIa = actual tie flows.

IAJOUE = pseudo-tie for JOU external to a Balancing authority.

IAJOUE is assumed negative for external generation coming into the Balancing authority as a pseudo-tie.

IAJOUI = pseudo-tie for JOU internal to a Balancing authority.

Incoming power is negative.

Outgoing power is positive.

For example:

Assume Unit 1 in Balancing authority X is generating 400 MW.

100 MW owned by X

300 MW owned by Y

Assume Unit 2 in Balancing authority Y is generating 300 MW.

50 MW owned by X

250 MW owned by Y

Representing the units as a pseudo-tie the equations become:

For Balancing authority X:  NIA = NIa ( ((50) ( 300

For Balancing authority Y:  NIA = NIa ( ((300) ( 50

Note:  IAJOUE is assumed negative for external generation coming into the Balancing authority as a pseudo-tie.

1.1.2 Dynamic Schedule

If reflected as a dynamic schedule, the NIa remains actual tie flows and the NIS becomes NIs + ISJOUE + ISJOUI.

NIs = prearranged schedules.

ISJOUE = dynamic schedule for JOU external to a Balancing authority.

ISJOUE is assumed negative for external generation coming into the Balancing authority as a dynamic schedule.

ISJOUI = dynamic schedule for JOU internal to a Balancing authority.

Incoming power is negative.

Outgoing power is positive.

For example:

Assume Unit 1 in Balancing authority X is generating 400 MW

100 MW owned by X

300 MW owned by Y

Assume Unit in Balancing authority Y is generating 300 MW

50 MW owned by X

250 MW owned by Y

Representing the unit as a dynamic schedule the equations become:

For Balancing authority X: NIS = NIs ( 50 + 300

For Balancing authority Y: NIS = NIs ( 300 + 50

Note:  ISJOUE is assumed negative for external generation coming into the Balancing authority as a dynamic schedule.

2. Supplemental Regulation Service   Supplemental regulation service is required when one Balancing authority takes over all or part of the regulation requirements of another Balancing authority without incorporating its ties and schedules.  In this case, both Balancing AUTHORITIES should handle this in a consistent manner as a dynamic schedule
2.1. Both BALANCING AUTHORITIES should add another component, ISC to both Balancing AUTHORITIES’ ACE with the proper sign convention. 
2.1.1. Assume Balancing authority X is purchasing regulation service from Balancing authority Y.  

2.1.1.1. For BALANCING AUTHORITY X, ISC should be subtracted from Balancing authority X’s ACE for over-generation and added for under-generation. 
2.1.1.2. For BALANCING AUTHORITY Y, ISC should be added to Balancing authority Y’s ACE for X’s over-generation and subtracted for X’s under-generation

3. Load or Generation Transfer By Telemetry Dynamic scheduling should be used for telemetered transfer of load or generation from one Balancing authority to another.

3.1. Both BALANCING AUTHORITIES must modify their ACE equation. 
3.1.1. To transfer load, the Balancing authority giving up the transferred load should add the load to its ACE equation (+ISL).  
3.1.2. The Balancing authority accepting the load should subtract the transferred load from its ACE equation ((ISL). 
3.1.3.  For generation, the Balancing authority giving up generation should subtract it ((ISG) and the Balancing authority accepting the generation should add it (+ISG ) to its ACE equation.
.  


A1A(3
December 3, 1996

