NERC Policy Appendix 9C1B page 6, states:

Customer Preferences on Timing to Call TLR 3a or 5a. A RELIABILITY COORDINATOR will call a TLR 2 or 3a whenever he deems necessary to indicate that a transmission facility is approaching its OPERATING SECURITY LIMIT. It is envisioned, though not required, that a TLR 2 or 3a is preceded by a period of a TLR 1 declaration, hence Transmission Customers should normally have advance notice of a potential CONSTRAINT. RELIABILITY COORDINATORS should leave a TLR 2 and call a TLR 3a as soon as possible (but no later than 30 minutes) to initiate the Approved-Tag Submission Deadline and start reallocating TRANSACTIONS.

The NAESB draft omitted this. This should be inserted in the NAESB version.
 thanks
 Kathy Davis
TVA Electric System Operations
