NAESB WEQ VERSION 0 BUSINESS PRACTICES
HYDRO-QUÉBEC TRANSÉNERGIE COMMENTS

July 30, 2004
General comments

It is Hydro-Québec TransÉnergie's opinion that the Industry needs to find a better solution for the NERC and NAESB Version 0 Standards development than the "shadowing" approach. The transition from the NERC Operating Policies and Planning Standards to a new set of Reliability Standards and Business Standards needs to be done in a way that avoids creating unnecessary confusion. A special group has been assigned by both NAESB and NERC to resolve this issue. However, the following comments are provided bearing in mind that the "shadowing" issue has to be resolved first.
NAESB Business Standards need to be numbered instead of being identified only by a title. The numbering system needs to make the Standards clearly identified as NAESB Standards to avoid any confusion with NERC Standards.

There must be consistency in the terms used in the Standards with pro forma tariffs terms or other documents, including NERC Standards. For example, in the NAESB Transmission loading relief Standard, the term point-to-point transactions is used while the term Bilateral Transactions is used in the Coordinate Interchange Business Practice Standard without a definition. Bilateral Transactions is not used by NERC.

NAESB Transmission Loading Relief Standard
This Standard should be limited to transaction priorities and processes to submit new transactions during congestion.

NAESB Inadvertent Interchange Standard
No comments other than the general comments

NAESB Control Error (ACE) Equation
Standards should not be presented as examples. Examples can be attached to help interpretation but should not be part of the Standard's body.

NAESB Time Error Correction Standard
No comments other than the general comments

NAESB Emergency Operations Business Standard
This Standard is more related to Reliability than Business. It should be limited to BA/RA communications and market issues during emergencies, NERC taking on all other emergency situations issues.
The title should read "Energy Emergency Operations Business Standard".

NAESB Coordinate Interchange Business Practice Standard
No comments other than the general comments

Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation

Hydro-Québec TransÉnergie
