NAESB WEQ VERSION 0 BUSINESS PRACTICES

Progress Energy- Carolinas Comments

August 9, 2004


General comments

Progress Energy - Carolinas takes the position that the creation of business practices should occur after Version 0 of the NERC Reliability Standards has been adopted. This approach would ensure proper assessment in creating business practice standards only for those processes that have commercial implications for the functional entities. 

Comments on proposed NAESB Business Practices:

NAESB Coordinate Interchange Business Practice Standard

Comment:  A new tag template which incorporates the new functional model entities needs to be developed and incorporated into the e-tag specification documentation.

Comment:   The "Timing Requirements for Reallocation when in a TLR Event" should be waived for all firm dynamic schedules which must be re-tagged for compliance with Reliability Standard 013 Requirement 4 within the "35 minute prior to the top of the hour" window. 

NAESB Transmission Loading Relief Standard

Comment:  Only the definitions of TLR levels and order of implementation of the TLR process should be included as a Business Practice Standard in order to ensure equitable treatment for curtailments and adjustments of transactions.  Actual implementation is a reliability function only and thus, should not be included in the Business Practice Standard. 

Area Control Error (ACE) Special Cases

Comment:  Tagging requirements for dynamic schedules are governed in Policy 3 Reliability Standards, yet dynamic schedule impacts on the ACE equation are included as a Business Practice.  Since ACE dictates compliant Balancing Authority actions associated with performing the BA's required actions for reliable operations, it is important that all components of the ACE equation be governed by through a Reliability Standard.
NAESB Time Error Correction Standard

Comment:  Time Error Correction is appropriate for a Business Practice since it has commercial implications associated with ensuring all Balancing Authorities participate.  In addition, the Reliability Authority may terminate a time error correction in order to preserve reliability.
NAESB Inadvertent Interchange Standard

Comment:  Inadvertent interchange payback can have both commercial and reliable operations impacts and thus should be governed by both Business Practice Standard and Reliability Standard.
Business Standard Emergency Operations

Comment:  It is clearly stated that emergency actions shall be performed "regardless of costs".  Since Policy 5 provides specific direction for emergency actions that state commercial implications should not be a consideration in mitigating energy emergencies, it is deemed inappropriate to govern these actions through a Business Practice Standard

Comments submitted by Progress Energy-Carolinas
PAGE  
1

