Area Control Error (ACE) Equation Special Cases – Version 0, Draft 1


AREA CONTROL ERROR (ACE) EQUATION SPECIAL CASES

Version 0

Introduction

In accordance with NERC Reliability Standards, it is the obligation of each BALANCING AUTHORITY to fulfill its commitment to the Interconnection and not burden the other BALANCING AUTHORITIES in the Interconnection.  Each BALANCING AUTHORITY should minimize their effect on other BALANCING AUTHORITIES within the Interconnection.  Any errors incurred because of generation, load or schedule variations or because of jointly owned units, contracts for regulation service, or the use of dynamic schedules must be kept between the involved parties and not passed to the Interconnection.  In addition, this ACE should NOT include any offsets (e.g., unilateral inadvertent payback, Western Interconnection automatic time error control, etc.).  This Standard provides the requirements of including the Jointly Owned Units, Supplemental Regulation Service and Load or Generation Transfer By Telemetry for the ACE calculations.
1. Jointly Owned Units
Jointly owned units (JOU) must be accounted for properly by all owners in the Area Control Error Equation. 

1.1. The following examples illustrate the methodology.  Balancing authority X and Balancing authority Y each has a unit in their Balancing authority area
 jointly owned by both Balancing AUTHORITIES.  Unit 1 is in Balancing authority X and unit 2 is in Balancing authority Y.  The ACE equation for Balancing authority X must reflect its ownership of both units.  Two components are required:  one to reflect X’s ownership in unit 2 and one to reflect Y’s ownership of unit 1.  Balancing authority Y’s ACE equation will likewise have two components, one for its ownership in unit 1 and one for X’s ownership of unit 2.  If fixed schedules aren’t used, JOUs may be handled as a pseudo-tie or a dynamic schedule.

1.1.1. Pseudo-Tie

If the Jointly owned units are considered pseudo-ties then the NIS remains prearranged schedules and the NIA term becomes NIa ( IAJOUE ( IAJOUI where:

NIa = actual tie flows.

IAJOUE = pseudo-tie for JOU external to a Balancing authority.

IAJOUE is assumed negative for external generation coming into the Balancing authority as a pseudo-tie.

IAJOUI = pseudo-tie for JOU internal to a Balancing authority.

Incoming power is negative.

Outgoing power is positive.

For example:

Assume Unit 1 in Balancing authority X is generating 400 MW.

100 MW owned by X

300 MW owned by Y

Assume Unit 2 in Balancing authority Y is generating 300 MW.

50 MW owned by X

250 MW owned by Y

Representing the units as a pseudo-tie the equations become:

For Balancing authority X:  NIA = NIa ( ((50) ( 300

For Balancing authority Y:  NIA = NIa ( ((300) ( 50

Note:  IAJOUE is assumed negative for external generation coming into the Balancing authority as a pseudo-tie.

1.1.2. Dynamic Schedule

If reflected as a dynamic schedule, the NIa remains actual tie flows and the NIS becomes NIs + ISJOUE + ISJOUI.

NIs = prearranged schedules.

ISJOUE = dynamic schedule for JOU external to a Balancing authority.

ISJOUE is assumed negative for external generation coming into the Balancing authority as a dynamic schedule.

ISJOUI = dynamic schedule for JOU internal to a Balancing authority.

Incoming power is negative.

Outgoing power is positive.

For example:

Assume Unit 1 in Balancing authority X is generating 400 MW

100 MW owned by X

300 MW owned by Y

Assume Unit in Balancing authority Y is generating 300 MW

50 MW owned by X

250 MW owned by Y

Representing the unit as a dynamic schedule the equations become:

For Balancing authority X: NIS = NIs ( 50 + 300

For Balancing authority Y: NIS = NIs ( 300 + 50

Note:  ISJOUE is assumed negative for external generation coming into the Balancing authority as a dynamic schedule.

2. Supplemental Regulation Service
Supplemental regulation service is required when one Balancing authority takes over all or part of the regulation requirements of another Balancing authority without incorporating its ties and schedules.  In this case, both Balancing AUTHORITIES shall handle this in a consistent manner as a dynamic schedule

2.1. Both BALANCING AUTHORITIES shall add another component, ISC to both Balancing AUTHORITIES’ ACE with the proper sign convention. 

Include description of Isc.
2.1.1. Assume Balancing authority X is purchasing regulation service from Balancing authority Y.  

2.1.1.1. For BALANCING AUTHORITY X, ISC shall be subtracted from Balancing authority X’s ACE for over-generation and added for under-generation. 

2.1.1.2. For BALANCING AUTHORITY Y, ISC shall be added to Balancing authority Y’s ACE for X’s over-generation and subtracted for X’s under-generation

3. Load or Generation Transfer By Telemetry
Dynamic scheduling shall be used for telemetered transfer of load or generation from one Balancing authority to another.

3.1. Both BALANCING AUTHORITIES must modify their ACE equation. 

3.1.1. To transfer load, the Balancing authority giving up the transferred load shall add the load to its ACE equation (+ISL).  

3.1.2. The Balancing authority accepting the load shall subtract the transferred load from its ACE equation ((ISL). 

3.1.3. For generation, the Balancing authority giving up generation shall subtract it ((ISG) and the Balancing authority accepting the generation shall add it (+ISG ) to its ACE equation.

.  


Include description of ISG, ISL, and ISG.
�PAGE \# "'Page: '#'�'"  ��Balancing Authority Area is a defined term.  






A1A(4
December 3, 1996

