NERC-NAESB Collaborative Proposal for Version 0 Business Practice Standards

Preliminary Results Based on Joint TF Meeting August 2-3, 2004

Draft August 5, 2004

Background

At its July 16, 2004, meeting the Joint Interface Committee (JIC) reviewed proposals from the NERC Version 0 Drafting Team and the NAESB Business Practices Subcommittee (collectively “the drafting teams”) for the assignment of Version 0 reliability standards and business practice standards.  The JIC noted agreement between the two proposals on the vast majority of proposed Version 0 standards, including both reliability standards to be assigned to NERC and business practice standards to be assigned to NAESB.

There were, however, a few areas in which the proposals differed.  The NERC drafting team considered several of the proposed business practices to be too difficult to separate from the reliability requirements, requiring a substantial rewrite of the current NERC rules.  A substantial rewrite of the current reliability rules is clearly not in the scope of the Version 0 project.  The NAESB Business Practices Subcommittee accepted that position and recommended creating duplicate or “shadow” NAESB Version 0 standards in these areas to establish an equivalent baseline for developing future business practice standards.

The JIC took several actions at its July 16 meeting:

1. The JIC assigned to NERC the development of proposed reliability standards, as documented in NERC’s July 9, 2004, Version 0 reliability standards posting.

2. For the proposed business practice standards agreed to by the drafting teams, the JIC deferred assignment of those to NAESB, pending discussions at the NERC standing committee meetings the following week and the August 9 close of comment periods for the NERC and NAESB postings.  The JIC felt that waiting a few weeks to be informed by a broader set of industry stakeholder inputs would be beneficial.  

3. For the third set of proposed standards, in which the NERC drafting team proposed to develop a reliability standard and the NAESB team proposed to develop a “shadow” business practice standard, the JIC requested NERC and NAESB to assign a joint task force of committee leaders to collaboratively reconcile the proposals into a common recommendation.

4. The JIC requested this joint task force, if possible, to bring a single NERC-NAESB recommendation to the JIC for approval on August 16, after the close of the public comment periods and before the two drafting teams meet to continue working on their respective Version 0 standards.

5. The JIC noted that NAESB was not expected to slow its timetable for developing its proposed Version 0 business practice standards. 

Joint Recommendation

The NERC-NAESB joint task force met in Chicago on August 2-3 and prepared a proposal for assignment of Version 0 business practice standards as outlined below.  The joint task force was successfully able to clarify the division of Version 0 reliability standards and business practices, such that there are no proposed duplicate standards, with one exception.  The one exception is the Transmission Loading Relief (TLR) Procedure.  The task force proposes that that NERC and NAESB adopt an identical (Identical was not the exact terminology used in the original agreement.  My notes have “NERC and NAESB will coordinate to adopt same language/format for Version 0 TLR.”  I believe Bill’s chart has the same.  Remember that I am merely pointing this out – I look forward to your comments.) [Bill - I think that using the “same language and format” could be interpreted as “identical” – however, I would not have a problem changing the text to “same language and format.”] TLR procedure document in their respective Version 0 standards and immediately begin a joint project to develop replacement Version 1 standards distinguishing reliability requirements and business practices by the end of 2005.

The task force will review the recommendation a final time on August 13 after an analysis of public comments received by NERC and NAESB.  Because the standards in question are all derived from the NERC operating policies, the NERC Operating Committee is also being asked to review the recommendation prior to August 13.  The joint task force will submit its final recommendation to the JIC on August 16.

The recommendation was endorsed by the participants on the task force from both NERC and NAESB.  The task force members at the meeting were:

	NERC
	NAESB

	Mark Fidrych, WAPA (OC)

Michel Armstrong, TransEnergie (OC)

Terri Grabiak, Allegheny (MC)

Wayne Lewis, Progress (MC)

Scott Henry, Duke Power (SAC)

Gerry Cauley, NERC (V0 Drafting Team)

Bill Lohrman, NERC (MC)
	Michael Desselle, AEP (NAESB Board)

Lou Oberski, Dominion (WEQ EC)

Scott Brown, Exelon (WEQ EC)

Phil Cox, AEP (BPS)

Joel Dison, Southern (BPS)

Andy Rodriguez, PJM (BPS)

Rae McQuade, NAESB

DeDe Kirby, NAESB


Recommended Assignment of Appendix 1A Sections B, C, and D (ACE Special Cases)

Proposed NERC Standard – The NERC Version 0 Drafting Team has incorporated the control performance standards (CPS1 and CPS 2) into proposed Standard 001.  To make this standard complete, the drafting team incorporated the ACE equation, definitions to support the ACE equation, and specific reliability requirements from Appendix 1A into the standard.

Proposed NAESB Standard – The proposed NAESB Version 0 Business Practice Standard addresses treatment of special cases of the ACE equation in Appendix 1A: Section B – Pseudo-Ties and Dynamic Schedules for Jointly Owned Units); Section C – Supplemental Regulation Service; and Section D – Load or Generation Transfer by Telemetry.  Reliability requirements in the NERC standards will not be duplicated in the NAESB standard.

References

NERC Version 0 Reliability Standard 001

NAESB Version 0 Standard

Appendix 1A

Operating Policy 1D and Appendix 1D (Time Error Correction)

Proposed NERC Standard – The NERC proposed reliability standard addresses three elements from Policy 1D Requirement 4: 1) the Time Monitor for an Interconnection must be a Reliability Authority (RA); 2) any RA in the Interconnection may halt a time error correction for reliability considerations (before or during the correction); and 3) any Balancing Authority may request its RA to halt a time error correction for reliability considerations.  This standard is derived from Operating Policy 1D Requirement 4.

Proposed NAESB Standard – The NAESB proposed business practice standard is the time error correction procedure, exclusive of the reliability elements noted above.  This standard incorporates Operating Policy 1D (excluding Requirement 4) and Appendix 1D.

References

NERC Version 0 Reliability Standard 004

NAESB Version 0 Standard

Appendix 1D

Operating Policy 1F (Inadvertent Interchange Payback Procedure)

Proposed NERC Standard

The NERC Version 0 Drafting Team has developed a standard that includes the reliability requirements for inadvertent payback.  This proposed standard excludes the inadvertent payback procedure (Policy 1F Requirement 5 and Appendix 1F).  The NERC standard retains the inadvertent accounting and metering requirements necessary for reliability.  NERC will evaluate whether a distinct dispute resolution procedure should be retained for inadvertent interchange, or whether NERC’s general dispute resolution procedure would be suitable, as suggested by the Version 0 Drafting Team.  The Version 0 Drafting Team will be requested to [Bill] / review whether it should / incorporate Appendix 1F Section C – On Peak and Off Peak Periods – into the NERC standard.  [Bill - From my recollection we discussed whether NERC would reference the On/Off peak designations established by NAESB. I think this coincides with what Andy has in his notes.] (Again, this last sentence does not quite state what was in my notes of the agreement.  Bill’s chart lists the following as the agreement and I list the same in my notes: “Not currently in the NERC Version 0; drafting team will review.”  I don’t have the phrasing in my notes that says the SDT would be “requested to incorporate.” Andy Rodriguez phrases the above agreement in his notes in the following manner:
“With regard to the On-Peak and Off-Peak definitions, it was agreed that NAESB would maintain these.  However, NERC indicated that they would want to review this for any potential issues, and may incorporate them in the NERC standards as well.”
Once again, I am just pointing out the discrepancies.  Additional comments would be appreciated.  
 Joel’s Comments - At the meeting, it was agreed that NAESB would incorporate any aspects of accounting or dispute resolution that it needs for the purpose of payback.
Proposed NAESB Standard

The NAESB proposed business practice standard incorporates the inadvertent payback procedure in Policy 1F and Appendix 1F, with modifications to exclude reliability requirements noted above and addresses only the payback and business practice aspects.

References

NERC Version 0 Reliability Standard 006

NAESB Version 0 Standard

Appendix 1F

Operating Policy 3 and Appendices 3A2, 3A3, and 3D

Proposed NERC Standard

The NERC and NAESB drafting teams were able to divide Operating Policy 3 into reliability and business practice requirements.  NERC has proposed four standards on interchange addressing requirements for: tagging interchange transactions; assessing interchange transactions, communicating and implementing tagged interchange transactions; and modifying tagged interchange transactions.  The NERC standards incorporate the tag timing requirements in Appendix 3A1.  Omission of the tag data elements was an oversight and the drafting team will be requested to review Appendix 3A4 to identify tag data elements needed for reliability and incorporate them into the next posting of the Version 0 reliability standards.

Proposed NAESB Standard

The NAESB business practice standard is proposed to include the remaining portions of Policy 3 addressing business practice issues and Appendices 3A2 – Tagging Across Interconnection Boundaries, and 3A3 – Electronic Tagging Service Performance Requirements and Failure Procedures.  Any tag data requirements in Appendix 3A4 not considered by NERC to be reliability requirements may be incorporated by NAESB into a business practice. From what I can tell, the incorporation of Appendix 3D by NAESB has been overlooked. [Bill – my table did include 3D for NAESB, pending review of the comments] I also suggest incorporating the following sentence from the original agreement into this work paper agreement: “If the comments indicate that the above five appendices (3A1, 3A2, 3A3, 3A4, and 3D) should remain with NERC, NAESB would be able to reference the appendices in their Version 0 CIBP Business Practice.” [Bill - sounds ok to me]
References

NERC Version 0 Reliability Standards 010, 011, 012, and 013

NAESB Version 0 Standard

Appendices 3A1, 3A2, 3A3, and 3A4, 3D [Bill - follows the above discussion]
Operating Policy 5C

Proposed NERC Standard

The proposed NERC standards address the reliability requirements of Operating Policy 5. 
Proposed NAESB Standard

NAESB agrees to withdraw its proposed business practice in Version 0 that includes Operating Policy 5C requirement 2.1 and requirement 3.  Perhaps a sentence from the original agreement should be included in this paragraph? “NAESB will later develop these as a Version 1 Business Practice.”  [Bill - should be ok as an informational item]
References

None.

Appendices 9C1, 9C1B, and 9C1C

Proposed NERC Standard

NERC has proposed a set of standards that translates the entirety of Operating Policy 9 into reliability standards.  The NERC Version 0 Drafting Team, although acknowledging significant business practices exist in the TLR procedures (Appendices 9C1, 9C1B, and 9C1C), believed that it was not possible in the time frame of the Version 0 project to rewrite the TLR procedure to separate reliability requirements from business practices.  The drafting team proposes to incorporate the TLR procedure in its entirety into the Version 0 reliability standards, modified only to incorporate functional model language.  The NERC drafting team will also request WECC and ERCOT to provide updates in Version 0 to Appendices 9C2 and 9C3 respectively.

Proposed NAESB Standard

NAESB proposes to adopt the TLR procedure (Appendices 9C1, 9C1B, and 9C1C) as a Version 0 business practice standard.  The NAESB standard addresses only the Eastern Interconnection and does not propose to address WECC or ERCOT congestion management procedures.  I don’t have the last sentence in my notes of the actual agreement, although I do have discussion notes over the above topic.  I would appreciate additional comments.  [Bill - I remembered the same discussion, I would leave this in as an information item]
Additional Considerations

1. NERC and NAESB should use the [Bill] same format and language (“identical”) (this topic was addressed by me above) TLR procedure in their Version 0 standards.

2. NERC and NAESB should develop a joint plan for filing an update of the TLR procedure with the FERC.

3. NERC and NAESB should immediately begin a joint effort to update the TLR procedure to divide the reliability requirements and business practices and to incorporate other necessary improvements to the TLR procedure.  The recommended target for retiring the duplicate Version 0 standards with the next version is end of 2005.

References

Proposed Version 0 TLR Procedure

Appendices 9C1, 9C1B and 9C1C

