Title – Version 0, Draft 2

Title – Version 0, Draft 2

Standard #: TBD 

Title Documentation and Review of Capacity Benefit Margin Methodologies and Calculations 
Purpose:

To promote the consistent and uniform application of transfer capability margin calculations among transmission system users, by developing methodologies for calculating Capacity Benefit Margin (CBM). This methodology shall comply with NERC definitions for Capacity Benefit Margin, the NERC Reliability Standards, and applicable Regional criteria. Regional Capacity Benefit Margin methodologies and the resulting Capacity Benefit Margin values shall be available to all participants of the electricity market, in order to facilitate intra- and inter-Regional transactions.
Applicability:

Regional Reliability Council(s) 

Definitions:

a. Capacity Benefit Margin (CBM) is the amount of firm transmission transfer capability preserved by the transmission provider for load-serving entities (LSEs), whose loads are located on that transmission provider’s system, to enable access by the LSEs to generation from interconnected systems to meet generation reliability requirements.  [Preservation of CBM for an LSE allows that entity to reduce its installed generating capacity below that which may otherwise have been necessary without interconnections to meet its generation reliability requirements. The transmission transfer capability preserved as CBM is intended to be used by the LSE only in times of emergency generation deficiencies].  This bracketed language appears to go beyond a definition.
b. Load Serving Entity (LSE)
Business Practices Requirements

1.   Each Regional Reliability Council, in conjunction with its members, shall develop and document a Regional Capacity Benefit Margin methodology. The Regional Reliability Council’s Capacity Benefit Margin methodology shall include each of the following ten items, and shall explain its use in determining Capacity Benefit Margin value.  Other items that are Regional Reliability Council specific or that are considered in each respective Regional Reliability Council methodology shall also be explained along with their use in determining Capacity Benefit Margin values.

1.1. Specify that the method used by each Regional Reliability Council member to determine its generation reliability requirements as the basis for Capacity Benefit Margin shall be consistent with its generation planning criteria.

1.2 Specify the frequency of calculation of the generation reliability requirement and associated

Capacity Benefit Margin values.

1.3 Require that generation unit outages considered in a Transmission Service Provider’s Capacity

Benefit Margin calculation be restricted to those units within the Transmission Service Provider’s system.

1.4 Require that Capacity Benefit Margin be preserved only on the Transmission Service Provider’s system where the Load-Serving Entity’s load is located (i.e., Capacity Benefit Margin is an import quantity only).

1.5 Describe the inclusion or exclusion rationale for generation resources of each Load Serving Entity including those generation resources not directly connected to the transmission provider’s system

but serving Load Serving Entity loads connected to the Transmission Service Provider’s system.

1.6 Describe the inclusion or exclusion rationale for generation connected to the transmission provider’s system but not obligated to serve native/network load connected to the Transmission Service Provider’s system.

1.7 Describe the formal process and rationale for the Regional Reliability Council to grant any variances to individual transmission providers from the Regional Reliability Council’s Capacity Benefit Margin methodology.

1.8 Specify the relationship of Capacity Benefit Margin to the generation reliability requirement and the allocation of the Capacity Benefit Margin.  The sum of the Capacity Benefit Margin values allocated to all interfaces shall not exceed that portion of the generation reliability requirement that is to be provided by outside resources.

1.9 Describe the inclusion or exclusion rationale for the loads of each Load Serving Entity, including interruptible demands and buy-through contracts (type of service contract that offers the customer the option to be interrupted or to accept a higher rate for service under certain conditions).

1.10 Describe the inclusion or exclusion rationale for generation reserve sharing arrangements in the Capacity Benefit Margin values.

2. The Regional Reliability Council shall make the most recent version of the documentation of its Capacity Benefit Margin methodology available on a web site accessible by NERC, the Regional Reliability Councils, and the transmission users in the electricity market.

3. Each Regional Reliability Council, in conjunction with its members, shall develop and implement a procedure to review (at least annually) the Capacity Benefit Margin calculations and the resulting values of member Transmission Service Providers to ensure that they comply with the Regional Reliability Council’s Capacity Benefit Margin methodology. The procedure shall include the following four requirements:

a. Indicate the frequency under which the verification review shall be implemented.

b. Require review of the process by which Capacity Benefit Margin values are updated, and their frequency of update, to ensure that the most current Capacity Benefit Margin values are available to transmission users.

c. Require review of the consistency of the Transmission Service Provider’s Capacity Benefit Margin components with its published planning criteria. (A Capacity Benefit Margin value is considered consistent with published planning criteria if the same components that comprise Capacity Benefit Margin are also addressed in the planning criteria.  The methodology used to determine and apply Capacity Benefit Margin does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumptions explained. It is recognized that ATC determinations are often time constrained and thus will not permit the use of the same mechanics employed in the more rigorous planning process.)

d. Require Capacity Benefit Margin values to be periodically updated (at least annually) and available to the Regions, NERC, and transmission users in the electricity markets.

4. Each Regional Reliability Council shall document the results of its periodic Capacity Benefit Margin reviews and shall make the results available to NERC on request (within 30 days).Who should this be made available to, still NERC?
5. The Regional Reliability Council shall provide documentation of the results of the most current implementation of its Capacity Benefit Margin procedure to NERC on request (within 30 days).

6. Each Transmission Service Provider shall document a procedure on the use of Capacity Benefit Margin (scheduling of energy against a Capacity Benefit Margin preservation), which shall include the following three components:

6.1. Require that Capacity Benefit Margin is to be used only after the following steps have been taken (as time permits): all non-firm sales have been terminated, direct-control load management has been implemented, and customer interruptible demands have been interrupted. Capacity Benefit Margin may be used to reestablish operating reserves.

6.2. Require that Capacity Benefit Margin shall only be used if the Load Service[Serving] Entity calling for its use is experiencing a generation deficiency and its Transmission Service Provider is also experiencing transmission constraints relative to imports of energy on its transmission system.

6.3. Describe the conditions under which Capacity Benefit Margin may be available as non-firm transmission service.

7.  Each Transmission Service Provider shall make their Capacity Benefit Margin use procedure available on a web site accessible by the Regional Reliability Councils, NERC, and the transmission users in the electricity market.
8.  Each Transmission Service Provider that uses Capacity Benefit Margin shall report the use of Capacity Benefit Margin by the Load Serving Entities’ loads on its system, except for Capacity Benefit Margin sales as non-firm transmission service. (The use of Capacity Benefit Margin shall be consistent with the Transmission Service Provider’s Capacity Benefit Margin use procedures.)

9.  The Transmission Service Provider shall post the following three items within 15 days after the use of Capacity Benefit Margin for emergency purposes, on a web site accessible by the Regions, NERC, (Should we still specify these entities? Or just say available to the market?) and the transmission users in the electricity market.

1. Circumstances

2. Duration

3. Amount of Capacity Benefit Margin used
Appendix [letter a,b,c,d, etc…] each appendix will be separated by a page break

Title of Appendix [if separate title applies]


1
4

