Title – Version 0, Draft 2

Title – Version 0, Draft 2

Standard #: TBD 

Title: Documentation and Review of Available Transfer Capability (ATC) Methodologies and

Calculations
Purpose:

To promote the consistent and uniform application of ATC calculations among transmission system users, the Regional Reliability Councils shall develop methodologies for calculating Available Transfer Capability that conform with NERC definition for Available Transfer Capability, the NERC Reliability Standards, and applicable Regional Reliability Council criteria.  Methodologies and resulting values shall be made available to all participants of the electricity market. [I removed this here, as it is in the Applicability section]
Applicability:

This standard applies to Regional Reliability Council(s).  (Certain systems that are not required to post Available Transfer Capability values are exempt from this Standard.) [Q: Does FERC’s jurisdiction extend to RRC’s? Should the NAESB standard apply to RRC’s?  Order 889, 37.5(b)(2)(i) language:  “…all calculations shall be performed according to consistently applied methodologies referenced in the Transmission Provider’s transmission tariff and shall be based on current industry practices, standards and criteria.” Will some tariffs need to be updated depending on the references used?  Will some RRC’s methodology language require updates as a result of this ATC-CBM/TTC-TRM standard split?].  

Definitions:

a.  Available Transfer Capability (ATC) is a measure of the transfer capability remaining

in the physical transmission network for further commercial activity over and above

already committed uses. It is defined as TTC less existing transmission commitments

(including retail customer service), less a Capacity Benefit Margin (CBM), less a

transmission reliability margin (TRM). 

ATC is expressed as:

ATC = TTC – Existing Transmission Commitments (includes retail customer

service) – CBM – TRM
b.  Capacity Benefit Margin (CBM)

c.  Total Transfer Capability (TTC)

d.  Transmission Reliability Margin (TRM) 
Business Practices Requirements

1.  Each Regional Reliability Council, in conjunction with its members, shall develop and document a Regional Available Transfer Capability methodology. The Regional Reliability Council’s Available Transfer Capability methodology shall include each of the following nine items, and shall explain its use in determining Available Transfer Capability value:

1.1. Include a narrative explaining how Available Transfer Capability values

are determined. 

1.2. Account for how the reservations and schedules for firm (non-recallable) and non-firm (recallable)[I’m not sure how the NAESB Glossary Committee is defining these]
transfers, both within and outside the transmission provider’s system, are included.

1.3. Account for the ultimate points of power injection (sources) and power extraction (sinks) in Available Transfer Capability calculations.

1.4. Describe how incomplete or so-called partial path transmission reservations are addressed. (Incomplete

or partial path transmission reservations are those for which all transmission reservations necessary to

complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing

reservation priorities, durations, or that the reservations have not all been made.)

1.5. Require that Available Transfer Capability values and posting within the current week be determined at least once per day, that daily Available Transfer Capability values and postings for day 8 through the first month be determined at least once per week, and that monthly Available Transfer Capability values and postings for months 2 through 13 be determined at least once per month.

1.6. Indicate the treatment and level of customer demands, including interruptible demands.[this appears to be related primarily to TTC]
1.7. Specify how system conditions, limiting facilities, contingencies, transmission reservations, energy schedules, and other data needed by transmission providers for the calculation of Available Transfer Capability values are shared and used within the Region Reliability Council and with neighboring interconnected electric systems, including adjacent systems, subregions, and Regional Reliability Councils.  In addition, specify how this information is to be used to determine 

Available Transfer Capability. If some data is not used, provide an explanation.

1.8. Describe how the assumptions for and the calculations of Available Transfer Capability values change over different time (such as hourly, daily, and monthly) horizons.

1.9. Describe the Regional Reliability Council’s practice on the netting of transmission reservations for

purposes of Available Transfer Capability determination.

2.   The Regional Reliability Council shall make the most recent version of the documentation of its Available Transfer Capability methodology available on a web site accessible by NERC, the Regional Reliability Councils, and the transmission users in the electricity market.

3.   Each Regional Reliability Council, in conjunction with its members, shall develop and implement a procedure to periodically review (at least annually) and ensure that the  Available Transfer Capability calculations and resulting values of member Transmission Service Providers comply with the Regional Available Transfer Capability methodology and applicable Regional criteria.

4. Each Regional Reliability Council shall document the results of its periodic reviews of  Available Transfer Capability. 

5. The Regional Reliability Council shall provide the results of its most current reviews of Available Transfer Capability to NERC on request (within 30 days). Who should this review be available to? NERC MIC or some other body?
6. Each Regional Reliability Council, in conjunction with its members, shall develop and document a procedure on how transmission users can input their concerns or questions regarding the Available Transfer Capability methodology and values of the Transmission Service Provider(s), and how these concerns or questions will be addressed. The Regional Reliability Council’s procedure shall specify the following:

6.1. The name, telephone number and email address of a contact person to whom concerns are to be addressed.

6.2. The amount of time it will take for a response.

6.3. The manner in which the response will be communicated (e.g., email, letter, telephone, etc.)

6.4. What recourse a customer has if the response is deemed unsatisfactory.

7. The Regional Reliability Council shall post on a web site that is accessible by the Regions, NERC, and the transmission users in the electricity market, its procedure which addresses receiving and addressing concerns about the Available Transfer Capability methodology and Available Transfer Capability values of member Transmission Service Providers
Appendix [letter a,b,c,d, etc…] each appendix will be separated by a page break

Title of Appendix [if separate title applies]


1
4

