Comment Form

ACE Special Cases 

Version 0 Draft 2

WEQBPS-003-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Walt Yeager
Comments submitted on Behalf of Organization
: Cinergy Services, Inc.
Email of Contact




: 
Phone Number on Contact



: 
Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

Cinergy supports the commercial need to have the ACE equation provide the capability to manage JOUs, supplemental regulation, and load and generation transfer.  However, the calculation of ACE for system balancing is primarily a reliability concern.  To the degree the special cases are to remain with NAESB, the business practices should state that any special case for ACE would be reviewed by NERC to ensure there are no reliability concerns.  Another option is for NERC to endorse the need for special handling to meet these commercial solutions and provide the flexibility for these special cases in the NERC standards.
