Comment Form

TLR 

Version 0 Draft 2

WEQBPS-006-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:  Ed Davis
Comments submitted on Behalf of Organization
:  Entergy Services
Email of Contact




:  
Phone Number on Contact



:  
Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)


1.6.6 Reallocation:  grammar – Last comma in paragraph should be a period.

1.8 Logging:  The sentence “See Appendix C.” was removed from the text.  Was this intentional?
2.X.1. TLR Level X requirement 1:  A syntax error occurs in all first sentences reading “The Reliability Coordinator shall use the following circumstances to establish the need for TLR Level X:”.  The bold, italicized and underlined word “the” is missing in all first sentences.
2.5.2 Holding New Interchange Transactions:  Add sentence “See Attachment 2 – Timing Requirements.” to section.

2.5.2.3 Step 3 – Curtail…..:  Correct citation now reading “7.2.2” should be “2.7.2.2”. 


3.3.1.2 TLR Level 5b:  Change the first “a” to an “an” in the first sentence.
4. Introduction:  The sentence reading “The Reliability Coordinators must agree on how the Transmission Loading Relief Procedure shall handle these Interchange Transactions to, first, ensure the operational security of the Interconnection, and second, respect the obligations of the Transmission Providers’ tariffs.” is misleading.  The Reliability Coordinators coordinate implementation of the Transmission Loading Relief Procedure detailed in this standard, not “agree on how to handle the transactions.”
5.1.3:  The definition for GLDFs belongs in the Definitions section.
5.2 Calculation Method:  The definition for LSFs belongs in the Definitions section.

Add “to the Reliability Coordinator” to the final sentence in the paragraph.

6.2.5.3:  Figure 3 was deleted but the title to the figure was not.

6.2.6 Customer Preferences….: If deleting figure 3 in section 6.2.5.3 was intentional, the the figure number should be decremented in this section.

6.2.6 Discussion:  In the third sentence, “For Example a TLR 3a initiated….” the word “reallocation” which follows “Approved-tag Submission Deadline” should be capitalized.

7. Introduction:  Line 1009 has the phrase “SOL or IROL” repeated twice, so one should be deleted.

7.11:  Add the phrase “which caused the TLR 3b to be called”  following “SOL or IROL violation”.
Comments on Appendices (List comments by Appendix Subsection)

General Comments

In the Introduction prior to the requirements, the section below should be added.
“A Reliability Coordinator may use the TLR Procedure to mitigate potential or actual System Operating Limit (SOL) violations or Interconnecting Reliability Operating Limit (IROL) violations on any transmission facility modeled in the Interchange Distribution Calculator (IDC).”
