Comment Form

Time Error 

Version 0 Draft 2

WEQBPS-004-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Victor Bissonnette
Comments submitted on Behalf of Organization
:Hydro-Québec TransÉnergie
Email of Contact






Phone Number on Contact





Comments on Definitions (List comments by Definition)

"Balancing Authority Area" needs to be defined (See ACE special cases and Inadvertent Interchange Standards)
Interconnection – Any one of the three bulk electric system networks in the contiguous U.S.A. and Canada: Eastern, Western, ERCOT.
Note: Québec is part of the Eastern Interconnection although it operates asynchronously. The NERC Operating manual refers to three bulk electric systems: "When capitalized, any one of the three bulk electric system networks in North America: Eastern, Western, and ERCOT.  When not capitalized, the facilities that connect two systems or Control Areas."
Leap Second -  A second of time added to Coordinated Universal Time to make it agree with astronomical time to within 0.9 seconds. Historically, Leap Seconds are implemented as needed on June 30th or December 31st. (National Institute of Standards and Technology)
Comments on Requirements (List comments by Requirement Number)

1.1
Each Balancing Authority shall participate in Time Error Correction practices defined in this Requirement 1 unless it is operating asynchronously to its Interconnection.
Following this modification in requirement 1.1, requirement 1.2 should become Requirement 2. This would make clear that all the requirements in Requirement 1 do not apply to Balancing Authorities that are not operating synchronously even if they are written in general terms (ex: All Balancing Authorities….).
1.9
Interconnection Time Error notification. On the first day of each month, the Interconnection Time Monitor shall issue a notification of time error accurate to within 0.01 second to the [other Reliability Coordinators] (? This seems to imply that an Interconnection Time Monitor is a Reliability Coordinator and "Reliability Coordinator" is not defined) within the Interconnection to assure uniform calibration of time standards.

1.10
Western Interconnection time error notification. Within the Western Interconnection, [the Reliability Coordinator designated as the Interconnection Time Monitor] (? Same comment as above) shall provide the accumulated time error (accurate to within 0.001 second) to all Balancing Authorities on a daily basis at 1400 PDT/PST using the WECCNet. The alphabetic designator shall accompany time error notification if a time error correction is in progress.
Comments on Appendices (List comments by Appendix Subsection)

General Comments

Change the Standard title as follows: "Time Error Correction".
