Comment Form

TLR 

Version 0 Draft 2

WEQBPS-006-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Victor Bissonnette
Comments submitted on Behalf of Organization
:Hydro-Québec TransÉnergie
Email of Contact





Phone Number on Contact





Comments on Definitions (List comments by Definition)

"Balancing Authority Area" needs to be defined (See ACE special cases and Inadvertent Interchange Standards)
"Reliability Coordinator" needs to be defined (See Coordinate Interchange Standard)
"Tie Facility" needs to be defined.

"Reliability Coordinator Information System (RCIS)" needs to be defined.

"Tag" and associated terms like "Approved-tag submission Deadline" and "Tag Authority" need to be defined.

"Link" and "Transmission link" need to be defined.
Interconnection – Any one of the three bulk electric system networks in the contiguous U.S.A. and Canada: Eastern, Western, ERCOT.
Note: Québec is part of the Eastern Interconnection although it operates asynchronously. The NERC Operating manual refers to three bulk electric systems: "When capitalized, any one of the three bulk electric system networks in North America: Eastern, Western, and ERCOT.  When not capitalized, the facilities that connect two systems or Control Areas."
Reallocation - The total or partial curtailment of Transactions during TLR Level 3a or 5a to allow Transactions using equal or higher priority to be implemented. (this is part of Requirement 6)(NERC Appendix 9C1 modified by JSC/KT) (not in NAESB glossary)

Transmission Loading Relief (TLR) - A procedure used in the Eastern Interconnection to relieve potential or actual loading on a constrained facility. (JJD proposed)
Transmission Service – Services needed to move energy from a receipt point to a delivery point provided to Transmission Customers by Transmission Service Providers. (SMD—CAISO) (CME Energy)

Comments on Requirements (List comments by Requirement Number)

3.1.1 "Priority 0" line should not be in bold characters
"Priority 2.
Non Firm Point-to-Point Hourly Service – NH

"Priority 3.
Non Firm Point-to-Point Daily Service – ND

"Priority 4.
Non Firm Point-to-Point Weekly Service – NW

"Priority 5.
Non Firm Point-to-Point Monthly Service – NM

Delete Requirements 3.2 and 3.3: Those requirements are a repetition of Requirement 2 which could cause confusion in future revisions

Requirement 5, Introduction, second paragraph:

In compliance with the Transmission Service Providers Pro Forma tariffs , Interchange Transactions using Non-firm PTP transmission service are curtailed first (TLR Level 3a and 3b), followed by transmission reconfiguration (TLR Level 4), and…..  Note: Reference to FERC avoided to reflect the international nature of the Standard.
Requirement 6.1: Remove introductive paragraph.
Requirement 6.1.6: "…. (see Requirement 6.2, "Communication and Timing requirements")
Comments on Appendices (List comments by Appendix Subsection)

Appendix E:
Remove the repetitive title line "Appendix E. How the IDC handles the Reallocation" before the introduction.

E1: It is not clear if Appendix E is only a description of how the IDC works or if some of its parts are actually Requirements. For example, the part of the Appendix following the title "Total Flow Value on a Constrained Facility for next Hour" is no longer a description of the IDC, but directs Reliability Coordinators on actions to take. Some parts of this section are repeats of Requirement 1.

E2: Same remark as above regarding the first section which is even titled as a Requirement "TLR Levels 3a and 5a Issuing/Processing Time Requirement". This section is not a description of the IDC, but requirements to the Reliability Coordinators.

The section titled "IDC Calculations and Reporting Requirements" should be titled "IDC Calculations and Reporting" as it really contains a description of the IDC process.
Appendix G:
Correct the reference to Requirement 4: "Mitigating Constraints On and Off the Contract Path during TLR".

Correct the reference to Requirement 5: "Parallel Flow Calculation procedure for Reallocating or Curtailing Firm Transmission Service during TLR".
General Comments

"Transmission Service Provider" is defined, but the term "Transmission Provider" is sometimes used in the document.
Modify the Standard title as follows: "Transmission Loading Relief – Eastern Interconnection" to avoid confusion between the "Standard" and a "Procedure".

