Comment Form

Inadvertent Interchange 

Version 0 Draft 2

WEQBPS-005-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Victor Bissonnette
Comments submitted on Behalf of Organization
:Hydro-Québec TransÉnergie
Email of Contact





Phone Number on Contact





Comments on Definitions (List comments by Definition)

Interconnection – Any one of the three bulk electric system networks in the contiguous U.S.A. and Cadada: Eastern, Western, ERCOT.
Note: Québec is part of the Eastern Interconnection although it operates asynchronously. The NERC Operating manual refers to three bulk electric systems: "When capitalized, any one of the three bulk electric system networks in North America: Eastern, Western, and ERCOT.  When not capitalized, the facilities that connect two systems or Control Areas."
Comments on Requirements (List comments by Requirement Number)

1.1.2: "CPS calculations" and "L10 limit" have to be defined or referenced.
Comments on Appendices (List comments by Appendix Subsection)

General Comments

Modify the Standard title as follows: "Inadvertent Interchange".
