Comment Form

Coordinate Interchange 

Version 0 Draft 2

WEQBPS-002-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Victor Bissonnette
Comments submitted on Behalf of Organization
:Hydro-Québec TransÉnergie
Email of Contact






Phone Number on Contact





Comments on Definitions (List comments by Definition)

Approval Entity: An entity that has approval rights for a transaction Tag. This includes Transmission Service Providers, Balancing Authorities, Purchasing-Selling Entities , and Load Serving Entities.
"Interconnection" needs to be defined (See Time Error, TLR and Inadvertent Interchange Standards)
"Interchange" is sometimes used in the document while only "Interchange Transaction" is defined. 

Balancing Authority: The entity responsible for integrating resource plans ahead of time, of maintaining load-interchange-generation balance within a Balancing Authority Area and of supporting Interconnection frequency in real time.
"Balancing Authority Area" needs to be defined (See Area Control error and  Inadvertent Interchange Standards)
Market Operator: An entity that administers a market that integrates capacity, energy, balancing resources, and ancillary services to achieve an economic, reliability-constrained dispatch of resources.

"Transaction Tag" needs to be defined. In the document, "Interchange Transaction Tag", "Transactions tags for Interchange"and "Tag" are also used. Should there be only on term? Otherwise the other terms need also to be defined.

"Interchange Schedules" needs to be defined.

Comments on Requirements (List comments by Requirement Number)

1.1 Transaction tags for Interchange (definition? Or "Tag" or "Transaction Tag" or…) between Interconnections (supposing "Interconnection is a defined term) shall be in accordance with the most current version of Appendix A "Tagging Between Interconnections ".
1.3 It shall be the responsibility of the LSE, PSE, or their designee, to ensure the completed Transaction Tag has been submitted to the Sink BA and that the Transaction Tag contains all reliability required information specified in NERC Version 0 Standard xxx(?) Attachment 010-2.
2.1 The Requesting PSE shall have the right to defer this responsibility to the Market Operator.

7.1 Timing for market related corrections shall be in accordance with NERC’s Version 0 Standard xxx (?) Attachment, 013-1.

9.0 All parties involved in an Interchange Transaction shall have, or arrange to have, personnel and facilities on site and immediately available for notification of changes to the Transaction Tag from the beginning of the Market Period until the time when the energy flow of the Transaction has been completed. 

Comments on Appendices (List comments by Appendix Subsection)

Appendix A: Title: Supposing "Interconnection" is a defined term, the title  should read "Tagging Between Interconnections". Otherwise, "Interconnection Boundaries" has to be defined.
General Comments

When acronyms have been established in the definitions, they should be used in the document (eg: "Purchasing-Selling Entity" should read PSE).
Define and normalize a term for "Tag", "Interchange Transactions Tag", "Transaction Tag"…In the whole document, including Appendixes.
Modify the Standard title as follows "Coordinate Interchange" to avoid confusion between "Standard" and "Business Practice".

