Comment Form

Coordinate Interchange 

Version 0 Draft 2

WEQBPS-002-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Charles Yeung




Comments submitted on Behalf of Organization
:Southwest Power Pool, Operating Reliability Working Group 

Email of Contact




:

Phone Number on Contact



:

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

SPP requests the following redlined changes to the Appendix A to reflect current practices.  SPP does not coordinate ATC calculations for paths inside ERCOT.
Appendix A – Tagging Across Interconnection Boundaries
A. Between ERCOT and Eastern Interconnections

A Purchasing-Selling Entity that is seeking transmission arrangements to schedule energy between the ERCOT and Eastern Interconnections will coordinate through the SPP Reliability Coordinator.  Requests for service must be made to the SPP Reliability Coordinator for service into or through SPP (including service across either the North or East DC Ties) via the SPP OASIS.  Request for service must also be made in ERCOT via the ERCOT OASIS.  The SPP Reliability Coordinator will coordinate approval of reservations and schedules involving the SPP portion of transmission service (including the DC ties) and service in ERCOT.

The following procedures are followed when scheduling transmission service between SPP and ERCOT:

· The Purchasing-Selling Entity must receive approval for DC tie service and transmission service in SPP from the SPP Reliability Coordinator for the proposed transaction and arrange required ancillary services.

· For all transmission service requests, the Purchasing-Selling Entity will create an Interchange Transaction Tag and submit it to the SPP Reliability Coordinator.  The SPP Reliability Coordinator will validate certain information on the Tag and check that a reservation exists before approving the Tag.  The approved Tag will be available to the parties to the transaction and the ERCOT ISO. 

· Simultaneous with submitting requests using the Interchange Transaction Tag to the SPP Reliability Coordinator (for next hour, non-firm and all other transmission service requests), the Purchasing-Selling Entity submits requests to the ERCOT ISO via the ERCOT OASIS.  The MW profile information submitted to ERCOT must exactly match the information on the Interchange Transaction Tag supplied to ERCOT by the SPP Reliability Coordinator. (See note.()

· The SPP Reliability Coordinator coordinates approval of the transaction if ATC is available in SPP and across the DC tie, and works with the ERCOT ISO to coordinate ATC calculations in ERCOT.

· The ERCOT RA notifies the delivering/receiving ERCOT BA of the approved transaction and provides a copy of the Interchange Transaction Tag and ERCOT schedule request.

· The delivering/receiving ERCOT Balancing Authority communicates with the delivering/receiving control area outside of ERCOT, confirms the transaction/schedule, and confirms with the DC tie operator.
· The DC tie operator will follow the Interchange Transaction Tag when setting flows across the tie.

· The SPP Reliability Coordinator will use the Interchange Transaction Tag to populate the IDC and to determine constrained facility ATC in the operating horizon.

· ERCOT ISO requires transactions/schedules involving use of the DC ties to include the Interchange Transaction Tag reference in the comments field on the ERCOT schedule request.

General Comments

SPP recommends that NAESB verify the requirements that are specific to ERCOT in Appendix A to ensure they reflect current ERCOT practices.  E.g. – ERCOT does not operate OASIS.












