Comment Form

Coordinate Interchange 

Version 0 Draft 2

WEQBPS-002-000

Posted September 3, 2004 – October 4, 2004

Please submit comment form by October 4, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:


Phone Number on Contact



:


Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Section 3:  Assuming the timing requirements for submitting e-tags have been relocated elsewhere, there should be a reference that the “Market Period assessment” will be determined by that tag submittal deadline table.

Section 4.1:  This states that the passive state for all tags is “Approved” without any reference to the possibility of the tag being LATE.  Again, there should be some reference to the tag submittal deadline table (wherever it now resides) to establish whether the tag is LATE.  And if the tag is LATE, the statement in this section is not correct.
Comments on Appendices (List comments by Appendix Subsection)

Appendix C – Actors:  Definition for “Checkout Partners” sites “adjacent control areas”.  Convert to NERC Functional Model roles.

Appendix C – Recovery Process:  Capitalize the acronym “ID” on line 457.  The word “id” has a different definition than the acronym “ID”.

Appendix D – Section 2.1.2.2, Line 562:  Capitalize the entire defined term “Transmission Service Provider”.  The word “Exported” is not a defined term and should not be capitalized.   Recommend being consistent between spelling out “Requesting Purchasing-Selling-Entity” and “Requesting PSE”.  Author flip-flops often.  Since the latter is the defined term, I recommend converting the others.
General Comments

