Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
ganolan@srpnet.com

Phone Number on Contact



:
602.236.0922

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Requirement 2 has “Transmission” capitalized even though it is not part of a defined term. JJD: Agree to make this change.
I believe Requirement 13 requiring the Sink BA to reload the tag after a curtailment is incorrect.  The entity who curtailed the tag originally knows how much and when to reload the tag.  This is critical because there is no requirement for the Scheduling Entity who had to curtail the tag to contact the Sink BA to advise them to reload it. JJD: This is specified correctly as per the TLR procedure.
Around line 396, the word “Internet” is needlessly capitalized and then not capitalized.  At least be consistent.  JJD: It is our understanding that when referring to “THE” Internet, the word is always capitalized.  ALSO, on line 415, the word “eity” should be “entity”.
Comments on Appendices (List comments by Appendix Subsection)

Appendix A – NERC document referenced has had its name changed and needs corrected here.  JJD: NERC Changed their numbering scheme. The following should be the new references. NAESB Version 0 CI Std Requirement 1.3 references NERC Attachment 1-INT-001-0. NAESB Version 0 CI Std Requirement 7.1 and 8.1 references NERC Attachment 1-INT-004-0.

Appendix B – The word “Component” is not a defined term and should not be capitalized. JJD: agree, should make this change.
“Tag Agent User” is fully capitalized in line 298 but not on line 295.  Be consistent.  JJD: Line 295 should be capitalized.
From line 347-350, “Email” is neither a defined term nor a proper noun and therefore should not be capitalized. JJD: It is our understanding that “email” is appropriate and should therefore be changed.
General Comments

