Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Suggest that the definitions of the following terms should be modified to match the definitions contained within NERC’s Glossary of Terms Used in Reliability Standards, Version 0-Draft 3:

Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Dynamic Schedule, Interchange Schedule, Interconnection, and Pseudo-Tie.   JJD: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made every effort to ensure such consistency exists based on definitions available at the time of publication. This should be handled as a maintenance item..
Believe that the use of identical terms would minimize confusion.

Comments on Requirements (List comments by Requirement Number)

1.2.2
Please replace “actual tie flows” with “Net Interchange Schedule”.

3.1.1 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.2 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.3 Please replace “Balancing Authority” with “Balancing Authority Area”.

JJD: Balancing Authority is an entity, Balancing Authority Area is a “territory”.
Comments on Appendices (List comments by Appendix Subsection)

· Looks good.  Consistent with examples found in the existing policy (Policy 1, Appendix 1A, section B)

General Comments

