Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Several terms are listed that are also in the NERC glossary.  Because they are i) primarily reliability related terms and ii) the business practice is linked to several NERC standards, suggest utilizing the NERC definition.  The terms are as follows: Balancing Authority (BA), Balancing Authority Area, Interconnection, Load-Serving Entity (LSE), Purchasing-Selling Entity (PSE), Reliability Coordinator (RC), Sink Balancing Authority and Source Balancing Authority.

JJD: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made every effort to ensure such consistency exists based on definitions available at the time of publication. This should be handled as a maintenance item.
Comments on Requirements (List comments by Requirement Number)

1.3 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0. RC: Disagree. The required reliability information should be contained in the NERC Version 0 Attachment 2-INT-001-0. JJD: Change should be incorporated as per BPS response to other comments on this standard
1.6 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0. RC: Agree with the recommendation that it should be referenced to Attachment 1-INT-001-0.  JJD: Change should be incorporated as per BPS response to other comments on this standard
2.1 Do we really mean, “defer” here? The requesting PSE may certainly “delegate” the task to the Market Operator, but it shouldn’t be able to defer its responsibility to another entity. JJD: Delegate would be an acceptable word change.
6.0 Question whether this requirement is really a Version 1 issue.  Current NERC Policy 3, section 2.3 states that the tag should be submitted in the format established by each Interconnection.  For the Eastern Interconnection, such format is described in the Electronic Tagging Functional Specification.  For ERCOT the process is described in the ERCOT Reference Document. Couldn’t find support for the proposed business practice in current policy.

7.1 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0. RC: Agree with recommendation that is references Attachment 1-INT-004-0JJD: Change should be incorporated as per BPS response to other comments on this standard
8.1 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0 RC: Agree with recommendation that is references Attachment 1-INT-004-0JJD: Change should be incorporated as per BPS response to other comments on this standard
Comments on Appendices (List comments by Appendix Subsection)

Appendix A

· Interchange Transaction where the sink is in the Eastern Interconnection

· Current policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices? RC: Much of Appendix 3A2 part B was left out of CIBP Version 0 because those sections no longer apply to the Western Interconnection. According to the WECC members of the Version 0 team, it was only temporary and is no longer applied.JJD: Yes?  
· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0.  JJD: Change should be incorporated as per BPS response to other comments on this standard
· Interchange Transaction where the sink is in the Western Interconnection

· Under current policy (see NERC Appendix 3A2, part B), the requirement listed under the first bullet pertains to Pre-Scheduled transactions only.  Was the requirement modified based upon known practices or is this an oversight? RC: Much of Appendix 3A2 part B was left out of CIBP Version 0 because those sections no longer apply to the Western Interconnection. According to the WECC members of the Version 0 team, it was only temporary and is no longer applied.JJD: ???
· For the requirements listed under the first two bullets, current NERC policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices? RC: Much of Appendix 3A2 part B was left out of CIBP Version 0 because those sections no longer apply to the Western Interconnection. According to the WECC members of the Version 0 team, it was only temporary and is no longer applied.JJD. Yes?
· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0.  JJD: Change should be incorporated as per BPS response to other comments on this standard
Appendix C

· Why was GPE replaced with PSE in this appendix? Doesn’t this change take away a right that an entity has today?  If so, isn’t that a Version 1 issue? JJD: Entities in Version 0 standards must be “Functional Model” entities.  GPE is not a functional model entity.  If PSE is not the appropriate Functional model entity, please specify what the appropriate FM entitity should be. (Roman?) RC: The GPE should be replaced with the “PSE providing Generation” to incorporate the Functional Model terminology and to correctly describe which PSE it is that is responsible.
Appendix D

· Part A, section 1.1 – Is there such a thing as a MRD Transaction anymore? I thought NERC suspended that program about a year ago.RC: About a year or so ago, NERC notified FERC that the MRD would not be used any longer. However, it is still in NERC Policy until Version 1 comes along. JJD: It is still contained in existing NERC Policy.  BPS recommends its removal as a Version 1 change.
General Comments

