Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar


Comments submitted on Behalf of Organization
:
ISO/RTO Council – Standards

 Review Committee
Email of Contact




:
ktammar@nyiso.com


Phone Number on Contact



:
518.356.6205

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  In order achieve a consistent set of definitions, matching NAESB Standards definitions to the Glossary that will be incorporated in NERC Version 0 Standards would eliminate duplication.  To the extent that a NERC Version 0 definition does not satisfy the NAESB Standard’s need, i.e. requires more explanation, etc., NAESB could supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.  JJD: The NERC and NAESB processes are independent enough that it is not possible to guarantee consistency in definitions and terms.  The BPS made every effort to keep the definitions as consistent as possible.  Ultimately, this must be handled as a maintenance item.
Comments on Requirements (List comments by Requirement Number)

· 1.1
If a BA normally operates asynchronous to an Interconnection and they establish their own time error control bands, the BA has no reason or necessity to notify the Interconnection Time Monitor of the bands being utilized, or to provide notification when they are changed.  If that BA has the ability to connect with an Interconnection, then it will become subject to Interconnection rules of that region, and thus Time Error notification upon paralleling with the Interconnection.  JJD: NERC Policy did not specify these exceptions.
· 4.
This section reflects manual time error correction practices in the Eastern Interconnection and ignores regional practices in the West whenever the WECC is not operating under Automatic Time Error control (WATEC).  JJD: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.

· The IRC is concerned about the impact of this standard on the regional diversity and the varying requirements that is in existence at this time. JJD: To the extent that the regions participate in the process, they can request changes to the NAESB standards to reflect their variances.  The NERC policy did not specify these variances.
General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.
JJD: If these NAESB BPS have a negative impact on reliability, then the original NERC Policies had a negative impact on reliability.  If they conflict with RRC requirements, then so did the NERC Policies.  The BPS has no desire to create reliability problems, but its objective in this effort was to convert existing policy.

