Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Carl Monroe, NERC RS Chairman
Comments submitted on Behalf of Organization
: NERC Resources Subcommittee
Email of Contact




: cmonroe@spp.org
Phone Number on Contact



: 501 664 0146
Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

1. NAESB Business Practice Standard SDT needs to check with each of the Interconnection Time Error Monitors (Eastern Interconnection, Western Interconnection, ERCOT Interconnection, Hydro Quebec) to ensure the time periods that are exempt from active ime error correction are identified and secified.
JJD: Do not believe existing NERC Policy specifies such exemptions.  If they exist at NERC, we should determine whether they should be included in the NAESB standard. 
2. Requirement #11 recommends: “. . . . . devices to coincide with the time error of the interconnection.”  Be enhanced to read “. . . . . devices to coincide with the time error of the Interconnection Time Error Monitor.” JJD: This seems like a reasonable improvement in language.
General Comments

