Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown

Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   JJD: See note on CAISO’s comments to Coordinate Interchange.
Comments on Requirements (List comments by Requirement Number)

· 1.1.1.2   it is important to ensure that the Reliability Coordinator is aware of Inadvertent Interchange payback transaction along with the BA and TSP.  JJD: This should happen automatically via the E-Tag except as indicated below.
· 1.1.1.3   In the Western Interconnection, a bilateral inadvertent interchange payback of 25 MW or less does not require a NERC tag. JJD: The WECC does have this waiver at NERC.  I am not sure how it can be accommodated in the NAESB standard.
Comments on Appendices (List comments by Appendix Subsection)

General Comments

· The term “Standard” is capitalized in some cases, lower cased in others. JJD: should change to be lower case.
· This Standard should be re-named “Inadvertent Interchange Payback” to separate it from NERC Version 0 Standard 006 Inadvertent Interchange, and any other inadvertent interchange procedures and practices, such as Inadvertent Interchange accounting. JJD: acceptable change.
· Under “Purpose”, there is a single statement … “(T)his standard defines the method(s) in which Inadvertent Energy is paid back.”   However, in the Western Interconnection, this is not entirely true.  Add some language to reflect the current process in the West, e.g. … “It should be recognized that this standard might not be fully applicable whenever Automatic Time Error Control is in effect in an Interconnection.” JJD: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.  ALSO NOTE: The BPS asked whether the WECC wanted its procedures to be included in the standards as alternate procedures (we did this specifically on TLR and I think we did it on time error). They declined.
· Applicability.  Ditto above.  Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.” Ditto above.
