Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown


Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   JJD: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made every effort to ensure such consistency exists based on definitions available at the time of publication. This should be handled as a maintenance item.
Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

