Flowgate Administration Reference Document


Flowgate Administration Reference Document

Version 1

Reference Document Subsections

A. General

B. Guidelines for Permanent Flowgates

C. Flowgate Administration

A.
General

Purpose

The Flowgate Administration Reference Document explains how Reliability Coordinators can add, modify, and remove flowgates from the Interchange Distribution Calculator (IDC). The procedures included in this document follow:

· Ensure that Reliability Authorities have the flowgate data that they need to manage system security.
· Ensure that market participants receive timely information about flowgate changes that they need to assess impacts on Interchange Transactions.
· Address administrative authorities, criteria, and processes for:

· Adding and deleting “permanent” Reliability Flowgates

· Modifying Reliability Flowgates in the Book of Flowgates

· Defining “temporary” Reliability Flowgates

· Expiring “temporary” Reliability Flowgates

· Adding “temporary” Reliability Flowgates to the Book of Flowgates 

· Modifying Informational Flowgates

· Modifying Market Redispatch Flowgates

Terms

Flowgate. A single or group of transmission elements intended to model MW flow impact relating to transmission limitations and transmission service usage.  Within the IDC, Transfer Distribution Factors (see PTDFs and OTDFs as defined below) are calculated to approximate MW flow impact on the flowgate caused by point-to-point power transfers. 

Flowgate Categories:

Temporary Flowgate.  A flowgate created by a Reliability Coordinator within the IDC to monitor or mitigate a Constraint for which a Permanent Flowgate has not been identified. Temporary Flowgates expire when each new IDC base case is updated.  IDC base cases are normally updated on a monthly basis.

Permanent Flowgate.  A flowgate approved by Reliability Authority Working Group and listed in the Book of Flowgates.  Permanent Flowgates remain in the IDC unless removed from the Book of Flowgates and deleted from the IDC.  
Flowgate Types:  A flowgate may be classified as one or more of the following types

Informational Flowgate Type:  A flowgate that the Reliability Coordinator can establish for monitoring purposes only. An Informational Flowgate does not qualify for Transmission Loading Relief (TLR) usage and should be reviewed periodically. 

Reliability PTDF Flowgate Type:  A Reliability PTDF Flowgate is represented by the PTDF of its defined transmission element(s). The defined transmission element(s) can be the monitored element(s) or the contingent element(s). This type of flowgate qualifies for TLR usage under NERC Policy 9, “Reliability Coordinator Procedures.”

Reliability OTDF Flowgate Type:  A Reliability OTDF Flowgate is another type of Reliability Flowgate.  It is represented by the OTDF on the Monitored Element(s) with the simulated outage of the critical contingency.  This type of flowgate also qualifies for TLR usage under NERC Policy 9.

Commercial Flowgate Type:  Commercial Flowgates contain transmission elements on which transmission service has been or is expected to be sold. Some Reliability Coordinators and Transmission Providers use Commercial Flowgates in ATC calculations.  A Commercial Flowgate status alone does not qualify for TLR usage. Reliability Coordinators and Distribution Factor Work Group are not responsible for approving, modeling, and maintaining Commercial Flowgates and therefore the administrative process described in this document does not apply to Commercial Flowgates.

MRD Flowgate Type:  A flowgate for which the Market Redispatch (MRD) procedure may be used to provide the equivalent relief by a TLR to mitigate a constraint. MRD Flowgates are listed on the NERC web site along with their real-time flows. An MRD Flowgate is necessarily a Reliability Flowgate. 
Responsibilities and Authorities

The Operating Reliability Subcommittee (ORS) is responsible for:

· Reviewing all changes to the Book of Flowgates at each of its regularly scheduled meetings.

· Resolving disputes resulting from the implementation of Section B, “Guidelines for Permanent Flowgates,” or Section C, “Flowgate Administration,” in this reference document.

The Reliability Coordinator Working Group (RCWG) is responsible for:

· Authorizing all changes to the Book of Flowgates on a monthly basis.

· Providing semi-annual reports on flowgate changes to the ORS.

Individual Reliability Coordinators are responsible for:

· Authorizing the use of Temporary Flowgates
· Modeling Temporary Flowgates within IDC

· Recommending conversion of Temporary Flowgates to Permanent Flowgates
· Reviewing and updating periodically its Permanent Flowgates
· Authorizing the removal of Permanent Flowgates
The Distribution Factor Working Group (DFWG) is responsible for:

· Performing the on-going function of administering the Book of Flowgates under the direction of RCWG.  Administration includes but is not limited to the following:

1. Tracking the relationship between Temporary and Permanent Flowgates for historical purposes.

2. Reviewing flowgate data including the transmission element, which define Permanent Flowgates.

3. Reviewing flowgate data including transmission elements that define Temporary Flowgates used for TLR greater than TLR Level 1.

· Authorizing Book of Flowgates changes that can be unanimously agreed upon.  If DFWG cannot unanimously agree, or if they see reasons for RAWG discussions, DFWG will forward the flowgate review to RAWG with its recommendations.

· Provide quarterly update to the RAWG on the Book of Flowgates changes highlighting key changes in Permanent Flowgates.

· Modeling the basic set of permanent Book of Flowgates changes as approved by RAWG.

· Maintaining and being the “owner” of the Book of Flowgates.

· Developing a posted flowgate review process for evaluating flowgates.

The NERC staff is responsible for:

· Posting the basic set of flowgates on the NERC web site, and posting IDC messages regarding flowgate changes and Temporary Flowgate additions.  IDC message posting is expected to be an automated process.

B.
Guidelines for Permanent Flowgates

A Permanent Flowgate must meet at least on of the following requirements to be in the Book of Flowgates:

1. A TLR has been called for the flowgate at least once during the past two years, or

2. A TLR greater than TLR Level 1 has been called for on the Temporary Flowgate at least once during the past two years and the Temporary Flowgate was created multiple times during the past two years, or

3. The flow on the flowgate has exceeded a reasonably high percentage (i.e. 90%) of its applicable rating or Operating Security Limit (OSL) at least once during the past three years, or 

4. The flow on the flowgate is expected to exceed a reasonably high percentage (i.e. 90%) of its applicable rating or the OSL in the coming year 

5. DFWG or RCWG has determined that the flowgate should remain in the Book of Flowgates, or the Reliability Coordinator recommends and presents the rationale to RCWG that a flowgate be included or retained in the Book of Flowgates. 
Permanent Flowgates will not be removed from the Book of Flowgates or the IDC database unless requested by the responsible Reliability Coordinator.

[image: image1.wmf] 

DFWG or RC

 

review BoF &

 

Temp List

 

Need to

 

create or

 

modify

 

Permanent

 

FG Created in

 

IDC

 

DFWG

 

Review

 

RCWG

 

Review

 

By Reliabili

ty

 

Coordinator

 

Temporary

 

FG created in

 

IDC

 

By DFWG

 

DFWG

 

Approve?

 

Inform

 

RCWG

 

Ÿ

 

Update BoF and post

 

Ÿ

 

DFWG records revision

 

Ÿ

 

Notify IDC provider

 

Ÿ

 

Notify RC via IDC

 

No

 

RCWG

 

Approve?

 

Yes

 

RC provides

 

additional

 

information

 

No

 

Inform DFWG

 

by DFWG FG

 

process

 

ORS:

 

Ÿ

 

Reviews changes to BoF

 

Ÿ

 

Resolves disputes

 

Yes

 

C.
Flowgate Administration

The Flowgate Administration process is shown in the flowchart below.

Permanent Flowgates

1. ORS has final approval for the basic set of flowgates taking into account recommendations from RCWG and DFWG.

2. DFWG assists in preparing information for RCWG review and maintains records showing when flowgate decisions were made. 

3. Responsible Reliability Coordinator or its DFWG representative authorizes changes to the Permanent Flowgates through submittal to DFWG.
4. DFWG will either unanimously approve flowgates or forward flowgates to RAWG with recommendations.

5. After the flowgate approval, DFWG and IDC service provider will model the flowgate changes.

6. NERC staff will post the basic set of flowgates with a link provided via the NERC web site at crc.nerc.com. 
Temporary Flowgates
1. Reliability Coordinators along with the Transmission Providers they represent will determine the need for Temporary Flowgates.  Temporary Flowgates can be created directly within IDC and may become available for potential TLR use within 20 minutes to one hour after they are entered into IDC.  Temporary Flowgates can be deleted at any time, and they automatically expire when each new IDC base case is updated.

2. Information regarding Temporary Flowgate additions, modifications, or deletions is communicated to the Reliability Coordinators via the IDC service provider.  Whenever a flowgate is added, deleted, or changed, the IDC service provider will send a message to DFWG with a copy to a NERC listserver. NERC staff will publicly post the message on the NERC crc.nerc.com web page.  Permanent Book of Flowgates changes will be posted separately.

3. Temporary Flowgates will automatically expire when a new IDC base case is updated.  IDC base cases are normally updated on a monthly basis.  IDC model updating process schedule will be posted on the NERC web site, as it becomes known. 

4. Temporary Flowgates, which are used for TLR greater that Level 1, should go through a DFWG review.  Individual Reliability Coordinators may recommend converting a Temporary Flowgate into a Permanent Flowgate by following Step 3 in the Permanent Flowgates section above.

Informational Flowgates

1. Reliability Coordinators may establish an Informational Flowgate to help them monitor power flows over certain interfaces. 

2. The Reliability Coordinator establishing the Informational Flowgate will review the flowgate periodically, and remove the flowgate if no longer needed.

3. Informational Flowgates are included in the Book of Flowgates that is posted on the NERC web site.

4. Informational Flowgates may be converted to Reliability Flowgates by going through the formal recommendation process.

MRD Flowgates

1. The NERC Congestion Management Subcommittee (CMS) determines a list of MRD Flowgates to support the NERC MRD Procedure.

2. The DFWG or NERC staff, upon request by the CMS, notifies the IDC service provider to model changes to the MRD Flowgates for Generation Shift Factor calculation.

3. MRD Flowgates are included in the Book of Flowgates that is posted on the NERC web site.

DFWG Flowgate Review

Reliability Coordinators may request the DFWG to review and revise the list of Permanent Flowgates in accordance with the guidelines detailed in Section B.  A standardized approach should be used for reviewing all flowgates.  The Book of Flowgates will be kept up to date so that it is consistent with the latest IDC base case.  DFWG will generally not review Temporary Flowgates unless:

· They are used for a TLR greater than Level 1.
· A flowgate is repeatedly created as a Temporary Flowgate.
· A request is made to convert a Temporary Flowgate to a Permanent Flowgate.
Informational Flowgates are not to be used for TLR.  The review for Informational Flowgates may differ from that of a Reliability Flowgate.  DFWG review of Reliability Flowgates for thermal purposes may differ from the review of Reliability Flowgates used for voltage or dynamic stability purposes.

Flowgate review may require the responsible Reliability Coordinator to provide additional flowgate detail as determined by DFWG. 







































































































































































































































� EMBED Word.Picture.8  ���








Version 1
- 1 -
March 21, 2002

Version 1
- 7 -
March 21, 2002


[image: image2.wmf] 

DFWG or RC

 

review BoF &

 

Temp List

 

Need to

 

create or

 

modify

 

Permanent

 

FG Created in

 

IDC

 

DFWG

 

Review

 

RCWG

 

Review

 

By Reliabili

ty

 

Coordinator

 

Temporary

 

FG created in

 

IDC

 

By DFWG

 

DFWG

 

Approve?

 

Inform

 

RCWG

 

Ÿ

 

Update BoF and post

 

Ÿ

 

DFWG records revision

 

Ÿ

 

Notify IDC provider

 

Ÿ

 

Notify RC via IDC

 

No

 

RCWG

 

Approve?

 

Yes

 

RC provides

 

additional

 

information

 

No

 

Inform DFWG

 

by DFWG FG

 

process

 

ORS:

 

Ÿ

 

Reviews changes to BoF

 

Ÿ

 

Resolves disputes

 

Yes

 

_1099312703.doc
[image: image1.emf]

DFWG or RC







review BoF &







Temp List







Need to







create or







modify







Permanent







FG Created in







IDC







DFWG







Review







RCWG







Review







By Reliability







Coordinator







Temporary







FG created in







IDC







By DFWG







DFWG







Approve?







Inform







RCWG















Update BoF and post















DFWG records revision















Notify IDC provider















Notify RC via IDC







No







RCWG







Approve?







Yes







RC provides







additional







information







No







Inform DFWG







by DFWG FG







process







ORS:















Reviews changes to BoF















Resolves disputes







Yes












