NAESB Coordinate Interchange Business Practice Standard, Version 0
Definitions  
 For the purposes of this Standard, the following definitions shall be applied:

Approval Entities – Entities responsible for providing active approvals during the Market and/or Reliability Periods.
Interchange Block Accounting – Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.
Market Period – The period of time when a Requesting PSE is making purchase, sale, and Transmission service arrangements needed to support a Transaction Tag, including the period in which market approvals are obtained.

Reliability Period – The segment of time from when the Sink BA has received the “Implemented” Tag from the requesting PSE, or its designee, to physical implementation (beginning of ramp time).

Requesting PSE – The PSE submitting the Interchange Transaction Tag. Under current policy this entity would be called the “Tag Author”.
Sink BA – The Balancing Authority responsible for monitoring and/or controlling the load identified as the sink of a bilateral Interchange. 
Source BA – The Balancing Authority responsible for monitoring and/or controlling the generation identified as the source of a bilateral Interchange. 
Business Practices

1.0 All requests to implement bilateral Interchange Transactions shall be accomplished by the submission of a completed Interchange Transaction Tag to the Sink BA.  

1.1 A completed Tag shall contain, at a minimum, the NERC required information specified in the most current version of the NAESB Appendix E “Required and Correctable Tag Data”.
1.2 It shall be the responsibility of the load serving Purchasing-Selling-Entity (PSE), or their designee, to ensure the completed Tag has been submitted to the Sink BA.

1.3 Entities shall only be allowed to take actions against tags as specified in most current version of the NAESB Appendix D “Transaction Tag Actions”.
1.4 Transaction tags for Interchange crossing Interconnection Boundaries shall be in accordance with the most current version of the NAESB Appendix B “Tagging Across Interconnection Boundaries”.

1.5 In the event of E-Tag system component failure, the requirements and procedures contained within the most current version of the NAESB Appendix C “Electronic Tagging Service Performance Requirements and Failure Procedures” shall be followed.
2.0 All energy purchase, energy sale, and Transmission service arrangements necessary to create the Tag and implement the bilateral Interchange Transaction shall be performed prior to the Tag being submitted to the Sink BA.

3.0 The Requesting PSE shall verify all necessary business and transmission arrangements prior to the Transaction Tag being submitting to the Sink BA. At its discretion, the Requesting PSE may defer this responsibility to the Market Operator Function.

4.0 The completed Tag shall be submitted to the Sink BA in accordance with the timing requirements of the most current version of the NAESB Appendix A “Submission and Response Timetables”. 

5.0 The completed Tag shall be forwarded by the Sink BA to the appropriate Approval Entity for a Market Period assessment. 

6.0 The results of the Market Period assessment (approval or denial) by the Approval Entities shall be promptly communicated back to the Sink BA. The Sink BA shall notify the Requesting PSE and to all other involved parties the results of the assessment. 

6.1 All denials of a Transaction Tag by any Approval Entity shall be accompanied by the reason for such denial. 

7.0 Any changes to the status of the Tag during the Market Period assessment shall be communicated by the requesting PSE to the Sink BA. 

8.0 The preferred method of submitting the Tag to the Sink BA shall be electronic and in accordance with the NERC Transaction Information Systems Working Group  (TISWG) Electronic Tagging Functional Specification Version 1.7.095. 

8.1 A backup or redundant electronic system shall be available for immediate use should the primary electronic means become disabled.

8.2 Submitting a Tag to the Sink BA via facsimile is acceptable only as a last resort when the electronic means and its required backup or redundant system are not available.

9.0 Interchange Transaction Corrections to the Tag for non-reliability related data shall be allowed prior to the Tag’s approval/denial by reliability Approval Entities.

9.1 Timing for corrections shall be in accordance with the NAESB Appendix A “Submission and Response Timetable”.

10.0 Interchange Transaction Modifications made to the “Implemented” Transaction Tag for market-related issues by the Requesting PSE, or their designee, must be submitted to the Sink BA and all affected parties within the time requirements of NAESB Appendix A “Tag Submission and Response Timetable”.

10.1 If the Modification is denied by any Approval Entity, the original request remains valid for the original Tag duration period.
11.0 All parties involved in the bilateral Interchange Transaction shall have, or arrange to have, personnel and facilities on site and immediately available 24 x 7 for notification of changes to the Request for Interchange. 

11.1 The personnel shall be available from the beginning of the Market Period until the Transaction has been completed.

12.0  Unless provided for under a FERC approved market mechanism, energy accounting for all Transaction Tags shall be accomplished via Interchange Block Accounting. 

13.0 Settlement of losses shall be either handled as financial or as payment in-kind.  

13.1 For losses handled as payment in-kind, the Requesting PSE, or its designee, shall communicate to the Sink BA, via a Transaction Tag (either the original or separate Tag), the MW losses and the entity the losses are with for each TSP/BA along the Interchange path.
14.0 Default ramp rates for the North American Interconnection shall be as follows:

14.1 Default ramp rate for the Eastern Interconnection shall be 10 minutes equally across the start and end times of the Tag unless otherwise agreed to by all parties involved in the Tag . 

14.2 Default ramp rate for the Western Interconnection shall be 20 minutes equally across the start and end times of the Tag unless otherwise agreed to by all parties involved in the Tag.

NAESB Appendix A –Tag Submission and Response Timetables

Version 0

Appendix Subsections

A. Eastern Interconnection – New Transactions

B. Western Interconnection – New Transactions

C .Interchange Transaction Corrections

D. Interchange Transaction Modifications

A. Eastern Interconnection – New Transactions

The table below represents the recommended business practices for tag submission and assessment deadlines within the Eastern Interconnection. These are default requirements; some regulatory or provincially approved provider practices may have requirements that are more stringent.  Under these instances, the more restrictive criteria shall be adhered to. The table describes the various minimum submission and assessment timing requirements.

Table 1:  Eastern Interconnection – Timing Requirements

	Transaction Duration
	PSE Submit Deadline*
	Actual Tag Submission Time
	Provider Assessment Time
	Time to Start of Transaction

	Less than 24 Hours
	20 Minutes prior to start
	<1 Hour prior to start
	( 10 Minutes from tag receipt
	( 10 Min

	
	
	>1 to <4 hours prior to start
	(20 Minutes from tag receipt
	( 40 Min

	
	
	( 4 Hours prior to start
	( 2 Hours from tag receipt
	( 2 Hours

	24 Hours or longer
	4 Hours prior to start 
	Any
	( 2 Hours from tag receipt
	( 2 Hours

	*Start time references are for start of the Transaction not the start of the ramp.


Tag submission timing requirements are based on the duration of the Transaction.  Tags representing Transactions that run for less that one day (24 hours) must be submitted at least 20 minutes prior to the start of the Transaction (excluding ramp time).  Tags representing Transactions running for one day or more (24 hours or more) must be submitted at least four hours prior to the start.  Tags submitted that meet these requirements shall be considered “on-time” by the E-Tag system and may be granted conditional approval.  Tags submitted that do not meet these requirements shall be considered “late” by the E-Tag system, and consequently will be denied if not explicitly approved by all parties.

The E-Tag system accepts tags with a start time up to one hour prior to the current time.  Tags with a start time older than one hour will be rejected as invalid.  This one-hour window shall be used to submit tags to document emergency actions taken to mitigate an Operating Security Limit violation .  This provision shall not be used to schedule Transactions without the proper tag.

Tag assessment timing requirements are based on the submission time of the tag, as well as the duration. Hourly tags submitted one hour or less prior to start must be evaluated in ten minutes.  Hourly tags submitted more than one hour but less than four hours prior to start must be evaluated in 20 minutes. Tags with a duration of less than 24 hours that are submitted four hours or more prior to start must be evaluated in two hours. Tags with a duration of 24 hours or more must be evaluated in two hours.

Timing Requirements for Reallocation when in a TLR Event

During a NERC TLR event, Transactions may be submitted to replace existing Transactions with a lower transmission priority. The new Transaction tag must be received by the Interchange Distribution Calculator no later than 35 minutes prior to the top of the hour to allow time for Reliability Authority to assess the impact of reallocation.

B.
Western Interconnection – New Transactions

The tables below represent the recommended business practices for tag submission and assessment deadlines within the Western Interconnection. These are default requirements. The tables describe the various minimum submission and assessment timing requirements.

Table 2:  Western Interconnection – Timing Requirements

	Transaction Start/Submittal Time
	Late Status Deadline
	Actual Tag Submission Time*
	Provider Assessment Time
	Approval/Denial Notes
	Time to Start of Transaction*

	Start 00:00 next day or beyond when submitted prior to 18:00 of the current day
	15:00 day prior to start
	Any
	3 hours
	Passive Approval if submitted before deadline, else Passive Denial. Deferred denial
	( 6 Hours

	Start 00:00 next day and submitted between 18:00 and 23:59:59 on day prior to start ( OR ( start within current day
	
	( 4 Hours prior to start
	2 Hours from tag receipt
	Passive Approval Deferred denial
	( 2 Hours

	
	
	(4 Hours to (1 Hour prior to start
	20 minutes from tag receipt
	Passive Approval Deferred denial
	( 40 Min

	
	
	(1 hour to (30 minutes prior to start
	10 minutes from tag receipt
	Passive Approval Deferred denial
	( 20 Min

	
	
	(30 minutes to (20 minutes prior to start
	10 minutes from tag receipt
	Passive Approval Deferred denial
	( 10 Min

	
	20 minutes prior to start
	 (20 minutes prior to start
	5 minutes from tag receipt
	Passive Denial.  Deferred denial
	Submission time minus maximum time of 5 minutes

	Notes/Clarification:

1. All clock times are in PPT.

2. Tags falling under the criteria in yellow are deemed pre-schedule tags.

3. Tags falling under the criteria in green are deemed real-time tags.

4. Pre-schedule tags submitted between 15:00 and 18:00 will be assigned LATE composite status.

5. Real-time tags submitted after 20 minutes prior to the start of the Transaction will be assigned LATE composite status.

*Start-time references are for start of the Transaction, not the start of the ramp.


Tag submission timing requirements are based on the type and duration of the Transaction.  Tags representing Transactions that run for less that one day (24 hours) within the current day must be submitted at least 20 minutes prior to the start of the Transaction (excluding ramp time).  Tags representing Transactions that are pre-scheduled to start the next day must be submitted by 1500 PST the day prior to the day the Transaction is to start.  Tags submitted that meet these requirements shall be considered “on-time” by the E-Tag system and may be granted conditional approval.  Tags submitted that do not meet these requirements shall be considered “late” by the E-Tag system, and consequently will be denied if not explicitly approved by all parties.

The E-Tag system accepts tags with a start time up to one hour prior to the current time.  Tags with a start time older than one hour will be rejected as invalid.  This one-hour window shall be used to submit tags to document emergency actions taken to mitigate an Operating Security Limit violation .  This provision shall not be used to schedule Transactions without the proper tag .

Tag assessment timing requirements are based on the submission time of the tag, as well as the duration. Hourly tags submitted one hour or less prior to start must be evaluated in ten minutes.  Hourly tags submitted more than one hour but less than four hours prior to start must be evaluated in 20 minutes. Tags with a duration of less than 24 hours that are submitted four hours or more prior to start must be evaluated in two hours. Tags submitted for pre-scheduled service starting the next day or a future day must be evaluated in three hours.

C.
Interchange Transaction Corrections

Transaction Corrections (as described in NAESB Appendix E, “Required and Correctable Tag Data”) may be provided by PSE submitting the Tag to replace non-reliability data listed in a tag.  As each correction is received, the Evaluation Time of the Transaction will extend, based on the following rules:

· Each correction shall extend the evaluation time by ten minutes

· At no time can the evaluation time be extended past the start time of the Transaction.

· Each correction shall reset the approval status of those entities affected by the correction

· The segment or segments corrected will be eligible for passive approval if the correction is received within the timelines specified below, except in the case where the Transaction has already been set for passive denial.   The segment or segments corrected will be subject to passive denial if the correction is not received within the timelines specified below.  At no point may a Transaction segment already under Passive Denial constraints be returned to Passive Approval eligibility.

Table 3:  Correction Submission Requirements*

	Eastern Interconnection
	Western Interconnection

	20 minutes prior to start
	30 minutes prior to start

	*Start time references are for start of the Transaction not the start of the ramp.


D.
Interchange Transaction Modifications

Curtailments, reloads, market-initiated modifications, and other Transaction modifications that affect energy profiles must be received by and evaluated within certain times.  The following tables describe the submission and evaluation requirements for such changes.

Modification requests received by the deadlines specified below shall be considered “on time,” and are eligible for Passive Approval.  Modification requests received past the deadlines shall be considered “late,” and are considered denied unless explicitly approved by all parties.  

Table 4:  Eastern Interconnection ( Modifications

	Modification Type
	Requestor Submission Deadline***
	Actual Submission Time***
	Evaluation Time

	Reliability (Curtailments or Reloads)
	20 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	Market – Committed Transmission Reservation(s) Reductions
	N/A
	N/A
	N/A

	Market – Committed Transmission Reservation(s) Increases, Energy Reductions, Energy Increases*
	20 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	***Start time references are for start of the Transaction not the start of the ramp.


Table 5:  Western Interconnection ( Modifications

	Modification Type
	Requestor Submission Deadline***
	Actual Submission Time***
	Evaluation Time

	Reliability (Curtailments or Reloads)
	25 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	Market – Committed Transmission Reservation(s) Reductions
	N/A
	N/A
	N/A

	Market – Committed Transmission Reservation(s) Increases, Energy Reductions, Energy Increases*
	25 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	***Start time references are for start of the Transaction not the start of the ramp.


*See Special Exception for Cancellations below

**If received after deadline, requires active approval or will be passively denied

Special Exception for Cancellations

A cancellation is defined as setting both committed transmission reservation(s) and energy flow to zero for the duration of the Transaction prior to the start of a Transaction but following that Transactions approval. In the event that a PSE submitting the tag elects to cancel a Transaction, the following timelines should be utilized:

Table 6:  Special Exception for Cancellations Submission and Evaluation Timing

	Region
	Submission Deadline*
	Evaluation Time

	Eastern Interconnection 
	15 minutes prior to transaction start
	If received by deadline, no evaluation required.  Request is automatically approved.

	
	
	If not received by deadline, request is not eligible for Special Exception for Cancellations, and must be processed normally.

	Western Interconnection
	20 minutes prior to transaction start
	If received by deadline, no evaluation required.  Request is automatically approved.

	
	
	If not by deadline, request is not eligible for Special Exception for Cancellations, and must be processed normally.

	*Start time references are for start of the Transaction not the start of the ramp.


NAESB Appendix B – Tagging Across Interconnection Boundaries

Version 0

A.
Between ERCOT and Eastern Interconnections

[image: image3.wmf] 

Tagging Across 

 

ERCOT/Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

dc Tie Operator and

 

ISO

 

PSE Creates Tag

 

and Sends to

 

SPP SC

 

SPP SC validates 

 

SPP SC send

s tag to ERCOT 

 

PSE Sends Tag to Others PSE

 

Submits Tag 

 

via ERCOT OASIS

 

SPP SC and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BA

s 

in

 

EI and dc Tie Operator

 

dc Tie Operator Sets

 

Flows per NERC Ta

g

 

SPP SC Enters Tag

 

into IDC

 

A Purchasing-Selling Entity that is seeking transmission arrangements to schedule energy between the ERCOT and Eastern Interconnections will coordinate through the SPP Reliability Authority.  Requests for service must be made to the SPP Reliability Authority for service into or through SPP (including service across either the North or East DC Ties) via the SPP OASIS.  Request for service must also be made in ERCOT via the ERCOT OASIS.  The SPP Reliability Authority will coordinate approval of reservations and schedules involving the SPP portion of transmission service (including the DC ties) and service in ERCOT.

The following procedures are followed when scheduling transmission service between SPP and ERCOT:

· The Purchasing-Selling Entity must receive approval for DC tie service and transmission service in SPP from the SPP Reliability authority for the proposed transaction and arrange required ancillary services.

· For all transmission service requests, the Purchasing-Selling Entity will create a NERC Tag and submit it to the SPP Reliability authority.  The SPP Reliability authority will validate certain information on the tag and check that a reservation exists before approving the tag.  The approved tag will be available to the parties to the transaction and the ERCOT ISO. 

· Simultaneous with submitting requests using the NERC TAG to the SPP Reliability authority (for next hour, non-firm and all other transmission service requests), the Purchasing-Selling Entity submits requests to the ERCOT ISO via the ERCOT OASIS.  The MW profile information submitted to ERCOT must exactly match the information on the NERC Tag supplied to ERCOT by the SPP Reliability authority. (See note.()

· The SPP Reliability authority coordinates approval of the transaction if ATC is available in SPP and across the DC tie, and works with the ERCOT ISO to coordinate ATC calculations in ERCOT.

· The ERCOT ISO notifies the delivering/receiving ERCOT Control Area of the approved transaction and provides a copy of the NERC Tag and ERCOT schedule request.

· The delivering/receiving ERCOT Balancing authority communicates with the delivering/receiving control area outside of ERCOT, confirms the transaction/schedule, and confirms with the DC tie operator.

· The DC tie operator will follow the NAESB Tag when setting flows across the tie.

· The SPP Reliability authority will use the NAESB Tag to populate the IDC and to determine constrained facility ATC in the operating horizon.

· ERCOT ISO requires transactions/schedules involving use of the DC ties to include the NAESB Tag reference in the comments field on the ERCOT schedule request.

B.
Between Western and Eastern Interconnections

The WECC will use E-Tag for pre-scheduled transactions starting April 18, 2000, and for next hour and same day service wholly within WECC starting October 17, 2000.

Due to the delay in implementing E-Tag for next hour and same day service, tagging requirements for these types of transactions shall remain unchanged within WECC.

During the interim period of April 18, 2000 through October 17, 2000

· All Interchange Transactions that cross the Interconnection Boundary, including next hour and same day service, will be submitted in E-Tag format for inclusion in the Eastern Interconnection IDC.

· Purchasing-Selling Entities from WECC submitting transactions shall provide E-Tag service or arrange for E-Tag services during this interim period.

· The requesting Purchasing-Selling Entity shall be responsible for the use of the WITHDRAW, CANCEL, TERMINATE, and REPLACEMENT features of E-Tag. The Purchasing-Selling Entity shall also be responsible for communicating the tag changes either by fax or telephone to all WECC balancing authorities and Transmission service Providers on the Transaction Path.
· WECC balancing authorities and Transmission service Providers on the Transaction Path that have E-Tag capability shall initiate the ADJUST feature of E-Tag as required.  WECC balancing authorities and Transmission service Providers on the Transaction Path that do not have E-Tag capability shall communicate either by telephone or fax with a balancing authority or Transmission service Provider that does have E-Tag capability and arrange for the ADJUST message to be issued on their behalf.
· Any balancing authority or Transmission service Provider that requested an adjust by E-Tag shall also be responsible for communicating the tag changes either by fax or telephone to all WECC balancing authorities and Transmission service Providers on the Transaction Path.
Interchange Transaction where the sink is in the Eastern Interconnection

· The Purchasing-Selling Entity serving the load shall be responsible for submitting the E-Tag..  The Purchasing-Selling Entity shall also be responsible for communicating the tag information either by fax or telephone to all WECC Balancing authorities and Transmission service Providers on the Transaction Path.

· The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements in NAESB Appendix A, Subsection A – Eastern Interconnection.
· The Transmission service Providers and balancing authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NAESB Appendix A, Subsection A – Eastern Interconnection.
Interchange Transaction where the Sink is in the Western Interconnection

· For Pre-Scheduled Transactions, the Purchasing-Selling Entity serving the load shall be responsible for submitting the E-tag. The Purchasing-Selling Entity shall also be responsible for communicating the tag information either by fax or telephone to all WECC balancing authorities and Transmission service Providers on the Transaction Path.

· For Hourly/Multi-Hour Same Day Transactions, the sink Purchasing-Selling Entity in the Eastern Interconnection (last PSE before the DC Tie) shall be responsible for submitting the E-Tag. The sink Purchasing-Selling Entity shall also be responsible for communicating the tag information either by fax or telephone to all WECC balancing authorities and Transmission service Providers on the Transaction Path.

· The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements NAESB Appendix A, Subsection B – Western Interconnection.
The Transmission service Providers and balancing authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NAESB Appendix A, Subsection B – Western Interconnection
NAESB Appendix C – Electronic Tagging Service Performance Requirements and Failure Procedures

Version 0


This document describes the performance requirements of the E-Tag System and the procedures to be followed in the event of an E-Tag System Component’s failure.  Due to the importance of accurate information flow, these procedures and requirements have been developed to ensure that reliable data communications remain available at all times.  

A.
Performance Requirements

Tag Agent Service Requirements

Entities that are required to use Tag Agent Services are responsible for providing a Tag Agent Service with which to conduct business; there are no exemptions to this requirement.  There is no specific requirement against which performance should be measured. However, in cases of Tag Agent Service failure, non-receipt of critical information (such as curtailment notifications, transaction denials, and schedule modifications) due to performance problems shall be the responsibility of the Tag Agent user.

While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the Tag Agent User is ultimately responsible for the provision of the service. The non-performance of a third party does not excuse the entity from the obligation to provide the service.

Tag Approval Services

Entities that are required to employ Tag Approval Services are responsible for providing a Tag Approval Service as well as providing a level of redundancy; there are no exemptions from this requirement.  At a minimum, Tag Approval Services may not have greater than 1.0% of the tags sent to their system within a calendar month be recorded by Tag Authority Services as having a state of “COMM_FAIL.”  While there is no specific level of redundancy that is required by this Appendix, sufficient redundancy must be in place that the entity is confident of achieving this standard.   
While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the entity required to employ the Tag Approval Service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service.

In order to monitor compliance with this requirement, the Balancing Authorities will arrange with their Authority Services to generate compliance reports at the beginning of each month determining this metric for the previous month on a Provider-by-Provider basis.  NAESB staff shall examine these results, investigate any violations, and post results based on this investigation as they are finalized.

Tag Authority Services

As the Tag Authority Service is the most critical element of the E-Tag System, it must meet much higher standards.  These standards can be divided into two areas: Implementation, and Policies and Performance. 

Implementation

Tag Authorities Services must be implemented in a manner that provides for redundancy and fault-tolerance through hardware and software; there are no exemptions to this requirement. Specifically, a Tag Authority Service must provide, at a minimum, the following:

· Two or more connections to the Internet, which may either be available concurrently or be switchable on demand (within five minutes);

· Redundant/Fault-Tolerant Networking Equipment between the Internet providers’ demarcation points and the Computer Systems, as well as between each of the components of the system required to be inter-networked to provide functionality (i.e., FDDI Rings, dual homing, etc…);

· Redundant/Fault-Tolerant Computer Systems that can immediately recover from a loss of any single component (i.e., mirrored databases, web clusters, etc…).

Providers of Tag Authority Services must furnish NERC staff with documented explanations of how they meet or exceed the above requirements.  These documents shall be evaluated by NAESB staff for fitness and held in confidence at the NAESB Offices.

Policies and Performance

The following shall be required of all Tag Authority Services:

· All scheduled outages must be performed between the hours of 01:00 CST and 04:00 CST.  Any maintenance that must be performed outside this three hour window must be accomplished though the use of redundant systems in such a manner that no outage is visible;

· Notice of Scheduled outages must be given to the public at least 24 hours before the outage is to occur.  Notice shall be deemed valid if the following actions have been taken:

1. Users of the system are sent notifications, via Email or a proprietary system, time stamped at least 24 hours prior to the outage;

2. The TISFORUM mailing list is sent Email notification time stamped at least 24 hours prior to the outage;

3. The OASIS TSIN mailing list is sent Email notification time stamped at least 24 hours prior to the outage.

Any system problem that creates behavior contrary to that described in the E-Tag Specification shall constitute an “Unscheduled Outage.”  For example, a system that begins rejecting every third message it receives due to a component failure in a cluster would constitute an Unscheduled Outage (although the system was only failing one third of the time, it was not performing as described in the E-Tag specification).

Tag Authority Services may not be in a state of Scheduled or Unscheduled outage for more than 0.5% of the time for the month, based on outage time (in minutes) for the month divided by total time in the month (in minutes).  NAESB staff may grant specific allowed outages to address special circumstances  (i.e., scheduled specification changes, major internet outages, etc…). 

While it is acceptable for an entity to contract with a third-party to provide for these requirements, it should be understood that the entity required to employ the Tag Authority Service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service. 

To monitor compliance with these requirements, the Operator of a Tag Authority System must submit to NAESB staff, at the beginning of each month, a report describing outage activity for the previous month.  This report shall consist of the following items: 

1. The beginning of the outage;

2. The ending of the outage;

3. The type of outage (Scheduled or Unscheduled);

4. The nature of the outage (Maintenance, System Crash, etc…);

5. In the event of an Unscheduled Outage, the cause of the outage and the steps taken to ensure the problem has been addressed and will not reoccur. 

NAESB staff shall specify the electronic format in which to send these reports.  These documents shall be evaluated by NAESB staff and held in confidence at the NAESB office.  NAESB staff shall develop statistics from these reports identifying system outage durations for each month.  These preliminary findings will be held in confidence until NAESB staff confirms them. These performance percentages shall be posted on the NERC web site, following confirmation by NAESB staff, at the end of the month following the month evaluated. 

Entities experiencing difficulty due to an Unnoticed Scheduled or Unscheduled Outage may send a Request for Investigation to NAESB staff.  This request should specify the estimated time the outage occurred, the estimated time the outage ended, and document evidence of the outage (such as TMP logs, email messages, etc…).  NAESB staff will investigate these claims with the appropriate Tag Authority Service Operator.  Should a Tag Authority Service Operator be unable to refute the claim, and the Investigation Requestor appears to have provided an accurate representation of an undocumented outage, NAESB staff may choose to modify calculated outage percentages to include the undocumented incident.  

B.
Failure Procedures 

Backup procedures are needed because, in a communication system that operates on the public Internet, failures are certain to occur.  The failures may be caused by as a result of overload of the network, loss of connection to an Internet service provider, corruption of one or more servers by computer hackers, failure of one or more entity’s Internet servers, internal firewall failure, and many other reasons.   

Failures also have a wide variety of scopes.  A failure may affect a single entity with a small number of schedules while all of its neighbors continue to operate normally, a small number of utilities in a local area, or a regional RTO with thousands of active schedules.  However failures occur, the operation of the electric utility grid must continue.  This document describes the manner in which operations are to be coordinated should such a failure become a reality.

Assumptions

A general assumption is that each operational entity in the electric utility industry has an internal energy management system, marketing system, or contract system that will not be affected by the Internet communication failure. 

Actors

Requesting PSE – The entity that prepares and submits a Tag. 

Path Participant – Any of the entities that are part of a schedule transaction. 

Authority Service entity – The entity that provides the Tag Authority Service for a tag.  The Authority Service itself is a computer system that maintains the master database for the tag and communicates status with other computer systems.  The Authority Service Entity is the utility industry entity that is responsible for providing the service.  In E-Tag, this entity is the Load Control Area. 

Approval Entity – An entity that has approval rights for a transaction.  In E-Tag 1.7 this includes the transmission providers, scheduling control areas, generation providers, and load serving entities.   

Checkout Partners – Any two entities in the utility industry that routinely perform a checkout confirmation of schedules for a period of time with each other.  Most commonly two adjacent control areas checking net interchange.  It might also be two marketers checking sales and purchases, or a transmission customer checking schedules with a transmission provider.

Failure Actions

When a failure occurs an entity will soon realize that it has lost communications with the other servers in the electronic tagging arena.  Yet it must still communicate current energy flows across the transmission network and expected flows for the next few hours.  Transmission curtailments must be accounted for in the sense that a required reduction in energy flows or increase in generation needs to be communicated.  However, accounting issues will take a secondary priority to reliability issues in this exchange, and detail relating back to tags, schedules, and transmission reservations can be reconstructed later. 

If adequate communication cannot be reestablished with other entities’ scheduling systems the last resort will be to control by frequency.

The table below lists typical failures that might occur and the emergency actions that the entity will take to compensate for that failure. 

	Entity
	Connectivity Problem
	Backup actions

	Requesting PSE
	Unable to submit tag to Authority Service.
	Ask another entity in the transaction chain to submit the schedule for you.  He then becomes the author.

Create a backup paper copy of the schedule and fax to authority service entity and all approval entities in the transaction.

	Path Participant
	Not receiving update messages.


	Use Recovery Process to resynchronize from authority service.

Use telephone with Authority Service Entity to update status.

	Authority Service Entity
	Unable to send messages to generation or load control area.
	Telephone Schedule Author to notify of the message failure.  The author will fax the schedule to the Approval Entity for these control areas.

Telephone Approval Entity to notify of the message failure.

Approve or deny the schedule at the request of the Approval Entity (override).

	Authority Service Entity
	Unable to send messages to an approval entity for an intermediate Transmission Provider or Control Area.
	Telephone Schedule Author to notify of the message failure.  The author will fax the schedule to the Approval Entity.

Telephone Approval Entity to notify of the message failure.

Approve the schedule automatically.

Deny the schedule at the request of the Approval Entity (override).

	Authority Service Entity
	Unable to send messages to an information only entity.


	No Action required.

	Authority Service Entity
	Unable to receive messages.


	Broadcast a message by email or fax to all entities that use your authority service.  The message should forecast a recovery time for your service.  In the meantime, your Authority Service is down.

	Approval Entity
	Unable to receive messages from an authority service.

(The Authority has an obligation to notify you and the authoring PSE.

The Authoring PSE has an obligation to fax the tag to the approver.)
	Use the Recovery Process to resynchronize from Authority Services or Central Repository.

Telephone the Authority Service entity with the approval or denial of the schedule.

	Approval Entity
	Unable to send messages to an authority service.


	Telephone the Authority Service Entity with approval or denial of the schedule.

	Checkout

Partner
	Unable to exchange messages.
	Telephone net exchange to the checkout partner.

Create a backup paper copy of the checkout data and fax to the checkout partner.


Notes:

1. The first action in every case is to attempt to establish connection by using an alternate communication method, a second Internet service provider, dial up connection, or a private network if one is available.

2. Next, the backup actions are attempted in the order specified.

3. The backup actions include printing paper reports from the internal energy management system.  The reports include a schedule detail report for a short time period, net exchange between two operational entities, and transmission reservation usage between a transmission provider and a customer.

4. Every backup action list ends with a fax or telephone call that is completely independent of the public Internet. 

Reports

Three reports have been designed to communicate energy flows and transmission reservation usage between partner entities with a tie where possible back to the schedules as known before the communication failure. 

Net Exchange

A Net Exchange report is a paper summary of Interchange:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entity and the partner entity are any two entities that share common schedules.

· The date and time are the date and time of the report.

· Net schedules are the net of schedules from and to the other entity.

· TO is a sum of the schedules from the entity to the partner entity.

· FROM is a sum of the schedules from the partner entity to the entity.

· Tag or fragment lines represent the data from each tag or fragment that was known at the time of the failure or has been entered later.

· Recent adjustment lines represent a summary of changes to the schedules that occurred since the failure. 

Schedule Detail

A Schedule Detail report is a paper copy of an individual schedule.  It includes:

· The schedule identification number and most current active revision number.

· The fully expanded energy schedule for a period of the current hour to a few hours in the future, up to 24 hours.

· The complete path with all OASIS and contract references. 

Reservation Usage

A transmission Reservation Usage report is a summary of Reservation Usage:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entities on the report are a transmission provider and a transmission contract holder.

· Gross reservations is the sum of reservations, Usage is the sum of usage.

· The detail lines are tag or fragment usage of reservation, organized by product and OASIS reservation number. 

Recovery Process

The last backup issue is the recovery of current status when the communication link is reestablished.  The recovery is accomplished by a query to the authority service for each entity that the entity does business with.  The query returns a list of all the schedules that reference that entity with the schedule id, the current version number and the last modified date and time.  The recovering entity then compares with its own database and updates his database to be current with the authority’s database.  When all authority services have been queried, the recovery is complete. 

If the entity desires, it can request a complete audit history of each schedule.

NAESB Appendix D – Transaction Tag Actions
Version 0
For Eastern and Western Interconnections

The table below explains the various tag actions that are possible, and the entities that are entitled to initiate these actions:

	Desired Policy Action
	Reason
	Tagging Action
	Initiated by
	Result

	Approve a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Approved)
	Approval Entity*
	Approver indicates approval

	Deny a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Denied)
	Approval Entity*
	Approval indicates denial

	Study a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Studied)
	Approval Entity*
	Approval indicates the tag has been viewed, but have not committed to a decision

	Withdraw a Tag Request
	Economic
	Withdraw Request prior to request implementation
	Requesting PSE**
	Request is dead

	Cancel a New Tag
	Economic
	Request Profile Change – Set Energy and Capacity for the transaction to zero prior to transaction start
	Requesting PSE**
	Tag is dead

	Terminate a Tag
	Economic
	Request Profile Change – Set Energy and capacity of the transaction to zero from a point of time forward
	Requesting PSE**
	Portion of tag is dead

	Extend a Tag
	Economic
	Request Profile Change – Append additional hours onto an existing transaction
	Requesting PSE**
	Tag is extended 

	Reduce a Tag
	Economic
	Request Profile Change – Decrease Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Decreased

	Increase a Tag 
	Economic
	Request Profile Change – Increase Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Increased

	Curtail a Tag
	Reliability (OSL Violation, Loss of Gen, loss of Load)
	Request Profile Change – Limit Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Scheduling Agent
	Profile is Decreased

	Reload a Tag
	OSL violation eliminated, Generator Returned, Load Returned
	Request Profile Change – Release Limit of Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Scheduling Agent
	Profile is Increased


Notes: 

*Purchasing-Selling Entities and Load-Serving Entities may elect to defer their approval rights to the Host balancing authority of their facilities.  For more information, see PSE and LSE approval rights below

**In some situations, Balancing Authorities implement certain Interchange Transactions or Interchange Schedules, such as bilateral inadvertent payback, Dynamic Schedules, and emergency schedules from Reserve Sharing Groups. In these situations, the Balancing Authority serves as the Purchasing-Selling Entity and can perform these actions.

***Entities registered as market operators and serving as either source or sink for a Transaction may exercise such functions in order to indicate correct flow based on market clearing.

PSE and LSE Approval Rights

Purchasing-selling  Entities and Load-Serving Entities have been granted the right, but not the obligation, to approve Transaction requests using their resources.  If PSEs and LSEs specify an approval service in the Master Registry, then they are expected to approve/deny Transactions when so requested.  Otherwise, their Host balancing authority is expected to act on their behalf.  The following table illustrates the proper way to interpret this requirement:

	If the PSE…
	Specified an Approval URL
	The PSE should be granted rights to approve or deny

	
	Did not specify an Approval URL
	The BA should have proxy approval rights for the PSE


NAESB Appendix E  – Required and Correctable Tag Data

Version 0 

Appendix Subsections

A. New Transactions

B. Curtailments and Reloads (Reliability Profile Modifications)

C. Market Related Profile Modifications

A.
New Transactions

A new Transaction is a Transaction that has not yet been implemented or confirmed for implementation.  Such Transactions must be presented to those entities that are responsible for the implementation of the Transaction in order that they may evaluate the Transaction request and determine whether or not the Transaction can be implemented.  The following information is to be used to describe such a Transaction.  

1. Market Information

1.1. Market Redispatch Information (only required if Transaction is MRD Transaction).  (See “E-Tag Functional Specification Version 1.7”)

1.2. Financial Path (Required) ( the description of financially responsible parties for the transaction in order.  This will typically start with a Purchasing-Selling Entity providing generation and finish with a Load Serving Entity, with optionally Intermediate Purchasing-Selling Entities between the two.

1.2.1. Energy Title Holder(s) (Required) – the identity of the entities financially responsible to take and/or deliver the energy as described in the physical path.  This will typically be a Purchasing-Selling Entity providing generation, a Load Serving Entity, and optionally Intermediate Purchasing-Selling Entities.

1.2.1.1. Energy Product Type (Correctable) – the type of energy delivered by the Energy Title Holder.  

1.2.1.2. Contract Number(s) (Correctable) – reference to a Transaction entered into by the Energy Title Holder with one or more other participants in the Transaction.

1.2.1.3. Miscellaneous Information (Correctable) – information provided at the author’s option regarding the Transaction.

2. Physical Information
2.1. Physical Path (Required) – the description of physically scheduling parties for the transaction in order and related to the financially responsible parties described above.  This will always contain a Generation segment, at least one Transmission segment, and a Load segment.

2.1.1. Generation (Required) – set of data describing the physical and contractual characteristics of the energy source.  

2.1.1.1. Source (Required) – the physical point at which the energy is being generated.  This may vary in granularity, dependent on local business practices.

2.1.1.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Purchasing-Selling Entity providing generation and the Generator Operator.

2.1.1.3. Miscellaneous Information (Correctable) – information provided at the  requesting PSE’s  option regarding the Transaction.

2.1.1.4. Energy Profile (Required) – energy to be produced by the Generator Owner for this Transaction.

2.1.2. Transmission (Required) – set of data describing the physical and contractual characteristics of a wheel (import, export, or through).

2.1.2.1. Transmission Service Provider (Required) – the identity of the transmission provider that is wheeling the energy.

2.1.2.2. Point of Receipt (Correctable) – valid Point of Receipt for scheduled Transmission Reservation.

· Point of Delivery (Correctable) – valid Point of Delivery for scheduled Transmission Reservation.

· Scheduling Agent (Correctable) – entity that is physically scheduling interchange on behalf of the Transmission Service Provider in order to provide wheeling services.  Typically the Balancing Authority for the Transmission Service Provider, but may be several Balancing Authorities supporting a regional transmission service.

· Loss Provision Information (Required) (Correctable)– Information describing the manner in which losses are accounted when they are not scheduled as in-kind megawatt distributions through the original transaction.  Types may be financial (paid in dollars based on tariff provisions), internal (scheduled in megawatts to the Transmission Service Provider from a resource inside the Transmission Service Provider’s  area), or external (scheduled in megawatts to the Transmission service Provider from a resource outside the Transmission Provider’s Area). If internal or external, must specify contract numbers or Transaction IDs.

· Miscellaneous Information (Correctable) – information provided at the requesting PSE’s  option regarding the transaction.

· POR and POD Profiles (Required) – schedule of Energy Flow imported at the Point of Receipt and Exported at the Point of Delivery.

· Transmission Reservation Number(s) (Required) (Correctable) – reference to a particular transmission reservation being used to provide transmission capacity to support the transaction being described.

2.1.2.2.1. Transmission Product (Required) (Correctable) – Specifies the firmness of service associated with the transmission reservation being used.

2.1.2.2.2. Requesting Purchasing-Selling Entity (Required) (Correctable) – identifies the entity that purchased and holds the transmission reservation being presented for use.

2.1.2.2.3. Transmission Reservation Profile (Required) - information describing the transmission reservation commitment associated with the Transmission Service Provider.

2.1.2.2.3.1. Committed Transmission Reservation Level (Required) – schedule of transmission reservation committed by the requesting Purchasing-Selling Entity for use for this Transaction.

2.1.3. Load (Required) – set of data describing the physical and contractual characteristics of the energy sink.

2.1.3.1. Sink (Required) – the physical point at which the energy is being consumed.  This may vary in granularity, dependent on local business practices.

2.1.3.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Load Serving Entity and the Distribution Provider.

2.1.3.3. Miscellaneous Information (Correctable) – information provided at the requesting PSE’s option regarding the Transaction.

2.1.3.4. Energy Profile (Required) – energy to be consumed by the load for this Transaction.

Using Multiple Transmission Reservations to Support a Single Leg of an Interchange Transaction
The use of multiple transmission reservations to support a single leg of an Interchange Transaction is known as transmission stacking.  There are two types of transmission stacking:

· Vertical stacking, in which a requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain net level of transmission capacity, and

· Horizontal stacking, in which a requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain transmission capacity coverage over time.

The following diagrams illustrate these concepts more fully.  In both cases, the assumed need is 100 MW of transmission capacity for hours 06:00 through 22:00.

[image: image1.wmf]Reservation 12345

(50MW from 6:00 

–

22:00)

Reservation 67890

(50MW from 6:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Vertical Stacking


[image: image2.wmf]Reservation 12345

(100 MW from 6:00 

–

14:00)

Reservation 67890

(100 MW from 14:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Horizontal Stacking


Should a requesting PSE elect to utilize stacking to support their Interchange Transaction, they must understand the following requirements:

· Stacks MUST be described through fully qualified profiles for each reservation being used

· At no point may the coverage described by the stack be less than the transmission capacity needed for the Transaction’s energy flow

B.
Curtailments and Reloads (Reliability Related Profile Modifications)

Curtailments and Reloads are special kinds of modifications to a transactions energy profile based on reliability concerns.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification.  

· The Transaction being curtailed or reloaded

· All necessary profile changes to set the maximum flow allowed for the transaction during the appropriate hours

· A contact person that initiated the curtailment or reload, and

· A description of the necessity for the schedule change.

C.
Market-Related Profile Modifications

Profile Modifications are changes to a Transaction’s energy profile based on market desires.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the Transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification. 

· The Transaction being modified

· All necessary profile changes to set the transmission capacity or energy flow to the desired levels during the appropriate hours, and

· A contact person that initiated the modification.

� EMBED Word.Picture.8  ���








Note: In ERCOT, there are two types of wholesale transmission services—planned and unplanned.  Planned Transmission Service is service for nominated generating resources to specified loads.  All other transmission service is unplanned.





[image: image4.wmf] 

Tagging Across 

 

ERCOT/Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

dc Tie Operator and

 

ISO

 

PSE Creates Tag

 

and Sends to

 

SPP SC

 

SPP SC validates 

 

SPP SC send

s tag to ERCOT 

 

PSE Sends Tag to Others PSE

 

Submits Tag 

 

via ERCOT OASIS

 

SPP SC and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BAs 

in

 

EI and dc Tie Operator

 

dc Tie Operator Sets

 

Flows per N

ERC Tag

 

SPP SC Enters Tag

 

into IDC

 

_1149416474.doc


Tagging Across 







ERCOT/Eastern







Interconnection







Interface







PSE Receives







Approval from SPP







dc Tie Operator and







ISO







PSE Creates Tag







and Sends to







SPP SC







SPP SC validates 







SPP SC sends tag to ERCOT 







PSE Sends Tag to Others PSE







Submits Tag 







via ERCOT OASIS







SPP SC and ERCOT







ISO Coordinate ATC







ERCOT ISO







Notifies S/R CAs







in ERCOT







S/R BACAs Confirm







Schedule with CAs BAs in







EI and dc Tie Operator







dc Tie Operator Sets







Flows per NERC Tag







SPP SC Enters Tag







into IDC












