OASIS II

Vision

Version 1

July 13, 2004

North American Energy Standards Board

Electronic Scheduling Subcommittee

OASIS II Scoping Task Force
Revision History
	DATE
	VERSION
	COMMENTS
	EDITOR

	05-13-2004
	1.0
	Initial document
	Jagjit Singh

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


OASIS II Vision
In order to properly understand the breadth of OASIS II and how it may be approached, it is necessary to define the vision for OASIS II.  The NAESB OASIS II Scoping Task Force has prepared the following document in order to facilitate this definition.

Relation to Overall OASIS II Project

This document, the OASIS II Vision, is intended to be one of two initial documents that are to be created by NAESB as development of OASIS II begins.  Its companion, the OASIS II Scope, will describe the items that are considered within the scope of the OASIS II initiative.

Upon completion, these two documents will serve as the starting point and guideline for developing the following documents for the OASIS II Project:

· The OASIS II Use Cases, which will describe all in-scope business processes, business objects, and their associated logic. 

· The OASIS II Requirements, which will support the Use Cases by detailing specific requirements and metrics 

· The OASIS  II Structural Design, which will describe the technical architecture and how functionality will be staged for deployment

· The OASIS II Implementation Plan, which will indicate the order and timeline of how the stages will be specified, developed, and deployed

· The OASIS II Standards and Communications Protocols, which will describe the data exchanges and communications between the various OASIS systems, physical entities, etc. and their associated business logic, and

· The OASIS II Business Practices Standards, which will indicate North-American standards to be considered when utilizing the OASIS II system(s).

The above documents represent the deliverables expected of the OASIS II design effort.  Upon completion of this work, the Standards and Communications Protocols and Business Practices will be recommended for adoption as NAESB and/or NERC standards.

OASIS II Vision

OASIS II is envisioned to provide electronic communication standards to facilitate the procurement and scheduling of energy and related services among market participants and operating entities.  OASIS II should provide a seamless method for procuring and scheduling of transmission, ancillary services, and energy, regardless of regional practices, market structure  or type of operating entity.  OASIS II will also facilitate standard communications between operating entities to assist in coordinating market operations (e.g., market redispatch, reassignments, line loading relief, etc.) and the exchange of operational reliability information.  OASIS II will be implemented through the development of industry standards addressing both the technical Standards and Communications Protocols, procedural Business Practice Standards, and operational standards required to achieve this vision. OASIS II will encompass but may not be limited by the implementation of the NERC Reliability Functional Model, corresponding NERC Standards and corresponding NAESB Standards.  Similarly, OASIS II will accommodate the posting of information as required by the FERC.
The OASIS II Vision recognizes that there is diversity in market designs and regional practices and that not all OASIS II features will apply to every market and/or region.  However, except for differences that are specifically required to accommodate diversity in market designs and regional practices, each OASIS II provider should consistently follow the technical and procedural Standards approved for OASIS II.  Approval and implementation of any other exceptions and waivers to OASIS II Standards will significantly dilute the effectiveness of OASIS II. The following are the key objectives of the vision for OASIS II: 

· Facilitate Procurement of Energy and Ancillary Services

· Facilitate Procurement of both Physical and Financial Transmission Rights

· Facilitate Electronic Scheduling of Physical Transactions

· Accommodate Financial Only Contracts

· Accommodate Regional Diversity

· Support Reliable System Operations

· Accommodate Market Operations for Centralized Markets

· Accommodate Data Publishing to Industry

· Support Market Monitoring

· Provide Standards for Electronic Data Communication and User Interfaces
· Function Consistently and Reliably

· Implement in a Cost-Effective Manner

Detailed descriptions of each of these key objectives follow below.

Facilitate Procurement of Energy and Ancillary Services

OASIS II will provide standardized mechanisms for the procurement of energy and ancillary services in both unilateral market structures (e.g., typical ISO/RTO two-settlement markets, etc.) and bilateral market structures (e.g., power exchanges, automated bilateral matching systems).  In a unilateral market, this procurement will likely be achieved through the submittal of price-sensitive or price-taking energy offers and bids to the Market Operator.  The energy products in a unilateral market may include both energy and ancillary services (e.g. operating reserves, regulation, etc…).  In bilateral market structures, the required procurement of transmission and ancillary services, either separately or in coordination with scheduling energy, will be accommodated.
Facilitate Procurement of Both Physical and Financial Transmission Rights

OASIS II will accommodate the procurement of both financial and physical transmission rights and facilitate secondary markets for trading those rights (e.g., resales, reassignments, etc.).  There will also be a mechanism for tracking transmission rights obtained outside of OASIS II (e.g. pre-Order No. 888 transmission service, off-OASIS resales, etc.).  

Facilitate Electronic Scheduling of Physical Transactions

[Option 1 – without SRP comments] OASIS II will facilitate the timely scheduling of energy transfers using transmission and energy rights.  OASIS II will also facilitate tracking of both energy and transmission rights usage with regard to those schedules.  The facilitation needed between the procurement of transmission, energy and ancillary services may vary between market structures.  OASIS II shall communicate data between all parties within and between regions for these transactions, as required by the appropriate NERC reliability standards and NAESB business practice standards; thereby allowing for coordination of operations.  All OASIS II systems will support real-time status updates regarding current schedules/transactions, as well as historical audit and analysis of past transactions.

[Option 2 – with SRP changes]  OASIS II will facilitate the timely scheduling of physical energy transfers, and the tracking of both energy and transmission rights usage with regard to those transfers.  Given the range of market structures and regional practices among potential users, OASIS II will provide flexibility for the scheduling and tracking of transmission, energy and ancillary service transactions to meet both NERC reliability standards and NAESB business practice standards.  All OASIS II systems will support real-time status updates for current schedules/transactions, permit audits and analysis of historical transactions and comply with FERC requirements for information postings as  well.

Accommodate Financial Only Contracts

OASIS II will accommodate the submittal of financial only contracts for energy or ancillary services and provide a means to electronically submit these contracts for market settlement processes. 

Accommodate Regional Diversity

OASIS II will implement common business models when appropriate, but allow for both regional and market diversity and innovation.  Variations in such items as time frames, congestion management schemes, ramping rules, ancillary services, and uses of resources will be accommodated.  OASIS II will also support different market models for the trading of transmission and energy, but in such a way as to capitalize on the exchange of common data to reduce data redundancy. 

Support Reliable System Operations

OASIS II will support submittal of outage and load forecast data by participants, support data exchange between market and reliability entities, as well as support the physical operation of the bulk power system.  OASIS II will ensure data is collected to support timely reliability analysis and operational management of the electric grid.  As such, the data needs of reliability entities as defined in the NERC Reliability Functional Model will be supported in OASIS II. Additionally, the standards should support the monitoring of the systems by reliability organizations for compliance with policies and/or standards.
Accommodate Market Operations for Centralized Markets

OASIS II will provide information to support a variety of market operations for centralized markets.  While the actual market operation functions are not within the scope, OASIS II will provide automated data exchange in order to support these functions.  Such functions may include market operator functions,analysis of offers and bids, performing security-constrained unit commitment, clearing markets, and calculating LMP or other pricing calculations. 

Accommodate Data Publishing to Industry

OASIS II will provide automated access to a wide range of data that participants can use to analyzemarket and/or operational conditions.  OASIS II will also include informal and/or formal bulletin boards to match buyers and suppliers, etc... 

Support Market Monitoring

OASIS II will provide the capability for access to and viewing of data by market monitors.  OASIS II is not intended to be the sole source of data for Market Monitors.  
Provide Standards for Electronic Data Communication and User Interfaces
OASIS II communication protocols will use standardized electronic interfaces (e.g., common nomenclatures, common data models, etc.).  The standardized electronic interfaces will facilitate participant ability to conduct transactions through a single standard data exchange.  OASIS II will also define default user interface standards describing common navigational paradigms for each user class (e.g., marketer, transmission provider, etc.).  However, OASIS II will not specify detailed user interface standards (i.e., graphics or other detailed GUI design elements).  
Function Consistently and Reliably

Systems implementing the OASIS II protocols must be reliable and robust.  OASIS II will require systems to meet performance and availability standards for the exchange of data and completion of all related processes, and to meet standards for backup and recoverability.  Systems must also provide for secure communications to ensure both the integrity of data exchange and the protection of confidential information.  Systems must be tested and certified as compliant with the OASIS II standards as a pre-condition to registration as an OASIS II system.  

Implement in a Cost-Effective Manner

OASIS II will facilitate the implementation of systems in a cost effective manner.  The OASIS II Standards and Communications Protocols will be developed in light of current industry trends and widely available software tools that will reduce the cost of implementation.  The architecture will be both hardware and software platform independent.  Selection of technologies that have already achieved a wide degree of standardization and adoption through other standards bodies (e.g., W3C, OASIS, ebXML etc.) should be evaluated for applicability to OASIS II.  To promote a cost effective transition from existing system implementations (e.g., OASIS 1A, e-Tagging, etc…), the leveraging of concepts and components from these existing systems should be evaluated wherever practical.  
