 3
Standard Authorization Request Form

	Title of Proposed Standard
Inadvertent Interchange Standard

	Request Date





	SAR Requestor Information
	SAR Type (Put an ‘x’ in front of one of these selections)

	Name
Resources Subcommittee
	 FORMCHECKBOX 

 FORMCHECKBOX 

	New Standard

	Primary Contact:
 Don Badley, RS Inadvertent Task Force Chairman
	 FORMCHECKBOX 

	Revision to existing Standard 

	Telephone
(503) 464-2805  

Fax
(503) 464-2819
	 FORMCHECKBOX 

 FORMCHECKBOX 

	Withdrawal of existing Standard 

	E-mail
don@nwpp.org
	 FORMCHECKBOX 

 FORMCHECKBOX 

	Urgent Action


	Purpose/Industry Need (Provide one or two sentences)

As a result of tie-line operations, interconnected operation in a multi-control area synchronous network results in the creation of Inadvertent Interchange.  Thus, actions required for a reliable system operation must address the process associated with the measurement and management of inadvertent Interchange.  Inadvertent provides the validation of data utilized in calculating CPS1 and CPS2.  It is the one of the tools available for measuring frequency control.  


 Reliability Functions

	The Standard will Apply to the Following Functions (Check box for each one that applies by double clicking the grey boxes.)

	 FORMCHECKBOX 

	Reliability Authority
	Ensures the reliability of the bulk transmission system within its Reliability Authority area. This is the highest reliability authority.

	 FORMCHECKBOX 

	Balancing Authority
	Integrates resource plans ahead of time, and maintains load-interchange-resource balance within its metered boundary and supports system frequency in real time

	 FORMCHECKBOX 

	Interchange Authority
	Authorizes valid and balanced Interchange Schedules

	 FORMCHECKBOX 

	Planning Authority
	Plans the bulk electric system

	 FORMCHECKBOX 

	Resource Planner
	Develops a long-term (>1year) plan for the resource adequacy of specific loads within a Planning Authority area.

	 FORMCHECKBOX 

	Transmission Planner
	Develops a long-term (>1 year) plan for the reliability of transmission systems within its portion of the Planning Authority area.

	 FORMCHECKBOX 

	Transmission Service Provider
	Provides transmission services to qualified market participants under applicable transmission service agreements

	 FORMCHECKBOX 

	Transmission Owner
	Owns transmission facilities

	 FORMCHECKBOX 

	Transmission Operator
	Operates and maintains the transmission facilities, and executes switching orders

	 FORMCHECKBOX 

	Distribution Provider
	Provides and operates the “wires” between the transmission system and the customer

	 FORMCHECKBOX 

	Generator Owner
	Owns and maintains generation unit(s)

	 FORMCHECKBOX 

	Generator Operator
	Operates generation unit(s) and performs the functions of supplying energy and Interconnected Operations Services

	 FORMCHECKBOX 

	Purchasing-Selling Entity
	The function of purchasing or selling energy, capacity and all necessary Interconnected Operations Services as required

	 FORMCHECKBOX 

	Market Operator
	Integrates energy, capacity, balancing, and transmission resources to achieve an economic, reliability-constrained dispatch.

	 FORMCHECKBOX 

	Load-Serving Entity
	Secures energy and transmission (and related generation services) to serve the end user


Reliability and Market Interface Principles

	Applicable Reliability Principles (Check boxes for all that apply by double clicking the grey boxes.)

	 FORMCHECKBOX 

	1. Interconnected bulk electric systems shall be planned and operated in a coordinated manner to perform reliably under normal and abnormal conditions as defined in the NERC Standards.

	 FORMCHECKBOX 

	2. The frequency and voltage of interconnected bulk electric systems shall be controlled within defined limits through the balancing of real and reactive power supply and demand.

	 FORMCHECKBOX 

	3. Information necessary for the planning and operation of interconnected bulk electric systems shall be made available to those entities responsible for planning and operating the systems reliably.

	 FORMCHECKBOX 

	4. Plans for emergency operation and system restoration of interconnected bulk electric systems shall be developed, coordinated, maintained and implemented.

	 FORMCHECKBOX 

	5. Facilities for communication, monitoring and control shall be provided, used and maintained for the reliability of interconnected bulk electric systems.

	 FORMCHECKBOX 

	6. Personnel responsible for planning and operating interconnected bulk electric systems shall be trained, qualified and have the responsibility and authority to implement actions.

	 FORMCHECKBOX 

	7. The security of the interconnected bulk electric systems shall be assessed, monitored and maintained on a wide area basis.

	Does the proposed Standard comply with all of the following Market Interface Principles? (Select ‘yes’ or ‘no’ from the drop-down box by double clicking the grey area.)

	1. The planning and operation of bulk electric systems shall recognize that reliability is an essential requirement of a robust North American economy.  FORMDROPDOWN 


	2. An Organization Standard shall not give any market participant an unfair competitive advantage. FORMDROPDOWN 
 

	3. An Organization Standard shall neither mandate nor prohibit any specific market structure.  FORMDROPDOWN 


	4. An Organization Standard shall not preclude market solutions to achieving compliance with that Standard.  FORMDROPDOWN 


	5. An Organization Standard shall not require the public disclosure of commercially sensitive information.  All market participants shall have equal opportunity to access commercially non-sensitive information that is required for compliance with reliability standards.  FORMDROPDOWN 



	Detailed Description (Provide enough detail so that an independent entity familiar with the industry could draft, modify, or withdraw a Standard based on this description.)

NERC hourly Inadvertent Interchange Reliability Standard shall: 

    1) Define “Inadvertent Interchange” terminology, calculation, relationship with the Interconnection (Inadvertent Interchange is between each Control Areas (Balancing Authorities) within the Interconnection)

    2) Specify measurement of hourly Inadvertent Interchange energy into and out of the Control Area (Balancing Authority)

    3) Specify neighboring Control Areas (Balancing Authorities) use common MWh meters with common freeze, to provide hourly readings to the control centers of both adjacent Control Areas (Balancing Authorities)

    4) Specify after-the-fact corrections methodology

    5) Specify the Dispute Resolution Process
    6) Provide Inadvertent Interchange as a diagnostic tool to validate system performance

    7) Establish a tracking mechanism for Inadvertent Interchange accumulations 

    8) Encourage settlements within a reasonable time period

     9) Provide a near real-time hourly assessment* of Control Area (Balancing Authority) Inadvertent accumulations

     10) Generate, record, maintain, process and provide Inadvertent Interchange to NAESB in order to implement NAESB Business Practices pay-back and settlement criteria and requirements

    11) Meet specification of the US-Canadian Blackout Investigation Final Report, No. 22, “Evaluate and adopt better real-time tools for operators and Reliability Coordinators.”

    12) Meet the specifications of the US-Canadian Blackout Investigation Final Report, No. 24, “Improve quality of system modeling data and data exchange practices.”

  13)  Used to define for NAESB Inadvertent that reflects Inadvertent of BAs to support frequency.  

* Functional requirements specify protocol, standards, format, program, etc. to acquire, compile, process and retain hourly Inadvertent Interchange data.  This includes pre-settlement and post-settlement accounting in accordance with NAESB business practices. 


Related Standards

	Standard No.
	Explanation

	Coordinate Interchange
	Settlement of Inadvertent if settled in-kind

	
	

	
	

	
	


Related SARs

	SAR ID
	Explanation

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


Regional Differences

	Region
	Explanation

	ECAR
	

	ERCOT
	This standard is not applicable to ERCOT.  ERCOT is a single Control Area Interconnection and, therefore, does not have Inadvertent Interchange

	FRCC
	

	MAAC
	

	MAIN
	

	MAPP
	

	NPCC
	

	SERC
	

	SPP
	

	WECC
	WECC uses a method of repaying primary time error and limits the means whereby control areas may settle Inadvertent Interchange accumulations.  


Related NERC Operating Policies or Planning Standards

	ID
	Explanation

	Policy 1.F.
	Current NERC Inadvertent Interchange Standard

	Appendix 1.F.
	Current NERC Inadvertent Interchange Standard

	Policy 3, Introduction
	Inadvertent Interchange Discussion

	
	

	
	

	
	

	
	

	
	


When completed, email to: �HYPERLINK "mailto:gerry.cauley@nerc.net"��gerry.cauley@nerc.net�









SAR-1

SAR-6

