Comment Form

Inadvertent Interchange Settlement

(Option 2 WATEC) 

Version 1 Draft 1
Posted December 10, 2004 – January 10, 2005

Please submit comment form by January 10, 2005 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Howard F. Illian
Comments submitted on Behalf of Organization
: Energy Mark, Inc.
Email of Contact




: howard.illian@energymark.com
Phone Number on Contact



: 847-913-5491
Comments on Definitions (List comments by Definition)

None
Comments on Requirements (List comments by Requirement Number)

Requirement 6:  This requirement indicates that unilateral action should be taken by a BA when its automatic contribution to Inadvertent Interchange payback exceeds a specific value, 20% of Bias.  This is unacceptable from a reliability point of view because it causes the implemented interchange schedules being implemented for payback to become unbalanced.
Requirement 8:  This requirement indicates that a BA may take unilateral action to stop automatic inadvertent payback when it experiences a DCS Event.  Taking unilateral actions of this nature is unacceptable from a reliability point of view because it causes the implemented interchange schedules being implemented for payback to become unbalanced.  Automatic Inadvertent Interchange Payback is part of a BAs scheduled interchange.  Is it acceptable to simply stop delivery of scheduled interchange when a BA experiences a DCS Event?  I have always had the understanding that reliability standards are not optional at the discretion of the BAs or even the interconnection.
Requirement 14:  If a BA is required to enter into a bilateral payback interchange when its inadvertent accumulation exceeds a specific amount there may be an opportunity to retain Requirement 6.  If the cumulative limit is set at:

[image: image1.wmf](

)

H

B

%

100

%

B

II

Limit

Limit

´

´

=


Where:

IILimit

=
Cumulative Inadvertent Interchange Limit



BLimit%
=
Hourly Inadvertent Interchange Payback Limit




B

=
Frequency Bias for BA




H

=
Hours used to payback Inadvertent Interchange Energy
This method of limiting the Inadvertent Interchange for an hour would work because it would require a BA to implement a bilateral schedule with another BA when its cumulative limit is reached.  The interchange schedules would remain balanced across the interconnection because the other BA would also reduce its cumulative Inadvertent Interchange balance by the amount of the bilateral schedule.
Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

Problem Definition:
It is obvious that the task force has not spent sufficient time defining the problems that it is attempting to solve.  A number of current problems facing the interconnections are listed below.  Any standard chosen should be selected with the knowledge of which if any of these problems will be resolved by that standard.
1.
Mitigate Financial Advantage of Payback-in-kind:

The original stated goal of the NAESB IIPTF is:
“The standard or standards will define the alternatives that may be used to settle Inadvertent Interchange while mitigating the potential financial gain that misuse of the current payback-in-kind methodology fails to prevent.  The work of the NERC Joint Inadvertent Interchange Task Force will be used as the initial model for development and enhancement of the required standard or standards that may include energy, transmission and frequency components of Inadvertent Interchange.”

The recommendations of the JIITF Report indicated that a fair Inadvertent Interchange Settlement Standard should include components that recognize the Energy, Transmission Constraints, and Frequency Control components of reliable energy management on an interconnection.
2.
Compensate for Energy:

The solution arrived at for Inadvertent Interchange Settlement should result in fair and equitable compensation for the energy exchanged as Inadvertent Interchange.  The settlement methodology should recognize that the value of energy is highly volatile.  Therefore, this volatility must be specifically recognized in the settlement if the financial advantages are to be mitigated.
3.
Compensate for Transmission Constraints:

The solution arrived at for Inadvertent Interchange Settlement should include the effects that transmission constraints have on market prices.  If the effects of market price differences due to transmission constraints are not included in the settlement method there is a significant risk that settlement will not discourage transmission constraint bypass.  Failure to provide any allowance in the settlement methodology for these price differences will have a detrimental effect on reliability.
4.
Compensate for Frequency Control Resulting in Control Error Reserve Sharing:

Frequency Response to Control Error causes uncompensated use of shared reserves.  This effect is a principle component of Inadvertent Interchange.  It is the direct result of using Tie-line Bias Control methods.  Failure to include the effects of automatic reserve sharing resulting from the shared frequency control methods used on the interconnection will have a detrimental effect on reliability.
5.
Mitigate Unilateral Payback on Control Performance:

Payback-in-kind allows unilateral payback to offset previously incurred control errors regardless of their affect on interconnection control.  It fails to recognize the any unilateral control error can have a detrimental effect on interconnection frequency control.  When unilateral payback-in-kind is used to offset previously incurred control errors, the payback methodology is using two wrongs to make a right.  This should never be acceptable without the concurrence of all parties affected.

6.
Compensate for Unilateral Payback Consequences:

Frequency Response to Unilateral Payback (Intentional Control Error) causes uncompensated use of shared reserves.  Unilateral Payback of Inadvertent Interchange has exactly the same effect on shared interconnection frequency control as control errors.  This is the reason that unilateral payback was removed from the ACE equation when CPS1 was adopted.
7.
Mitigate Large Inadvertent Account Accumulations:

The interconnections have always had a problem with the accumulations of large amounts of Inadvertent Interchange by some BAs.  These accumulations are made more difficult to payback by factors such as the need to reserve and pay for transmission for bilateral payback.  This is one of the factors that drove the WECC to implement option 2.
8.
Sarbanes-Oxley Act of 2002:

"Each annual and quarterly financial report . . . shall disclose all material off-balance sheet transactions" and "other relationships" with "unconsolidated entities" that may have a material current or future effect on the financial condition of the issuer.  Large Inadvertent Interchange accumulations are now required by law to have their financial impact estimated and included in financial reports of BAs.  Failure to effectively manage these accumulations makes this problem greater.
9.
Mitigate Frequency Drift:

The Eastern Interconnection has been experiencing frequency drift over the past few years.  The frequency bias contribution of ACE in tie-line bias control is creating significant problems with some BAs that are continuing to meet their control responsibilities.  Economic incentives to help with the management of this problem might significantly reduce its magnitude.
10.
Mitigate Frequency Response Decline:

Studies have shown that the Primary Frequency Response on the Eastern Interconnection is raising concern that reliability could be at future risk.  This concern has become great enough for a SAR to be submitted to NERC to investigate this problem.  Settlement of Inadvertent Interchange that properly includes compensation for shared frequency control could go a long way to helping to support resolution of this problem through market pricing incentives.

11. Provide the Appearance of Taking Action:
There is also a political problem that requires the industry to give the appearance that it is attempting to resolve the problems it is facing.  This problem may appear to be larger than those listed before it.
Solution Offered by Option 2:

Option 2 attempts to address the disadvantages associated with the settlement of Inadvertent Interchange through payback-in-kind with a modified payback-in-kind methodology.  This results in the inability of the method to address some of the financial problems associated with Inadvertent Interchange.  Even with this disadvantage, this option is far superior to Option 1.  Option 2 at least resolves some of the problems with Inadvertent Interchange which Option 1 failed to resolve.
Option 2 attempts to solve the financial problem by significantly reducing the discretion that a BA uses to determine when it pays its Inadvertent Interchange back to the interconnection.  This provides some mitigation to the problem of using Inadvertent Interchange for financial advantage because it reduces the opportunity for BAs to select only the most profitable times to schedule inadvertent payback.  Unfortunately, it fails to mitigate the problem of accumulating inadvertent for financial advantage during those times when energy prices are very high or very low.  Since the Inadvertent Interchange payback that occurs at some average price of energy over an extended time as determined by H, Inadvertent Interchange can still be used for financial advantage when the hourly prices are significantly different from the expected average prices during payback.  Option 2 has been accepted under the condition that a single variable indicating the number of hours used to average the payback be used across the interconnection.
The difficulty with Option 2 is that when the variable, H, is set at a small value, for example 3 hours, the amounts of payback that can be automatically scheduled may be large.  These large scheduled values will eventually result in the hidden cost of carrying additional reserves to manage this additional variability in scheduled interchange.  The advantage of scheduling in this manner is that the average payback energy prices should be expected to average closer to the hourly price at the time the inadvertent was incurred.  This reduces the financial advantage that can be derived from inadvertent even at very high or low energy prices.  The reason that some of the requirements such as Requirements 6, 8, and 14 have been created is because of the realization that large variations in scheduled energy may make frequency control more difficult and require additional reserves.
On the other hand, when the variable, H, is set at a large value, for example 168 hours, although the amounts of payback are low and tend to change slowly, the payback is extended over a long enough averaging period that the financial mitigation is reduced because the price averaging can deviate from the hourly pricing at the time the inadvertent was incurred.  I would recommend that, if this option is adopted, the larger values of H would provide much better results from a reliability point of view even though they would not provide maximum mitigation of the financial advantages.
Problem Resolution:
The following paragraphs provide some insight with respect to whether or not this option will help resolve the problem considered.
1.
Mitigate Financial Advantage of Payback-in-kind:

Option 2 provides some limited mitigation of the financial advantages that can be derived from the manipulation of Inadvertent Interchange.  The limits on how well this option mitigates the financial problem are associated with the willingness of the interconnection to trade additional costs of control to improve mitigation.
2.
Compensate for Energy:

Option 2 provides limited compensation for energy that is influenced by the choice of H.  Option 2 partially mitigates this problem.
3.
Compensate for Transmission Constraints:

Option 2 provides no compensation for recognizing transmission constraints.  However, if the value of H is set to a large value, such as 168 hours, the minimal effect on transmission constraints may be small for the payback.  Unfortunately, the only way to manage the use of the constrained transmission for the initial Inadvertent Interchange is to specifically value the transmission use.  Option 2 fails to mitigate this problem.
4.
Compensate for Frequency Control Resulting in Control Error Reserve Sharing:

Option 2 uses automatically scheduled Inadvertent Interchange payback to return the energy to the original supplying party.  While this scheduled payback minimized the costs associated with the payback, it fails to include compensation for the response and reserves used to manage the initial error that created the inadvertent.  Option 2 fails to mitigate this problem.
5.
Mitigate Unilateral Payback on Control Performance:

Even though Option 2 automatically schedules Inadvertent Interchange payback, unilateral Inadvertent Interchange errors that contribute to a reduction in the cumulative inadvertent account have the same effect as scheduled payback for the party making the error, but load additional control costs on the party providing frequency control for that error.  Option 2 only partially mitigates this problem. 
6.
Compensate for Unilateral Payback Consequences:

Since there is not component to compensate for the costs associated with unilateral payback of Inadvertent Interchange, Option 2 fails to mitigate this problem.
7.
Mitigate Large Inadvertent Account Accumulations:

Option 2 automatically schedules payback of the accumulated Inadvertent Interchange.  This always works to reduce the Inadvertent Interchange accumulations.  Option 2 mitigates this problem.
8.
Sarbanes-Oxley Act of 2002:

Since this problem is related to the cumulative Inadvertent Interchange balances, Option 2 also mitigates this problem.
9.
Mitigate Frequency Drift:

Since Option 2 includes a time error correction term in the automatic payback correction terms in the ACE Equation, the problem of frequency drift should be automatically mitigated.  Option 2 mitigates this problem.
10.
Mitigate Frequency Response Decline:

Option 2 fails to include any compensation for frequency response in the payback methodology.  As a consequence, Option 2 fails to mitigate this problem.
11. Provide the Appearance of Taking Action:
Option 2 gives the appearance that some action is being taken by the industry to solve the problems associated with Inadvertent Interchange.  Option 2 solves this problem as long as the issue is not investigated in too much depth.

Summary:

Option 2 fully solves four of the above eleven problems and partially solves three others leaving only four of the problems unresolved.  It is easy to see that Option 2 provides a much better solution than Option 1.
Recommendation:

The IIPTF should return to its task and investigate whether or not the solution offered can be improved to at least partially resolve all of the problems associated with Inadvertent Interchange.
_1166868481.unknown

