NAESB WEQ DRAFT REQUEST FOR STANDARDS
TRANSMISSION MARKET DEFINITIONS AND PRIORITIES
HYDRO-QUÉBEC TRANSÉNERGIE COMMENTS

Septembre 9, 2004
This Standards Request specifies that "Market participants require consistent treatment of transmission products across multiple control areas to reduce perceived market risk, scheduling confusion and uncertainty". In some jurisdictions, "transmission products" are non existent. In "Financial markets" for example, transmission service is the result of the operation of the Spot Market (bids and offers) and no "transmission products" are offered. The proposed standards should therefore cover this aspect and define how the two approaches interface.
Standards defining firm and non firm transmission services (where they exist) and the related priorities are needed as there are different interpretations of the existing reference materials.
Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation

Hydro-Québec TransÉnergie
