ORS Resolution Regarding Redispatch Credits

WHEREAS the Operating Reliability Subcommittee has discussed the proposal by MISO and PJM that would allow organizations to receive credit for their proactive and reactive redispatch when in a TLR 3A or 3B by implementation of IDC CO-157, and

WHEREAS the Operating Reliability Subcommittee believes that the concept of allowing credit for action taken prior to and during the implementation of TLR has merit with the benefits potentially including reduction in the frequency and magnitude of TLR events, quicker relief, and more accurate relief.  However, if this concept is not appropriately implemented it may also have unintended consequences that require further evaluation, including but not limited to:

· Possible increase in number and magnitude of TLR 5 curtailments,

· Possible confusion on appropriate magnitude of TLR 3A and 3B curtailments required,

· Coordination of potiential additional actions required of RCs and interactions between RCs,

· Ramping considerations on those parties receiving additional curtailments,

And
WHEREAS the Operating Reliability Subcommittee recognizes that this proposal includes business practices, and

WHEREAS the NERC/NAESB TLR Subcommittee has been created to coordinate the development of reliability standards and complementary business practices associated with the TLR procedure,

THEREFORE, the Operating Reliability Subcommittee requests that the NERC/NAESB TLR Subcommittee consider the implementation of the non-firm redispatch credit proposal from a business practice perspective and bring its recommendations to the Operating Reliability Subcommittee for further consideration.

