Determining 
Redispatch Credit

Introduction

When an Operating Entity needs to control a specific constraint, they may utilize internal redispatch to do so.  In many cases, this internal redispatch eliminates the need for invoking the NERC congestion management process, TLR.    However, the current NERC TLR process does not specify a particular manner for determining the amount of relief provided via redispatch.  This document describes a process for making that determination.
Requirements

In order to implement this process, an Operating Entity must have the following capabilities
1.) The ability to actively effect redispatch with the intent of controlling a constraint

2.) The ability to calculate impacts of individual generators on transmission facilities on at least an hourly basis
3.) The ability to store these values for the purposes of comparison over time
4.) The ability to store these values for up to one (1) year for audit purposes

Process

Prior to an Operating Entity beginning to actively control a constraint, they must determine their current impact on the facilities for which they are executing control.  This can be determined by calculating their “Market Flow
” on the facilities in question.  This market flow will be described in terms of “forward” and “reverse” flows on the facilities.  This current impact will become the base-point against which future actions are measured.

As the Operating Entity begins to control the constraint, one of three things will occur: forward flows will decrease, reverse flows will increase, or a combination of the two will occur.  Overall, the net impact (forward minus reverse flows) will decrease.  The IDC recognizes changes in forward flow; therefore, the Operating Entity does not need to track the beneficial effects of reducing forward flow.  However, the IDC cannot recognize the beneficial effects of counterflow, so the Operating Entity must track these effects separately and supply them to the IDC via manual or automated interfaces.
As the management on the constraint continues, the Operating Entity must record the amount of increase the reverse flow exhibits relative to the reverse base-point. This value represents the amount of relief provided that should be recognized by the IDC if the facility in question eventually must go into TLR.  

Should the IDC actually enter TLR, the Operating Entity will stop recording the amount of relief provided and enter this value into the IDC.  The IDC will then use the relief amount to reduce the relief obligation of the Operating Entity supplying the information.  This reduction would be treated in the same manner as the current “NNL Relief” option in a TLR 5, but would apply during a TLR3 as well.

The following example illustrates the manner in which this process would function:

8AM - Within Limits (100MW Net Flow on facility)

RTO FWD = 100

RTO REV = 50

3rd Parties FWD = 100

3rd Parties REV = 50

9AM - Line Close to Overload (200MW Net Flow on facility)

Base Point Set: 50MW

RTO FWD = 150

RTO REV = 50

3rd Parties FWD = 150

3rd Parties REV = 50

9:15 - RTO Redispatches to provide relief (150 Net Flow on facility)

RTO FWD = 150

RTO REV = 100

3rd Parties FWD = 150

3rd Parties REV = 50

10:00 - Line Close to Overload again (200MW Net Flow on facility) 

RTO FWD = 150

RTO REV = 100

3rd Parties FWD = 200

3rd Parties REV = 50

UNDER CURRENT IDC PROCESS

10:25 - RTO Calls TLR, asking for 50MW relief

RTO FWD = 150

RTO REV = 100

3rd Parties FWD = 200

3rd Parties REV = 50

RTO Obligation = 50MW X 150MW / 350MW (RTO FWD/TOTAL FWD) = 21MW

3rd Party Obligation = 50MW X 200MW / 350MW (3rd Party FWD/TOTAL FWD) = 29MW

11:00 - Post-TLR Flows (150MW Net Flow on facility) 

RTO FWD = 150

RTO REV = 121

3rd Parties FWD = 171

3rd Parties REV = 50

UNDER THIS PROCESS

10:15 - RTO Calls TLR, asking for 50MW relief

RTO Determines Pre-TLR Relief: 50MW Base Point – 100MW Current = 50MW

IDC reduces RTO Flow by Pre-TLR Relief

RTO FWD = 150 – 50 = 100

RTO REV = 100

3rd Parties FWD = 200

3rd Parties REV = 50

RTO Obligation = 50MW X 100MW / 300MW (RTO FWD/TOTAL FWD) = 17MW

3rd Party Obligation = 50MW X 200MW / 300MW (3rd Party FWD/TOTAL FWD) = 33MW

11:00 - Post-TLR Flows (150MW Net Flow on facility) 

RTO FWD = 150

RTO REV = 117
3rd Parties FWD = 167
3rd Parties REV = 50
RTO provides 4MW less relief, 3rd parties provide 4MW more relief
� PJM/MISO Congestion Management Process





