[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

TO:
NAESB Wholesale Electric Quadrant Business Practices Subcommittee (BPS), Electronic Scheduling Subcommittee (ESS), Information Technology Subcommittee (ITS), NERC ATC Standards Drafting Team (ATCDT), and Interested Industry Participants

FROM: 
DeDe Kirby, Meeting/Project Manager, NAESB 

RE:
Final Minutes from the NAESB Joint BPS/ESS/ITS Conference Call Meeting; Houston, TX – May 18, 2007
DATE:

May 22, 2007


NAESB Wholesale Electric Quadrant joint Bps/ess/its
May 18, 2007 conference call MEETING
FINAL Minutes
1. Welcome and Administration
Ms. York welcomed the participants to the meeting.  The participants introduced themselves.  Ms. Kirby gave the anti-trust advice.  Ms. Kirby said there was no work paper for the agenda item to cover the development of standards for NERC MOD-003.  The item was struck from the agenda.  Ms. York asked that a review of the May 17 joint meeting be added to the agenda along with a list of assignments made at the meeting.  Mr. Saini moved to adopt the agenda as revised.  Mr. Busbin seconded the motion.  The agenda was adopted by consensus.        
2. Review of May 17 joint ATC meeting with NERC and assignments made 
The group reviewed MOD-001-1(ATC) 5/17/07.  Ms. Kennedy reviewed the action items from the May 17th joint ATC meeting with NERC.  She explained that NERC had changed the phrase “shall post on OASIS” to “shall be made publicly available”.  Mr. Saini said a new OASIS Standards and Communication Protocol (S&CP) standard was not needed for MOD-001 Requirement 3.  It was also noted that “Transmission Capability” should be “Transfer Capability.”  A note was included in the MOD-001 document to ask if the info in R3 would be posted on OASIS.  If so, the last bullet of R3 is no longer needed and the last bullet of R4 must be revised.
Mr. Saini said the NERC team had questioned whether Requirement 5 of MOD-001 matched with the NAESB posting schedule being developed.  Mr. Saini clarified that NAESB would have the commercial practice that contained the posting schedule for these requirements.  Ms. Rehman said Mr. Wood was currently developing a draft posting schedule for NAESB.  The group took an action item to compare R5 to Mr. Wood’s draft schedule.  Mr. Pritchard explained it was unlikely the NERC Requirement 5 would conflict with the NAESB posting schedule.  He said the calculation requirement was different from the posting requirement and a violation of one would most likely not be a violation of the other.  

The group discussed reposting of data under R5.  Ms. Rehman explained that reposting was based on percentages of change.  Mr. Pritchard said that R5 was the minimum requirement for when calculations must be completed.  He interprets the requirement as saying a calculation must be done at midnight.   

Mr. Pritchard commented that there might be a need for a posting requirement for 6.1 “Load Forecasts.”  He referenced FERC Order No. 890 paragraphs 413.  The paragraphs state that underlying load forecast for all ATC calculations must be posted on a daily basis for peak load for prior day.  Ms. Kennedy said the NAESB work plan for Order 890 already listed this item as a “to do.”  The group agreed there should be a place on OASIS to post load forecast.  

The group acknowledged that these comments would most likely not be considered by NERC prior to their May 22nd meeting.  However, the comments to the standard will definitely be on the agenda for the next meeting.  Please see MOD-001-1 with NAESB comments  for a complete list of comments to be submitted to the NERC team.

Next, the group reviewed MOD-028-1(NRATC) 5/17/07.  Ms. Kennedy noted that requirements 1.1, 2, 6.1, and 15 should be reviewed by the group for commercial content.  It was noted that R7 should also be reviewed by the group.  Ms. Kennedy noted that in the new MOD-028, R1.1 was now R2.  Mr. Pritchard said he was confused about what should be made publicly available under the new R2.  Mr. Saini questioned if R2 was referring to a list.  Mr. Busbin and Mr. Saini recommended that questions be inserted into the MOD to document the NAESB comments.  The following comments were inserted:

This requirement does not say this will be a list.  Is it meant to be a list? Does it include generation outages? 

Would the list be for different time horizons? If for different time horizons, NERC will need to clarify.  Will it be dynamic list for the different time horizons?

Would the list include dynamic line ratings?   
Ms. Berdahl questioned the use of “at a minimum” in R3.  Ms. Rehman asked is R3 was the only identification of paths.  Ms. Berdahl said this might be all that is needed for reliability in R3, but the business practice for reporting would most likely want to expand on this language.  
The group discussed R6.1.  Mr. Saini said there was already a template for posting ATC and TTC values.  The group will verify whether a template already exists in the OASIS S and CP.  Please see   MOD-028 with NAESB comments to view comments.
3. Continue drafting OASIS posting requirements resulting from redraft of MOD-001
See discussion above.    
4. Future schedule of Meetings and work plan
The group will coordinate comments back to the NERC team.  The next meeting of the WEQ BPS and ESS/ITS is scheduled for June 1, 2007 in Charlotte, NC from 9:00 a.m. to 2:00 p.m. Eastern time.  The team will continue the review of the NERC MODs and the drafting of the posting requirements.   
5. Adjourn
Mr. Busbin moved to adjourn and Mr. Saini seconded the motion.  The meeting was adjourned by consensus at 12:51 p.m. Central.  
6.  Attendance
	Last Name 
	First Name
	Organization

	Berdahl
	Rebecca
	Bonneville Power Administration

	Busbin
	Jim
	Southern Company

	Gonzales
	Angela
	NAESB

	Halpin
	Francis
	Bonneville Power Administration

	Kennedy
	Laura
	NAESB

	Kirby
	DeDe
	NAESB

	Kovacs
	Ross
	Georgia Transmission

	Perlman
	Marjorie
	EnergyEast

	Pritchard
	Alan
	Duke Energy

	Rehman
	Barbara
	Bonneville Power Administration

	Saini
	Narinder
	Entergy

	York
	Kathy
	Tennessee Valley Authority


Joint NAESB WEQ BPS/ESS/ITS Conference Call Meeting Final Minutes – 5/18/07
Page 2

