Standard MOD-001-1 — ATC and AFC Calculation Methodologies


Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Glossary of Terms Used in Reliability Standards are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Flowgate:  A single transmission element, group of transmission elements that may include associated contingency (ies) intended to model MW flow impact relating to transmission limitations and transmission service usage. 
Total Flowgate Capability (TFC):    The amount of electric power that can flow across the Flowgate under specified system conditions without exceeding the capability of the Facilities.  Typically expressed in the form of thermal capability. Flowgates can be proxies for Stability and other limiting criteria.  
Available Flowgate Capability (AFC):  A measure of the capability remaining in the Flowgate for further commercial activity over and above already committed uses. It is equal to the Total Flowgate Capability less the impacts of existing Transmission commitments (including retail customer service), less the impacts of Capacity Benefit Margin and less the impacts of Transmission Reliability Margin.    

Network Response Method: A method of calculating Transfer Capability for transmission networks where customer Demand, generation sources, and the Transmission systems are closely interconnected.  
Rated System Path Method: A method of calculating transfer capability for transmission networks where the critical transmission paths between areas of the network have been identified and rated as to their achievable transfer loading capabilities for a range of system conditions.  
Existing Transmission Commitments (ETC): Any combination of Native Load uses, Contingency Reserves not included in Transmission Reliability Margin or Capacity Benefit Margin, existing commitments for purchases, exchanges, deliveries, or sales, existing commitments for transmission service, and other pending potential uses of Transfer Capability.

Transmission Reservation – A reservation is a confirmed Transmission Service Request.
Transmission Service Request – A service requested by the Transmission Customer to the Transmission Service Provider to move energy from a Point of Receipt to a Point of Delivery.  
Introduction

1. Title:
ATC and AFC Calculation Methodologies
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and uniform application and documentation of Available Transfer Capability (ATC), and Available Flowgate Capability (AFC) calculation methodologies for reliable system operations.  
4. Applicability:

4.1. Each Planning Coordinator
4.2. Each Reliability Coordinator
4.3. Each Transmission Service Provider 
5. Effective Date:
TBD
B. Requirements

R1. Each Transmission Service Provider shall develop an ATC methodology, including its AFC methodology for those Transmission Service Providers that calculate AFC, to address the requirements as defined in this standard. 
R2. Each Transmission Service Provider shall post the most recent version of its ATC methodology on its OASIS (or it successor) ( we have the option of putting in a generic type template for link or the option of saying it is already covered under OASIS business practices that state post on info.htm if there is not a required template for posting)





R3. 
R4. Each Transmission Service Provider shall define, in its methodology, each POR-POD combination (path) for which it is responsible for approving Transmission Service Requests.

R5. Each Transmission Service Provider shall calculate ATC for each POR-POD combination defined in its methodology using one the following equations, and shall define which equation is used in its methodology: 

Equation 1: ATC = TTC – TRM – CBM – ETC

Where:

    TTC = Total Transfer Capability (as defined in FAC-xxx)

    TRM = Transmission Reliability Margin (as defined in MOD-xxx)

    CBM = Capacity Benefit Margin (as defined in MOD-xxx)

    ETC = Existing Transmission Commitments (as defined in MOD-xxx)

Equation 2: ATC(p) = Min[AFC(f1..n)/DF(p,f1..n)]

ATC (p) = Posted ATC for a path “p”, which is the single minimum transfer capability value, as adjusted by dividing the flowgate value by its respective distribution factor on the path, of the most limiting flowgate on that path.
[verbal description….AFC on all flowgates that impact a path are calculated, the ATC on a path is determined by the most limiting flowgate on that path]

value of most limiting flowgate 

ATC(p) = ATC for a path “p”

AFC(f1..n) = Available Flowgate Capability for flowgates “f1” through “fn” that have an impact on path “p”

DF(p,f1..n) = Distribution Factor of flowgates “f1” through “fn” on path “p”

R6. Each Transmission Service Provider that calculates AFC shall use the following equation to calculate AFC: 

Where  AFC = TFC – TRM – CBM – ETC 

TFC = Total Flowgate Capability (ref FAC-xxx)

TRM = Transmission Reserve Margin (ref MOD-xxx)

CBM = Capacity Benefit Margin (ref MOD-xxx)

ETC = Existing Transmission Commitments (ref MOD-xxx)
R7. Each Transmission Service Provider shall apply the selected ATC equation for a given POR-POD combination (path) to calculate ATC for all time frames listed below:

R7.1. scheduling horizon (same day and real-time), 

R7.2. operating horizon (day ahead and pre-schedule) and

R7.3. planning horizon (beyond the operating horizon).
R8. Each Transmission Service Provider shall use the same ATC or AFC equation for calculating firm and non-firm ATC or AFC.  Any variations between firm and non-firm calculations shall be governed by the standards that develop the components for ATC and AFC listed in Requirement R2 and Requirement R3 in MOD-001-1.
R9. Each 
R9.1. 
R9.2. 
R9.3. 
R9.4. 
R10. Transmission Service Provider, shall provide or make available (within 7 calendar days of the request), the following values as requested by each Transmission Service Provider, Planning Coordinator, Transmission Planner, Reliability Coordinator, and Transmission Operator:
R10.1. ATC or AFC (which ever value is used by the Transmission Service Provider providing the data)

R10.2. TTC or TFC (which ever value is used by the Transmission Service Provider providing the data)
R10.3. TRM 
R10.4. CBM

R10.5. ETC 

R11. 






R12. 
R13. 
R13.1. 
R14. 
R15. The Transmission Service Provider that calculates AFC shall exchange the following data, on an agreed upon schedule, with the Transmission Service Providers with whom AFC is coordinated, and shall provide the following data (within 7 calendar days of the request) when requested by each Planning Coordinator, Transmission Planner, Reliability Coordinator, and Transmission Operator:
R15.1. Data describing coordinated transmission system elements scheduled to be taken out of or returned to service, that is updated and provided as changes occur.  
R15.2. Data describing unplanned transmission system element outages, that is updated and provided as changes occur.  

R15.3. Data describing coordinated generation resources scheduled to be taken out of or returned to service, that is updated and provided as changes occur.
R15.4. Data describing unplanned generation resource outages, that is updated and provided as changes occur.  

R15.5. Provide a typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis that is updated as required by changes in the status of the unit.  The generation dispatch order shall be updated at least prior to each peak load season. 

R15.6. The baseline power flow model for calculating AFC updated to reflect facility changes.  
R15.7. Load Forecast information provided daily and updated as changes occur.  
R15.8. Flowgates and Flowgate definitions and criteria provided on a seasonal basis, and when revised.
R15.9. Total Flowgate Capability (TFC) provided when initially established or revised, and provided daily thereafter.  
R15.10. Firm and non-firm AFC values at the minimum update intervals listed below: 
R15.10.1. For hourly AFC once per hour for 168 hours, 
R15.10.2. For daily AFC once per day for thirty days
R15.10.3. For weekly AFC once per day for four weeks, and 
R15.10.4. For monthly AFC once per month for 13 months. 
R15.11. Existing Transmission Commitments information as reflected in an initial Power Flow model and provided within seven calendar days of the date the Power Flow Model is updated. 
R15.12. Transmission Service Reservation information provided when revised once per hour.  

R16. Each Transmission Service Provider that calculates AFC shall recalculate its AFC values utilizing the updated information in Rx received (from Transmission Service Providers with whom AFC is coordinated) at the frequency noted below: ( If there is a requirement for AFC posting it will be on the same timing requirements for ATC.)
R16.1. For hourly, once per hour. 

R16.2. For daily, once per day 

R16.3. For weekly , once per day

R16.4. For monthly, once a week
R17. Each Transmission Service Provider that calculates ATC shall recalculate ATC on the following frequency: (We are working on the ATC posting timing requirments.)
R17.1. For hourly, once per hour. 

R17.2. For daily, once per day 

R17.3. For weekly , once per day

R17.4. For monthly, once a week
R18. 
R19. 
R20. 
R21. Each Transmission Service Provider’s ATC or AFC calculation methodology shall:
R21.1. Identify the parties responsible for posting the ATC values on OASIS.  
R21.2. Apply  the same
 criteria and assumptions used to conduct reliability assessments and internal near-term planning for different time frames (real-time; same day; day-ahead; and from day-ahead up to 13 months) in the calculation of ATC or AFC. 
R21.3. Apply the same assumptions in the 13 months and longer time frame regarding load, generation dispatch, special protection systems, post contingency switching, and transmission and generation facility additions and retirements as those used in the expansion planning for the same time frame in the calculation of ATC or AFC. 
R21.4. Document the criteria used for calculating ATC or AFC values for the different time frames (real-time; same day; day-ahead; day-ahead up to 13 months, and 13 months and longer). 
R21.5. Identify the list of contingencies and assumptions considered in the TTC calculation methodology.  [Need to put this in FAC-12 for TTC]
R21.6. 
R21.7. Identify the Transmission Service Providers with which the data used in the calculation of ATC or AFC is exchanged. 
R21.8. Each Transmission Service Provider that calculates AFC shall include in their methodology the assumptions used for base case dispatch and transfer generation dispatch for both external and internal systems for each time horizon.   [this is specified in ETC]
R21.9. Each Transmission Service Provider that calculates AFC shall include in their methodology the assumptions used for load forecasts for each time horizon. [this is specified in ETC]
R21.10. The Transmission Service Provider’s methodology for calculating ATC or AFC shall identify how it accounts for the Transmission Reservations and Interchange Schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside its Transmission Service Provider system.[ETC]
R21.11. If the Transmission Service Provider has a procedure for approving a transmission service request using a value other than its calculated value for ATC or AFC, then the Transmission Service Provider shall post the methodology used to determine that ATC value. 
R21.12. For each Transmission Service Provider that calculates AFC, they shall describe in their methodology how Transmission Service Requests are modeled in the ETC calculation when the ultimate source or ultimate sink is not defined on the Transmission Service Request. Should this be moved to ETC?
R22. The posted ATC may be different from the calculated ATC due to pre-existing capacity allocation agreements.  When this is the case, the Transmission Service Provider shall post the ATC value that would reflect the ATC that is actually available for sale. (How is the number arrived at if not calculated?)
R23. Each Transmission Service Provider shall require that the Transmission Customer provide the same  (or electrically equivalent) POR and POD on the transmission service request and the Interchange Transaction Tags. 

R23.1. The list of electrically equivalent PORs and PODs shall be included in each Transmission Service Provider’s ATC methodology. (If there is mapping OASIS can put it in.)
R24. Each Transmission Service Provider that calculates AFC shall include in its methodology the criteria used to identify a particular set of transmission facilities as a flowgate which shall include:    
R24.1. a set(s) of transmission facilities that are expected by the AFC calculator to cause congestion on the transmission system or 
R24.2. those transmission facilities that have historically caused congestion
R25. Each Transmission Service Provider that calculates AFC shall list those flowgates, and any associated contingencies, for which it calculates AFC on its OASIS (or its successor). (Can an example be provided?) (How frequently is the data changed?) (Is there a need for data retention?)
R26. Each Transmission Service Provider must include a process flow diagram that describes the various steps that it takes in performing the ATC calculation. (Is this part of the methodology?)
R27. Each Transmission Service Provider Shall provide on OASIS its OATT Attachment C, (The tariff is already an OASIS link.)
The timing requirements for reposting on OASIS will be in accordance with the complementary NAESB Business Practices.





The timing requirements for reposting on OASIS will be in accordance with the complementary NAESB Business Practices.





The requirements for calculating TTC, TFC, TRM, CBM and ETC will be developed in separate sets of standards.





The timing requirements for reposting on OASIS will be in accordance with the complementary NAESB Business Practices.





The timing requirements for reposting on OASIS will be in accordance with the complementary NAESB Business Practices.





The requirements for calculating TTC, TFC, TRM, CBM and ETC will be developed in separate sets of standards.





The timing requirements for reposting on OASIS will be in accordance with the complementary NAESB Business Practices.





The requirements for calculating TTC, TFC, TRM, CBM and ETC will be developed in separate sets of standards.





Please note that it may  appear that the AFC methodology contains more requirements than that ATC methodology.  Due to the characteristics of the ATC methodology, the corresponding level of detail will be contained in the standard that determines TTC (e.g. FAC 12 or FAC 13) when it is revised





NAESB will be asked to develop a template in their complementary business practice.





The requirements for calculating ETC may be developed in a separate standard following input from industry.





 For a transmission service request to be granted on this path, the incremental affect of the MW amount of the request must be smaller than the available flowgate capability on each of the constrained facilities impacted by this path.





NAESB will be asked to develop a template in their complementary business practice.








� Expansion planning and reliability studies may be conducted using the same or more stringent criteria and assumptions than those used to calculate ATC and AFC for the time horizons (real-time; same day; day-ahead; and from day-ahead up to 13 months)  for which they are calculated.     








Draft 1: February 8, 2007
8 of 8 

Proposed Effective Date:  To be determined


