Standard MOD-001-1 — Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Introduction

1. Title:
Available Transfer Capability
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and uniform application and documentation of Available Transfer Capability calculations for reliable system operations.  
4. Applicability:

4.1. Planning Coordinator
4.2. Reliability Coordinator
4.3. Transmission Service Provider 

5. Effective Date:
TBD
B. Requirements

R1. Each Transmission Service Provider, and its associated Planning Coordinators and Reliability Coordinators, shall agree upon and implement one or more of the ATC methodologies specified in MOD-026, MOD-027, and MOD-028 for use in determining transfer capabilities of those facilities under the tariff administration of that Transmission Service Provider
.
R2. Each Transmission Service Provider, and its associated Planning Coordinators and Reliability Coordinators, shall apply the agreed upon ATC methodology or methodologies to calculate values for all ATC time horizons listed below:
R2.1. Scheduling horizon (same day and real-time).

R2.2. Operating horizon (day ahead and pre-schedule). 
R2.3. Planning horizon (beyond the operating horizon
).
R3. Each Transmission Service Provider shall make publicly available a “Available Transmission Capability Implementation Document” that includes, as a minimum, the following information:

· Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC calculations may be validated
· The manner in shich the Transmission Service Provider will account for Counterflows
· The Planning Coordinator and Reliability Coordinator associated with each facility under the Transmission Service Provider’s tariff

· The identity of the Transmission Service Providers to which it provides data for use in calculating transfer capability

· The identity of the Transmission Service Providers from which it receives data for use in calculating transfer capability

· The identity of the recipients of the Transfer Capability Implementation Document

R4. The Transmission Service Provider shall notify the following entities a minimum of 14 calendar days before implementing a new or revised TCID via electronic mail: 
· Each Transmission Planner in the Transmission Service Provider’s area.

· Each Planning Coordinator in the Transmission Service Provider’s area.

· Each Reliability Coordinator in the Transmission Service Provider’s area.

· Each Transmission Operator in the Transmission Service Provider’s area.
· Each Planning Coordinator adjacent to the Transmission Service Provider’s area.

· Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.

· Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.

· Each party with a reliability-related need that has previously requested to be notified of such actions (subject to security and confidentiality requirements)
R5. Each Transmission Service Provider that calculates Available Transfer Capability shall, at a minimum, recalculate ATC at the following frequency:
· For hourly ATC, once per hour for the next 168 hours on the hour.

· For daily ATC, once per day for thirty days at midnight prevailing time the day previous.

· For weekly ATC, once per day for four weeks at midnight prevailing time on the Monday previous. 
· For monthly ATC, once per month for 13 months at midnight prevailing time on the first day of the month previous. 
R6. Each Transmission Service Provider shall make the following information, available to any requesting Transmission Service Provider, Planning Coordinator, Transmission Planner, Reliability Coordinator, Transmission Operator, or other party with a demonstrated reliability need (subject to security and confidentiality requirements):

R6.1. Load Forecasts.

R6.2. Generation Dispatch, in the form of dispatch order, participation factors, or block dispatch.  

R6.3. Planned and Unplanned Transmission Outages.

R6.4. Planned and Unplanned Generation Outages.

R6.5. Transmission Reservations. 
R6.6. Power flow models.  
R6.7. Facility ratings.

R6.8. ATC recalculation frequency and times.
R6.9. Transmission Reservation impact modeling identification.










�Make a comment and ask what people think of the entities here.  Who should be doing this?  RC?  Some operations person?  Etc...


�This is written this way in Attachment C.  Need to investigate whether or not this is correct or if we should change.





Draft 2: May 25, 2007
4 of 4 

Proposed Effective Date:  To be determined

