Standard MOD-008-1 — TRM Calculation Methodology: Ross/Narinder/Shannon

A. Introduction
1. Title:
Transmission Reliability Margin Calculation Methodology


2. Number:
MOD-008-1
3. Purpose:
To promote consistent and transparent calculation of the maximum  Transmission Reliability Margin and supporting methodologies among Transmission Service Providers, Transmission Planners, and Transmission Operators to help ensure more accurate calculation of transfer capabilities.  
4. Applicability:
4.1. Transmission Planner
4.2. Transmission Operator

4.3. Transmission Service Provider
4.4. Reliability Coordinator

4.5. Planning Coordinator 

4.6. Load Serving Entity

5. Effective Date:
To be determined.

B. Requirements

R1. The Transmission Planner, and Transmission Operator shall each document its Transmission Reliability Margin (TRM) calculation methodology, and shall include all of the following in that methodology:

R1.1. Identification any of the following uncertainties used to calculate its TRM:
· Aggregate Load forecast error (not included in determining generation reliability requirements).  
· Load distribution error.
· Forecast uncertainty in transmission system topology.
· Allowances for parallel path (loop flow) impacts.
· Allowances for simultaneous path interactions.
· Variations in generation dispatch.
· Short-term System Operator response (Operating Reserve actions not exceeding a 59-minute window).
· Reserve Sharing Requirements.
· Inertial Response.
R1.2. A statement to confirm that it shall use the same assumptions in calculating TRM as those that are used in the transmission planning process for the appropriate time periods.. 
R1.3. The description of the method of allocation across paths;     
R1.4. The identification of that TRM calculation used for the following time periods:
· Same day and real-time 
· Day-ahead and pre-schedule 

· Beyond the day-ahead and pre-schedule 

R1.5. If a Transmission Planner or Transmission Operator reserves zero (0) TRM in any time horizon, that Transmission Planner or Transmission Operator shall document in its TRM methodology the reason(s) why it did not reserve any TRM
R2. Each Transmission Planner and Transmission Operator that reserves TRM shall document
  in their TRM Calculation Methodology (on each of its respective posted Contract Paths or Flowgates) each of the following components of uncertainty if used in calculating TRM and shall describe how that component is used to calculate a TRM value:
· Aggregate Load forecast error (not included in determining generation reliability requirements).  

· Load distribution error.  

· Forecast uncertainty in transmission system topology.  

· Allowances for parallel path (loop flow) impacts.  

· Allowances for simultaneous path interactions.  

· Variations in generation dispatch.  

· Short-term System Operator response (Operating Reserve actions not exceeding a 59-minute window).  

· Reserve Sharing Requirements.  

· Inertial Response. 
R3. The Transmission Planner and Transmission Operator shall only use the components of uncertainty from MOD-008-1 R1.1 to calculate TRM. 
R4. Load Serving Entities shall not use the components of uncertainty from MOD-008-1 R1.1 to determine its CBM megawatt import requirement.
R5. At least once each year, the Transmission Operator shall calculate (in accordance with its TRM methodology) a TRM value for the following time periods (on each Path or Flowgate) and provide these TRM values to its Transmission Service Provider(s):

R5.1. Same day and real-time 

R5.2. Day-ahead and pre-schedule 

R6. At least once each year, the Transmission Planner shall calculate (in accordance with its TRM methodology) a TRM value for the time period beyond the day-ahead and Pre-schedule (on each Path or Flowgate) and provide these TRM values to its Transmission Service Provider(s).  
R6.1. 
R6.2. 
R7. Each Transmission Service Provider 
shall make its TRM calculation methodology publicly available.
R8. Each Transmission Service Provider 
shall make publicly available any underlying documentation, work papers and load flow base cases used to determine TRM for the facilities within its service territory available within seven days to adjacent requesting Transmission Service Providers and to any requesting transmission customer or Load Serving Entity within its service area unless providing the information violates an applicable rule, regulation or confidentiality agreement prohibiting such disclosure or where release of the requested data would pose a security risk to the grid.  
R9. Each Transmission Planner, Transmission Operator, Transmission Service Provider shall provide its TRM calculation methodology and supporting documentation to the Reliability Coordinator 
and Planning Coordinator responsible for oversight of the facilities for which the Transmission Service Provider offers service. 

R10. 
R11. 
R12. Each Transmission Service Provider shall make publicly available(for each posted Path or Flowgate) the TRM value for each of the following time periods:
· Same day and real-time 

· Day-ahead and pre-schedule 

· Beyond the day-ahead
· 
R13. If a Transmission Planner or Transmission Operator reserves capacity on its transmission system for use as TRM, then the associated Transmission Service Provider shall use TRM in its calculation of Available Transfer Capabilities (ATCs) or Available Flowgate Capabilities (AFCs).  

R14. 
C. Measures

M1. Each Transmission Planner, and Transmission Operator shall have and provide to its Compliance Monitor upon request, a documented TRM methodology that includes R1.1 through R1.3.
D. Compliance

6. Compliance Monitoring Process
6.1. Compliance Monitoring Responsibility

Text

6.2. Compliance Monitoring Period and Reset
Text

6.3. Data Retention
Text

6.4. Additional Compliance Information

Text
7. Violation Severity Levels

7.1. Lower:  There shall be a single lower violation if any one or more of the following conditions exist:
7.1.1. Additional Text
7.2. Moderate: There shall be a single moderate violation if one or more of the following conditions exist:
7.2.1. Additional Text
7.3. High:  There shall be a single high violation if one or more of the following conditions exist:
7.3.1. Additional Text
7.4. Severe: There shall be a separate severe violation for each of the following conditions that exist:

7.4.1. Additional Text
E. Regional Differences

None

F. Associated Documents
Version History
	Version
	Date
	Action
	Change Tracking

	
	
	
	

	
	
	
	


R1.2 doesn’t seem to make sense for reserve sharing requirements.





Why?  How would the RC do this, or what criteria would they use?  Does the TSP have to do anything with the feedback?  I really don’t understand the purpose of R8 and R9, and as the VACARS RC would not know how to comply w R9.











� A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also used in complying with TPL-001 through TPL-003.  The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained


� This does not include violations involving extenuating circumstances approved by the Compliance Monitor.





�Where?


�There is no R2.1 thru 2.9.


�Duplicate: Pre-schedule is already in R5.2.


�R1 requires TP & TO to have methodology, not TSP.


�R1 requires TP & TO to have methodology, not TSP.


�Which RC and PC? 


�Is this the same TRM that was calculated in R5 & R6?


�On OASIS?


�duplicate


�TO & TP don’t have OASIS – should this be in the methodology?





Draft:

Page 3 of 4


Effective Date:

