Standard MOD-028-1 — Network Response Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Introduction

1. Title:
Network Response Available Transfer Capability
2. Number:
MOD-028-1 
3. Purpose:
To promote the consistent and uniform application and documentation of Available Transfer Capability calculations performed using the Network Response method for reliable system operations.
4. Applicability:

4.1. Each Planning Coordinator that uses the Network Response method to calculate Available Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.2. Each Reliability Coordinator that uses the Network Response method to calculate Available Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.3. Each Transmission Service Provider that uses the Network Response method to calculate Available Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
5. Effective Date:
TBD
B. Requirements

R1. 
R2. 
R2.1. 
R2.2. 
R2.3. 
R2.4. 
R2.5. 
R2.6. 
R3. Each Planning Coordinator and Reliability Coordinator shall provide its Transmission Service Provider with a list of the contingencies and assumptions it uses in determining transfer capabilities for the paths under the Transmission Service Provider’s tariff.
R4. The Transmission Service Provider shall make the contingencies and assumptions provided by the PC or RC publicly available. 
R5. The Transmission Service Provider shall make publicly available a list of its Point-of-Receipt (POR) to Point-of-Delivery (POD) Paths that includes, at a minimum, all interfaces between Balancing Authorities within or adjacent to the Transmission Service Provider’s area.
R6. Each Planning Coordinator and Reliability Coordinator shall ensure that the Total Transfer Capability for each of its Transmission Service Provider’s POR to POD Paths is calculated and up-to-date for use within the transfer capability time horizons specified in MOD-001 R2.  
R7. Prior to calculating TTC, each Planning Coordinator and Reliability Coordinator shall update the following components of the base case power flow model it uses to calculate TTC for the time horizon being studied:

R7.1. 
R7.2. Anticipated transmission system configuration. 

R7.3. Facility Ratings.
R7.4. Load Forecast 
R7.5. Transmission system elements scheduled to be taken out of or returned to service. 

R7.6. Generation resources scheduled to be taken out of or returned to service.
R7.7. Unplanned transmission system element outages.  

R7.8. Unplanned generation resource outages.  

R7.9. Typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis. 

R7.10. Special Protection System models.
R7.11. Appropriate Firm Transmission Reservations
R7.12. The data from R5.1 through R5.10 provided by adjacent Transmission Service Providers, and any other Transmission Service providers with which coordination agreements have been executed. 

R8. Each Planning Coordinator and Reliability Coordinator shall follow these steps in determining TTC for each path specified:
· Study the impact of increasing the transfer(s) between the POR and POD by adjusting loads or generation to reach a reliability limit (first contingency incremental transfer capability) such that the system can withstand any single Contingency and achieve the following results:

· Transient, dynamic or voltage instability shall not occur

· All facilities shall be within their associated Facility ratings 

· Cascading Outages or uncontrolled separation shall not occur.  
· Add into the first contingency incremental transfer capability all impacts of Firm transmission reservations that were included in the study model to obtain the first contingency TTC.

· Use (as the TTC) the lesser of the value of the first contingency TTC or the sum of Facility Ratings of all ties between the POR and POD.

R9. The Planning Coordinator and Reliability Coordinator shall each provide its Transmission Service Provider with the Total Transfer Capability for each of the specified paths.
R10. The Transmission Service Provider shall make publicly available the Total Transfer Capability provided by its Planning Coordinator and Reliability Coordinator(s) upon their being made available to the Transmission Service Provider. 
R11. The Transmission Service Provider shall calculate Available Transfer Capability for the time horizons specified in MOD-001 R2 according to the available transfer capability calculation schedule specified in MOD-001 R5.

R12. The Transmission Service Provider shall calculate Firm Available Transfer Capability by reducing the Total Transfer Capability by the sum of the Firm Existing Transmission Commitments, the Capacity Benefit Margin, and the Transmission Reliability Margin allocated to the path.

R13. The Transmission Service Provider shall determine the impact of firm Existing Transmission Commitments based on the following inputs:

· The transmission capability utilized in serving Native Load commitments, to include Native Load growth, load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Firm Network Integration Transmission Service serving Load, to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff of Safe Harbor Tariff accepted by FERC,

· The impact of Firm Point-to-point transmission service,

· The impact of maintaining Roll over rights for Firm Transmission Service contracts, five years or longer in duration, granting Transmission Customers the right of first refusal to take or continue to take Transmission Service from a Transmission Owner when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal,

· The impact of any Ancillary Services not otherwise included in CBM or TRM,
· Post-backs of redirected or released 
Firm services,  
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service 
· The impact of any relevant Third-party Firm Transmission Service that has not already been accounted for.













R14. The Transmission Service Provider shall incorporate the following into Relevant Third-Party Transmission Service:
· The transmission capability associated with serving the Third-party’s native load that impacts the transmission providers system by more than 3%.

· The impact of Confirmed Network Integrated Transmission Service utilized on the Third-party’s system that impacts the Transmission Service Provider’s system by more than 3%

· The impact of Confirmed Point-to-Point Service utilized on the Third-party’s system, based on expected Source and Sink, which does not source or sink within the Transmission Service Provider’s own system and impacts the Transmission Service Provider’s system by more than 3%.
· The impact of any Roll-Over rights on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of Grandfathered Agreements on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of any required Ancillary Services not included in CBM or TRM on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
R15. The Transmission Service Provider shall limit the total impact of all transmission service from a specific POR to not exceed sum of the nameplate ratings of all generators at that POR..
R16. The Transmission Service Provider shall calculate Non-Firm Available Transfer Capability by reducing the Total Transfer Capability by the sum of the Firm Existing Transmission Commitments, the Non-Firm Existing Transmission Commitments, and the Transmission Reliability Margin that the Transmission Service Provider has not elected to release allocated to the path.

R17. The Transmission Service Provider shall determine the impact of non-firm Existing Transmission Commitments based on the following inputs:

· The impact of Non-Firm Network Integration Transmission Service serving Load , to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered non-firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC,

· The impact of Non-firm Point-to-point transmission service,
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· Capacity utilized for Transmission Reliability Margin that the Transmission Service Provider has elected to be released for as non-firm ATC
· Postbacks due to the reinstating of Firm from a “Firm-to-Non-Firm”  redirect
· The impact of any Relevant Third-party Non-Firm Transmission Service that has not already been accounted for






R18. 
R18.1. 
R18.2. 
R18.3. 
R18.4. 
R19. The Transmission Service Provider shall increase Non-firm ATC by the amount of capacity associated with unscheduled transmission service accounted for within Firm and Non-Firm ETC, to the extent allowable by the agreement associated with the service, in accordance with established business practices.  
R20. The Transmission Service Provider shall make publicly available the Available Transfer Capability for each path. 
R21. 
R22. 






�Being discussed at NAESB, so may need to be included.  Maybe for temporary “undesignation” of a DNR





Draft 1: May 25, 2007
5 of 5 

Proposed Effective Date:  To be determined

