Standard MOD-004-1 — Capacity Benefit Margin


A. Introduction
1. Title:
Capacity Benefit Margin
2. Number:
MOD-004-1
3. Purpose:
To promote the consistent and transparent calculation, verification, preservation, and use of Capacity Benefit Margin (CBM) to ensure accurate calculation of reliable transfer capabilities.
4. Applicability:
4.1. Functional Entity

4.1.1 Load Serving Entities that are entitled and would like to have transmission capability set aside in the in the form of CBM to maintain resource adequacy requirements
4.1.2 Transmission Service Providers
4.1.3 Balancing Authorities
4.1.4 Transmission Planners
5. Facility Limitations/Specifications
6. Effective Date:


B. Requirements

R1. Each Transmission Service Provider shall make publicly available: 
R1.1. Its procedure for a Load Serving Entity to request its CBM import MW requirement on each POR-POD combination (path) for meeting its resource adequacy requirement (i.e., its procedure for setting aside of transfer capability in the form of CBM to maintain a Load Serving Entity’s resource adequacy requirement).
R1.2. Its procedure and assumptions for allocating CBM over each path or flowgate.
R1.3. Its procedure for CBM use (i.e., its procedure for scheduling of energy over transmission capacity set aside as CBM). 

R1.4. 
R1.5. The most recent values of CBM used for calculating Available Transmission Capacity or Available Flowgate Capability for each timeframe by flowgate or path, as applicable.
R2. A Transmission Service Provider shall make publicly available copies of the models used for allocating CBM over each path or flowgate within seven calendar days following a request by an entity with a valid need for such information.
R3. A Transmission Service Provider shall determine CBM for the purpose of calculating Available Transmission Capacity or Available Flowgate Capability for each POR-POD combination (path) as follows:

R3.1. For Transmission Service Providers using the Network Response Methodology for determining Total Flowgate Capability, CBM is allocated to each flowgate based on the distribution factor for the POR to the POD multiplied by the quantity of CBM import MW requirement on each POR-POD combination (path) requested.
R3.1.1. The Transmission Service Provider must use the same methodology as used for its Existing Transmission Commitments (ETC) calculation for accounting for counter-flow when CBM is requested from multiple PORs.
R3.1.2. CBM shall not include transmission capacity set aside for reserve sharing. 
R3.2. For Transmission Service Providers using the Rated System Path Methodology for determining Total Transfer Capability, CBM for each path is the algebraic sum of all valid CBM requests for that specific path.
R3.2.1. CBM shall not include transmission capacity set aside for reserve sharing. 
R3.3. For Transmission Service Providers using the Network Response Methodology for determining Total Transfer Capability, CBM for each path shall be determined by the response of the network while modeling the transaction from the POR to POD at the CBM import MW level. 
R3.3.1. CBM shall not include transmission capacity set aside for reserve sharing.
R3.4. Unscheduled CBM shall be zero for all non-firm ATC calculations for all methodologies.
R4. A Load Serving Entity desiring CBM be allocated for its potential use shall submit at least annually a request for its CBM import MW requirement (i.e., a request for setting aside of transfer capability in the form of CBM to maintain the Load Serving Entity’s resource adequacy requirement) to its Transmission Service Provider and Balancing Authority documenting the quantity of CBM import MW requirement to which the Load Serving Entity is entitled based upon verifiable historical, state, RTO, regional, or other resource adequacy criteria. 
R5. The request shall be accompanied by a report, which shall 
include:

R5.1. Identification of the Load Serving Entity

R5.2. Projected CBM import MW requirement for each POR-POD combination (path) for each year for the next ten year period

R5.3. Identification of the entity responsible for establishing the Load Serving Entity’s resource adequacy requirements

R5.4. Identification of all applicable reserve margin and resource adequacy requirements for the Load Serving Entity

R5.5. Summary of results of resource studies performed to determine the quantity of CBM, not to include confidential information

R6. A Load Serving Entity shall document and retain the following information for a period of five years to include:
R6.1. Projected CBM import MW requirement for each POR-POD combination (path) for each year for the next ten year period.

R6.2. Documentation identifying the municipality, state commission, Regional Transmission Organization/Independent System Operator, Regional Reliability Organization, or Regional Entity responsible for establishing the Load Serving Entity’s resource adequacy requirements.

R6.3. Copies of all applicable reserve margin and resource adequacy requirements to include one or more of the following:

· Municipality generation reserve margin and resource adequacy requirements

· State generation reserve margin and resource adequacy requirements

· Regional Transmission Organization/Independent System Operator generation reserve margin and resource adequacy requirements

· Regional Reliability Organization reserve margin and resource adequacy requirements

R6.4. Copies of all resource planning studies performed to determine the Load Serving Entity’s quantity of CBM to include one or more of the following:

· loss of load expectation (LOLE) studies/loss of load probability (LOLP) studies

· loss of largest unit studies

· such other reliability resource adequacy studies utilized by an LSE in establishing its CBM import MW requirements.
R7. A Load Serving Entity using probabilistic studies for determining the CBM import MW requirement on each POR-POD combination (path) shall:
R7.1. Identify and use the criteria required by the Load Serving Entity’s documented resource adequacy requirements (e.g., the LOLE value is 1 day in 10 years, or 1 event in 10 years).

R7.2. Identify (e.g., a load forecast that has a 50% probability of occurrence) and use load assumptions in the study that are the same as the load assumptions used to determine the Load Serving Entity’s resource adequacy requirements. 

R7.3. Identify all resources committed to serve the Load Serving Entity’s load, including:

R7.3.1. Generators within the Load Serving Entity’s area with Designated Resource (DNR) status.

R7.3.2. Generators with Capacity contracts to serve load within the Load Serving Entity’s area.

R7.3.3. Generators external to the Load Serving Entity’s area with firm transmission reservations to the Load Serving Entity’s area.

R7.3.4. Firm capacity backed transaction contracts with external entities with firm transmission reservations to the Load Serving Entity’s area.

R7.4. Identify all resources in the Load Serving Entity’s area excluded from serving the Load Serving Entity’s load, including:
R7.4.1. Generation within the Load Serving Entity’s area with firm contracts to serve load outside the Load Serving Entity’s area.

R7.4.2. Uncommitted generation within the Load Serving Entity’s area including uncommitted Independent Power Producer’s resources.

R7.5. Use forced outage rates to represent generation unit availability that are the same as the forced outage rates used to determine the Load Serving Entity’s resource adequacy requirements.  

R7.6. Use firm system purchases that are the same as the firm system purchases used to determine the Load Serving Entity’s resource adequacy requirements.

R7.7. Identify the treatment of the following:

R7.7.1. Forced outage rates for new units 

R7.7.2. Generator seasonal ratings

R7.7.3. Projected generator maintenance schedules

R7.7.4. Fuel, wind, hydro or other reasons which may limit dispatch of a resource

R7.7.5. Common mode outages that effect resource adequacy

R7.7.6. Availability of resources with environmental or regulatory restrictions

R7.8. Identify exceptions to requirements R6.1 thru R6.7 allowed for by the entity responsible for the Load Serving Entity’s resource adequacy requirements

R8. A Transmission Service Provider shall determine if transmission capability is available for supplying a request for CBM import MW requirement on each POR-POD combination (path) within 30 days of receiving the request and report required in R4 above.
R8.1. A Transmission Service Provider shall set aside transfer capability in the form of CBM to maintain a Load Serving Entity’s resource adequacy requirement on its transmission system for each Load Serving Entity that submits a request for CBM transmission capacity in an amount equal to or less then the amount its transmission system can accommodate.

R8.2. A Transmission Service Provider shall pro-rate all requests for CBM transmission capacity if the requests for CBM for a POR-POD combination (path) exceeds the amount its transmission system can accommodate for that specific POR-POD combination (path) and shall set aside transfer capability in the form of CBM to maintain the Load Serving Entity’s pro-rated requests.

R8.3. The Transmission Service Provider shall provide to the Load Serving Entities’ Transmission Planner and make publicly available the report provided by a Load Serving Entity as required in MOD-004-1 R4.1.
R9. A Load Serving Entity may request the scheduling of energy over transmission capacity set aside as CBM up to an amount equal to that determined under MOD-004-1 R7 as required by the Transmission Service Provider’s procedure pursuant to MOD-004-1 R1.3.
R9.1. In the event CBM was reduced pursuant to MOD-004-1 R7.2, the Load Serving Entity is still entitled to the full CBM import MW requirement on a POR-POD combination (path) requested when scheduling of energy over transmission capacity set aside as CBM

R10. A Balancing Authority shall waive the timing and ramping requirements for scheduling of energy over transmission capacity set aside as CBM.

R11. A Load Serving Entity shall declare a NERC Energy Emergency Alert (EEA) 2 and initiate all steps in EEA 2 prior to scheduling of energy over transmission capacity set aside as CBM. 

R12. A Load Serving Entity shall provide a report to its Transmission Service Provider within 7 calendar days after the scheduling of energy over transmission capacity set aside as CBM and retain for a period of five years to include

R12.1. Circumstances under which a NERC EEA 2 was declared and all steps initiated in EEA 2 before energy was scheduled over transmission capacity set aside as CBM.

R12.2. Amount of CBM capacity used and energy scheduled over transmission capacity set aside as CBM.

R12.3. Start and stop times of when energy was scheduled over transmission capacity set aside as CBM.

R13. A Transmission Service Provider shall make publicly available for a period of one year the report prepared by a Load Serving Entity pursuant to R11 above beginning within 7 calendar days after receiving the report.

R14. 
R15. A Transmission Planner shall include all valid requests and projected CBM import MW requirements for each POR-POD combination (path) for each year for the next ten year period, based on the information supplied in the Load Serving Entities request and as required in MOD-004-1 R4.1, in its planning process.

R16. A Load Serving Entity shall not incorporate any of the components of uncertainty identified in MOD-008-1 R1.1 into its determination of its CBM import MW requirement.
See paragraph 1077 of FERC Order 890: “…. We also clarify that CBM should only be set aside upon request of any LSE within a balancing area to meet its verifiable historical, state, RTO or regional generation reliability criteria requirement such as reserve margin, loss of load probability, loss of largest units, etc. We expect verification of the CBM values to be part of the Requirements with appropriate Measures and Levels of Non-Compliance.”








�Baes on other parts of the standard, as well as the way this was written, I believe this report is supposed to be provided to the TSP by the LSE.





Draft 1:

Page 5 of 5



