Standard MOD-029-1 — Rated System Path Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD



· 
Introduction

1. Title:
Rated System Path Available Transfer Capability
2. Number:
MOD-029-1 
3. Purpose:
To promote the consistent and uniform application and documentation of Available Transfer Capability calculations performed using the Rated System Path method for reliable system operations.  
4. Applicability:

4.1. Each Planning Coordinator that uses the Rated System Path method to calculate Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.2. Each Reliability Coordinator that uses the Rated System Path method to calculate Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.3. Each Transmission Service Provider that uses the Rated System Path method to calculate Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.4. 
4.5. 
4.6. 
5. Effective Date:
TBD
B. Requirements

R1. 
R2. Each Planning Coordinator shall provide to the Transmission Service Provider in the report that follows a TTC study a description of the contingencies and assumptions considered in their study.
R3. The TSP shall make publicly available the report supplied by the Planning Coordinator that follows a TTC study.

R4. The Planning Coordinator shall use a model to conduct its TTC studies that includes at least the entire Planning Coordinator Area, as well as critical modeling details from other Planning Coordinator Areas that would impact the facility or facilities under study.

R5. Each Planning Coordinator shall update the following components of the base case power flow model it uses to determine a TTC  for the time horizon being studied:

· Anticipated transmission system configuration 

· Facility Ratings

· Load Forecast 
· Transmission system elements scheduled to be taken out of or returned to service 

· Generation resources scheduled to be in service, to be taken out of or returned to service 
· Special Protection System models
R6. The Planning Coordinator shall use assumptions in its TTC calculation that are consistent with those it uses in its  expansion planning analyses.

R7. For each path upon which transmission service has been requested, each Planning Coordinator shall:
R7.1. Determine the reliability limited TTC for a path by adjusting generation schedules and load levels to extreme values (without introducing fictitious facilities into the model) to determine the maximum flow that can be simulated on the path while at the same time satisfying the planning criteria in TPL-001 and TPL-002 for the contingencies in Table 1, Category B or the successor criteria.
· If it is not possible to simulate a flow sufficiently large to reach reliability limited TTC, the TTC of the path is equal to the maximum flow simulated and the path is said to be flow limited.

· If the TTC determined for a path in one direction is reliability limited and the TTC determined for the same path in the other direction is flow limited it is allowable to use the reliability limited TTC for both directions. 
R7.2. Determine if the TTC for a new or revised path adversely impacts the path ratings or TTC values of existing paths by modeling the flow on the new or revised path at its proposed new TTC level simultaneous with the flow on the existing path at its TTC level, and if there is an adverse impact:

· Limit the TTC for the new or revised path to eliminate the adverse impacts, or

· Follow a local or regional procedure for resolving the impact with the affected parties.  
R7.3. Ensure that for jointly owned paths,the sum of all owners’ allocations is equal to the TTC of the path
R7.4. Document in a report the steps performed in the study, including contingencies and assumptions used to determine the TTC, and the resulting TTC.
· 
· 
· 

· 
· 


R8. Each Planning Coordinator associated with a Transmission Service Provider shall ensure that Total Transfer Capability for all posted paths for that Transmission Service Provider are calculated and up to date for use within the transfer capability time horizons specified in MOD-001.  
R9. The Planning Coordinator associated with a Transmission Service Provider shall make available to the Transmission Service Provider the most current value for Total Transfer Capability for all the posted paths of that Transmission Service Provider and the reports on the TTC studies performed for each path. 

R10. The Transmission Service Provider shall make publicly available the results, and associated study reports, of the calculations of Total Transfer Capability provided by the Planning Coordinator(s) upon their being made available to the Transmission Service Provider. 

R11. The Transmission Service Provider shall calculate Available Transfer Capability for the time horizons specified in MOD-001 R2 according to the available transfer capability calculation schedule specified in MOD-001 R5.

R12. The Transmission Service Provider shall calculate firm Available Transfer Capability by reducing the Total Transfer Capability by the sum of the impact of firm Existing Transmission Commitments, the Capacity Benefit Margin, and the Transmission Reliability Margin allocated to the path.

R13. 
· 
· 
· 
· 
· 
· 
· 
R14. 
R15. The Transmission Service Provider shall determine the impact of firm Existing Transmission Commitments based on the following inputs:

· The transmission capability utilized in serving Native Load commitments, to include Native Load growth, load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Firm Network Integration Transmission Service serving Load, to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff of Safe Harbor Tariff accepted by FERC,

· The impact of Firm Point-to-point transmission service,

· The impact of maintaining Roll over rights for Firm Transmission Service contracts, five years or longer in duration, granting Transmission Customers the right of first refusal to take or continue to take Transmission Service from a Transmission Owner when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal,

· The impact of any Ancillary Services not otherwise included in CBM or TRM,
· Post-backs of redirected or released 
Firm services,  
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service 
· The impact of any relevant Third-party Firm Transmission Service that has not already been accounted for.






R16. The Transmission Service Provider shall incorporate the following into Relevant Third-Party Transmission Service:
· The transmission capability associated with serving the Third-party’s native load that impacts the transmission providers system by more than 3%.

· The impact of Confirmed Network Integrated Transmission Service utilized on the Third-party’s system that impacts the Transmission Service Provider’s system by more than 3%

· The impact of Confirmed Point-to-Point Service utilized on the Third-party’s system, based on expected Source and Sink, which does not source or sink within the Transmission Service Provider’s own system and impacts the Transmission Service Provider’s system by more than 3%.
· The impact of any Roll-Over rights on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of Grandfathered Agreements on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of any required Ancillary Services not included in CBM or TRM on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.

R17. The Transmission Service Provider shall calculate non-firm Available Transfer Capability by reducing the Total Transfer Capability by the sum of the firm Existing Transmission Commitments, the non-firm Existing Transmission Commitments, and the Transmission Reliability Margin allocated to the path.

R18. The Transmission Service Provider shall determine the impact of non-firm Existing Transmission Commitments based on the following inputs:
· The impact of Non-Firm Network Integration Transmission Service serving Load , to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered non-firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC,

· The impact of Non-firm Point-to-point transmission service,
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· Capacity utilized for Transmission Reliability Margin that the Transmission Service Provider has elected to be released for as non-firm ATC
· Postbacks due to the reinstating of Firm from a “Firm-to-Non-Firm”  redirect
· The impact of any Relevant Third-party Non-Firm Transmission Service that has not already been accounted for
· 
R19. 
R20. 
R21. 
R22. 

R23. The Transmission Service Provider shall increase Non-firm ATC by the amount of capacity associated with unscheduled transmission service accounted for within Firm and Non-Firm ETC, to the extent allowable by the agreement associated with the service, in accordance with established business practices.  
R24. The Transmission Service Provider shall make publicly available the Available Transfer Capability for each path.


R25. 






�Being discussed at NAESB, so may need to be included.  Maybe for temporary “undesignation” of a DNR





Draft 1: May 25, 2007
1 of 6 

Proposed Effective Date:  To be determined

