Standard MOD-030-1 — Flowgate Network Response Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Introduction

1. Title:
Flowgate Network Response Available Transfer Capability
2. Number:
MOD-030-1 
3. Purpose:
To promote the consistent and uniform application and documentation of Available Transfer Capability calculations performed using the Flowgate Network Response method for reliable system operations.
4. Applicability:

4.1. Each Planning Coordinator that uses the Flowgate Network Response method to calculate Available Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.2. Each Reliability Coordinator that uses the Flowgate Network Response method to calculate AvailableTransfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.3. Each Transmission Service Provider that uses the Flowgate Network Response method to calculate Available Transfer Capabilities for paths identified in a Available Transfer Capability Implementation Document
4.4. 
4.5. 
4.6. 
5. Effective Date:
TBD
B. Requirements

R1. 
R2. Each Planning Coordinator and Reliability Coordinator shall include in the “Available Transfer Capability Implementation Document” for a specific Transmission Service Provider the criteria used to identify sets of transmission facilities as flowgates that are to be considered by the Transmission Service Provider when analyzing requests for service.  At a minimum, the criteria shall specify 

· How the methodology meets the planning criteria in TPL-001 and TPL-002, for the contingencies in Table 1, Category B or the successor criteria 

· How the methodology identifies transmission facilities that are expected by the AFC calculator to cause congestion on the transmission system 

· The treatment of transmission facilities that have historically been constrained.
R3. Each Planning Coordinator and Reliability Coordinator associated with a Transmission Service Provider shall, at a minimum, create, modify, or delete flowgates as necessary at the beginning of every quarter, based on the criteria specified in R2 above. 

R4. The Transmission Service Provider shall ensure the definitions of all flowgates specified by the PC and RC are made publicly available, including the type of flowgate (thermal, voltage, or stability).  NAESB should specify Naming conventions, etc… BoF stuff?
R$, 5, 6, 7, 8, 9 all need to be aligned.  Who gives the TSP the limit.  The TSP uses it.  The TSp posts it.

R5. The Transmission Owner and Transmission Planner shall provide the Transmission Service Provider with the current thermal limits  for thermally limited flowgates.
R6. The Transmission Service Provider shall use the current thermal limits provided by the Transmission Planner and Transmission Operator.
R7. The Planning Coordinator and Reliability Coordinator shall provide the Transmission Service Provider with the current voltage and stability limits for voltage or stability limited flowgates, respectively.

R8. The Transmission Service Provider shall use the voltage and stability limits provided by the Planning Coordinator and Reliability Coordinator.
R9. 
R10. Each Planning Coordinator and Reliability Coordinator associated with a Transmission Service Provider shall ensure that Total Flowgate Capability for each of the specified flowgates for that Transmission Service Provider are equal to the lesser of :
· The Thermal Rating of the Flowgate, or

· The Voltage limit of power transferred across the Flowgate, if applicable, or

· The Stability limit of power transferred across the Flowgate, if applicable.
R11. Each Planning Coordinator and Reliability Coordinator associated with a Transmission Service Provider shall ensure that Total Flowgate Capability for all the specified flowgates for that Transmission Service Provider are calculated for use within the transfer capability time horizons specified in MOD-001.  
R12. The Planning Coordinator and Reliability Coordinator shall make available to the Transmission Service Provider the results of the calculations of Total Flowgate Capability for all the specified flowgates of that Transmission Service Provider upon completion of the calculation. 

R13. The Transmission Service Provider shall make publicly available the results of the calculations of Total Flowgate Capability provided by the SOMEONE upon their being made available to the Transmission Service Provider. 

R14. The Transmission Service Provider shall calculate Available Flowgate Capability for the time horizons specified in MOD-001 R2 according to the available transfer capability calculation schedule specified in MOD-001 R5.

R15. The Transmission Service Provider shall calculate Firm Available Flowgate Capability by reducing the Total Flowgate Capability by the sum of the Firm Existing Transmission Commitments, the Capacity Benefit Margin, and the Transmission Reliability Margin allocated to the flowgate.

R16. The Transmission Service Provider shall determine the impact of firm Existing Transmission Commitments based on the following inputs:

· The transmission capability utilized in serving Native Load commitments, to include Native Load growth, load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Firm Network Integration Transmission Service serving Load, to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff of Safe Harbor Tariff accepted by FERC,

· The impact of Firm Point-to-point transmission service,

· The impact of maintaining Roll over rights for Firm Transmission Service contracts, five years or longer in duration, granting Transmission Customers the right of first refusal to take or continue to take Transmission Service from a Transmission Owner when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal,

· The impact of any Ancillary Services not otherwise included in CBM or TRM,
· Post-backs of redirected or released 
Firm services,  
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service

R17. 
· 
· 
· 
· 
· 
· 
· The impact of any relevant Third-party Firm Transmission Service that has not already been accounted for.
R18. 
· 
· 
· 
· 
· 
· 
R19. The Transmission Service Provider shall limit the total impact of all transmission service from a specific Source to not exceed sum of the nameplate ratings of all generators at that Source.
R20. The Transmission Service Provider shall incorporate the following into Relevant Third-Party Transmission Service:
· The transmission capability associated with serving the Third-party’s native load that impacts the transmission providers system by more than 3%.
· The impact of Confirmed Network Integrated Transmission Service utilized on the Third-party’s system that impacts the Transmission Service Provider’s system by more than 3%
· The impact of Confirmed Point-to-Point Service utilized on the Third-party’s system, based on expected Source and Sink, which does not source or sink within the Transmission Service Provider’s own system and impacts the Transmission Service Provider’s system by more than 3%.
· The impact of any Roll-Over rights on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of Grandfathered Agreements on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
· The impact of any required Ancillary Services not included in CBM or TRM on the Third-party’s system that impact the Transmission Service Provider’s system by more than 3%.
R21. The Transmission Service Provider shall calculate Non-Firm Available Flowgate Capability by reducing the Total Flowgate Capability by the sum of the Firm Existing Transmission Commitments, the Non-Firm Existing Transmission

R22. The Transmission Service Provider shall determine the impact of non-firm Existing Transmission Commitments based on the following inputs:

· The impact of Non-Firm Network Integration Transmission Service serving Load , to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Grandfathered non-firm transmission service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC,

· The impact of Non-firm Point-to-point transmission service,
· The impact of Counter flows not otherwise accounted for in the ATC calculation.
· Capacity utilized for Transmission Reliability Margin that the Transmission Service Provider has elected to be released for as non-firm ATC
· Postbacks due to the reinstating of Firm from a “Firm-to-Non-Firm”  redirect 

R23. 
R24. 
· 
· 
· 
· 
· The impact of any Relevant Third-party Non-Firm Transmission Service that has not already been accounted for
· 
R25. For Point-to-Point service where the Source has not been specified, the Transmission Service provider shall assume the Sink to be the adjacent Balancing Authority most electrically equivalent to the Point-of-Receipt.
R26. For Point-to-Point service where the Sink has not been specified, the Transmission Service Provider shall assume the Sink to be the adjacent Balancing Authority most electrically equivalent to the Point-of-Delivery.

R27. The Transmission Service Provider shall make publicly available the results of the calculations of Available Flowgate Capability upon calculation. 

R28. The Transmission Service Provider shall covert Flowgate AFCs to Path ATCs based on the following process.
· For each flowgate honored by the Transmission Service Provider, the Transmission Service Provider will calculate the Partial AFC of that flowgate by dividing the current AFC of that flowgate by the path’s power transfer distribution factor for that flowgate.
· The Transmission Service Provider then sets the ATC for the path equal to the lowest of the Partial AFCs of those flowgates.  







R29. The Transmission Service Provider shall increase Non-firm ATC by the amount of capacity associated with unscheduled transmission service accounted for within Firm and Non-Firm ETC, to the extent allowable by the agreement associated with the service, in accordance with established business practices.  
R30. The Transmission Service Provider shall make publicly available the Available Transfer Capability for each path.

 For a transmission service request to be granted on this path, the incremental affect of the MW amount of the request must be smaller than the available flowgate capability on each of the constrained facilities impacted by this path.








�Being discussed at NAESB, so may need to be included.  Maybe for temporary “undesignation” of a DNR





Draft 1: May 25, 2007
1 of 6 

Proposed Effective Date:  To be determined

