[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

HANDOFF ITEMS – Items identified in the draft NERC Reliability Standards that will require NAESB Business Practice Standards
NERC MOD001 (Available Transfer Capability) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807a1.doc 

· R3:  Business Practices are needed; Do not need to modify S&CPs
· For “The identity of the recipients of the Available Transfer Capability Implementation Document”:  The BPS/ESS/ITS believes this is already publicly available on OASIS

· Comment and continuing with this line of thought: Is it okay to post this info on OASIS?  If so, this last bullet of R3 is no longer needed and the last bullet of R4 will need to be modified.  However, if it is not okay to post on OASIS, that will substantially change how NAESB drafts the corresponding BP.  In addition, NAESB would plan to provide a link on OASIS to the document rather than creating a template in the S and CP that would detail all the elements of the requirements.  The BPS and ESS/ITS request feedback from the NERC SDT.  How would the last bullet of R4 be modified?  See R4

· See the document posted at the link above for additional comments on the draft reliability standard
· R5:  Business Practices are needed to establish the posting schedule

· R6:  Though the requirement set forth in R6 was once believed to need Business Practices, the BPS and ESS/ITS determined that no Business Practices will be needed after all.  The postings listed in R6 are either already provided on OASIS or the information is not publicly available

· Need to review Paragraphs 413, 416, and 417 of Order 890 regarding posting underlying assumptions for peak load
NERC MOD028 (Network Response Available Transfer Capability) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807a2.doc
· R2:  Business Practices are needed for posting of contingencies and assumptions
· Question from the ESS/ITS and BPS to NERC for R2:  This requirement does not say this will be a list.  Is it meant to be a list? Does it include generation outages?  Would the list be for different time horizons? If for different time horizons, NERC will need to clarify.  Will it be dynamic list for the different time horizons?  Would the list include dynamic line ratings?
· R3:  Business Practices are needed for publicly available posting
· R8:  Business Practices needed; need to verify that S&CP templates include this information
· R17:  Business Practices are needed for publicly available posting
NERC MOD029 (Rated System Path Available Transfer Capability) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807w6.doc
· R2:

· R9:
· R17:  

NERC MOD030 (Flowgate Network Response Available Transfer Capability) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807w7.doc
· R3:  

· R11:  

· R21:  
· R24:  

NERC MOD004 (CBM) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807w3.doc
· R1:  
· R2:  

· R4:  
· R7.3:  

· R12:  

NERC MOD008 (TRM) – References are made to the document posted at:  http://www.naesb.org/pdf2/weq_atc_afc051807w4.doc
· R7:  
· R8:  

· R10:  
Handoff Items from Draft NERC Reliability Standards 
NAESB ESS/ITS and BPS

Draft as of May 23, 2007
Draft Agenda

Page 2

