NERC ATC MOD POSTING REQUIREMENTS


Draft 7/6/07
	
	NERC

Standard
	Posting 

Cite

	Posting Requirement
	OASIS

Template

Posting
	Informational

Posting via ATC Link On OASIS
	Issues
	Decision

	1
	MOD-1
Available 
Transfer

Capability
	R3.


	Make ATCID publicly available.
	
	yes
	
	

	2
	MOD-4
CBM
	R1.
R7.

R12.
	Make publicly available:
R1.1. Procedure to request CBM Import MW requirement
R1.2. Procedure and assumptions for allocating CBM

R1.3. Procedures for CBM use

R1.4. most recent CBM values

R7.3. LSE’s CBM Import Entitlement report

R12. LSE’s scheduling report
	systemdata

	yes for R1.1-.3

yes 
yes


	
	


	
	NERC

Standard
	Posting 

Cite

	Posting Requirement
	OASIS

Template

Posting
	Informational

Posting via ATC Link On OASIS
	Issues
	Decision

	3
	MOD-8
TRM
	R7.
R10.
	Make TRM calculation methodology publicly available

Make publicly available TRM values:
R10.1 Same day and real time

R10.2 Day-ahead and pre-schedule

R10.3 Beyond the day-ahead
	systemdata for R10.1-.3
	yes

	
	

	4
	MOD-28
Network Response ATC
	R2.

R3.

R16.
	Make Contingencies and assumptions publicly available

Make publicly available a list of POR/POD Paths that includes, at a minimum, all interfaces between BA’s within or adjacent to the Transmission Provider’s area

Make publicly available ATC for each path
	systemdata
	yes
yes
	
	


	
	NERC

Standard
	Posting 

Cite

	Posting Requirement
	OASIS

Template

Posting
	Informational

Posting via ATC Link On OASIS
	Issues
	Decision

	5
	MOD-29
Rated System Path ATC
	R2.
R9.

R16.


	Make publicly available TTC study reports from its Planning Coordinator(s)
Make publicly available the results, and associated study reports, of the TTC calculations provided by the Planning Coordinator(s)

Make publicly available ATC/path 
	systemdata, on TTC calculation results
systemdata
	yes
yes, on reports
	
	


	
	NERC

Standard
	Posting 

Cite

	Posting Requirement
	OASIS

Template

Posting
	Informational

Posting via ATC Link On OASIS
	Issues
	Decision

	6
	MOD-30
Flowgate Network Response ATC
	R3.

R11.
R21.

R24.
	Ensure definitions/types of all Flowgates specified by the PC and RC are made publicly available

Make publicly available results of TFC calculations provided by Planning and Reliability Coordinators
Make publicly available results of AFC calculations

Make publicly available ATC/path
	systemdata
	yes
yes

yes


	
	


PAGE  
4

