Language to complement MOD001, MOD004, MOD008, MOD028, MOD029, MOD030:
x.1
The Transmission Provider shall establish a link entitled “ATC Information”, located on the OASIS home page at the Transmission Provider’s registered URL address.  Access to some of the information found under the ATC Information link above may require the user to register with the individual OASIS sites, according to WEQ-002-3.1.  
x.1.1
Unless otherwise provided for in a required OASIS template, as defined in WEQ-002 and WEQ-012, the information posted at “ATC Information” should include the following (as applicable to the Transmission Provider’s methodologies):

· Available Transfer Capability Implementation Document (ATCID) as required in NERC MOD001 R3.
· Procedure for Addressing Available Transfer Capability Methodology Questions as required in NAESB Standard WEQ 012.x.x
· Contingencies and assumptions for calculating transfer capability (ref to NERC MOD028 R2)
· Posted paths (ref to NERC MOD028 R3; Order 890 paragraph 193)

· ATC for each posted path (ref to NERC MOD028 R16; NERC MOD029 R16)
· Reports for TTC Studies (ref to NERC MOD029 R2, R9)
· Definition of Flowgates (ref to NERC MOD030 R3)
· Results of TFC Calculations (ref to NERC MOD030 R11)
· Results of AFC Calculations (ref to NERC MOD030 R21)
· Procedure for CBM (ref to NERC MOD004 R1)
· Procedure to request CBM Import MW requirement (ref to NERC MOD004 R1.1)

· Procedure and assumptions for allocating CBM (ref to NERC MOD004 R1.2)
· Procedures for CBM use (ref to NERC MOD004 R1.3)
· CBM Import Entitlement Report (ref to NERC MOD004 R7.3)
· CBM Values (ref to NERC MOD004 R1.4)
· Report required in NERC MOD004 R12 (CBM Usage Report) (ref to NERC MOD004 R12)
· TRM Calculation Methodology (ref to NERC MOD008 R7)
· TRM Values (ref to NERC MOD008 R10)
· Posting requirements in related NAESB standards or other regulatory requirements.


PAGE  
1
7/6/07

