Standard MOD-029-1 — Rated System Path Methodology

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC authorized posting TTC/ATC/AFC SAR development June 20, 2005.

2. SAC authorized the SAR to be development as a standard on February 14, 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications identified in the SAR with consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	1. Respond to comments.
	TBD

	2. Post revised standard for stakeholder comment.
	TBD

	3. Respond to comments.
	TBD

	4. Post for 30-day pre-ballot review.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Recirculation ballot.
	TBD

	8. 30-day posting before board adoption.
	TBD

	9. Board adoption.
	TBD


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Rated System Path Methodology: A method for calculating ATC, characterized by
· Specific paths are selected for review, based on specified criteria

· An initial calculation of TTC for the path, followed by periodic recalculations to capture topology changes

ATC is calculated by decrementing the nominal value of a reservation against a path from the path’s TTC 

· Introduction

1. Title:
Rated System Path Methodology
2. Number:
MOD-029-1 
3. Purpose:
To promote the consistent and transparent application and documentation of Available Transfer Capability (ATC) calculations performed using the Rated System Path Methodology for reliable system operations.  
4. Applicability:

4.1. Each Planning Coordinator that uses the Rated System Path Methodology to calculate Transfer Capabilities for Posted Paths identified in an Available Transfer Capability Implementation Document.
4.2. Each Reliability Coordinator that uses the Rated System Path Methodology to calculate Transfer Capabilities for Posted Paths identified in an Available Transfer Capability Implementation Document.
4.3. Each Transmission Service Provider that uses the Rated System Path Methodology to calculate Transfer Capabilities for Posted Paths identified in an Available Transfer Capability Implementation Document.
5. Effective Date:
TBD
B. Requirements

R1. The Planning Coordinator shall provide to its Transmission Service Provider (in the report drafted for a TTC study) a description of the Contingencies and assumptions considered in the study.
R2. The Transmission Service Provider shall make publicly available the reports drafted for TTC studies supplied by its Planning Coordinator(s).

R3. The Planning Coordinator shall use a model to conduct its TTC studies that includes at least the entire Planning Coordinator Area, as well as critical modeling details from other Planning Coordinator Areas that would impact the Facility or Facilities under study.

R4. Each Planning Coordinator shall update the following components of the base case power flow model it uses to determine a TTC  for the time horizon being studied:

R4.1. Anticipated transmission system configuration 

R4.2. Facility Ratings

R4.3. Load forecast 
R4.4. Transmission system Elements scheduled to be taken out of or returned to service 

R4.5. Generation resources scheduled to be in service, to be taken out of service or to be returned to service 

R4.6. Special Protection System models
R4.7. All the following data as provided by adjacent Transmission Service Providers, and any of the following data provided by any other Transmission Service Providers with which coordination agreements have been executed. 

· Load forecasts by Balancing Authority

· Generation dispatch

· Topology

· Assumptions regarding transmission and generation facilities additions and retirements

· Power flow models and underlying assumptions

· Facility ratings

· Counterflows

· TTC or AFC recalculation frequency (or notification of a change in TTC or AFC in advance of it changing)

· Third party allocation methodologies 

R5. The Planning Coordinator shall use assumptions in its TTC calculation that are consistent with those it uses in its expansion planning analyses.

R6. For each Posted Path upon which Transmission Service has been requested, each Planning Coordinator shall:
R6.1. Determine the reliability limited TTC for the Posted Path by adjusting generation schedules and Load levels to extreme values (without introducing fictitious facilities into the model) to determine the maximum flow that can be simulated on the Posted Path while at the same time satisfying the planning criteria in TPL-001 and TPL-002 for the Contingencies in Table 1, Category B or the successor criteria.
· If it is not possible to simulate a flow sufficiently large to reach a reliability limited TTC, the TTC of the Posted Path is equal to the maximum flow simulated and the path is said to be flow limited.

· If the TTC determined for a path in one direction is reliability limited and the TTC determined for the same Posted Path in the other direction is flow limited, the reliability limited TTC may be used for both directions. 
R6.2. Determine if the TTC for a new or revised Posted Path adversely impacts the Posted Path ratings or TTC values of existing Posted Paths by modeling the flow on the new or revised Posted Path at its proposed new TTC level simultaneous with the flow on the existing Posted Path at its TTC level, and if there is an adverse impact:

· Limit the TTC for the new or revised Posted Path to eliminate the adverse impacts, or

· Follow a local or regional procedure for resolving the impact with the affected parties.  
R6.3. Ensure that for jointly owned Posted Paths, the sum of all owners’ allocations is equal to the TTC of the Posted Path
R6.4. Draft a report to document the steps performed in determining the TTC for the Posted Path including the resulting TTC and the Contingencies and assumptions used to determine the resulting TTC.

R7. Each Planning Coordinator associated with a Transmission Service Provider shall ensure that TTC for all Posted Paths for that Transmission Service Provider are calculated and up to date for use within the transfer capability time periods specified in MOD-001.  
R8. Each Planning Coordinator associated with a Transmission Service Provider shall make available to the Transmission Service Provider the most current value for TTC for all the Posted Paths of that Transmission Service Provider and the reports on the TTC studies performed for each Posted Path. 

R9. The Transmission Service Provider shall make publicly available the results of the calculations of TTC provided by the Planning Coordinator(s) upon their being made available to the Transmission Service Provider. 

R10. 

R11. The Transmission Service Provider shall calculate firm ATC by reducing the TTC by the sum of the impact of firm Existing Transmission Commitments (ETCs), the Capacity Benefit Margin (CBM), and the Transmission Reliability Margin (TRM) allocated to the Posted Path.

R12. The Transmission Service Provider shall determine the impact of firm ETCs based on the following inputs:

R12.1. The transmission capability utilized in serving Native Load commitments, to include Native Load growth, Load forecast error and losses not otherwise included in TRM or CBM.   

R12.2. The impact of Firm Network Integration Transmission Service serving Load, to include Load forecast error and losses not otherwise included in TRM or CBM.   

R12.3. The impact of grandfathered firm Transmission Service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC.
R12.4. The impact of Firm Point to Point Transmission Service.
R12.5. The impact of maintaining roll-over rights for Firm Transmission Service contracts, five years or longer in duration, granting Transmission Customers the right of first refusal to take or continue to take Transmission Service from a Transmission Owner when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal.
R12.6. The impact of any Ancillary Services not otherwise included in CBM or TRM,

R12.7. Post-backs of redirected or relenquished Firm Transmission Service. 
R12.8. The impact of counter-flows not otherwise accounted for in the ATC calculation.

R12.9. The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service 

R13. The Transmission Service Provider shall calculate non-firm ATC by reducing the TTC by the sum of the firm ETCs, the non-firm ETCs, any scheduled use of CBM, and the TRM allocated to the Posted Path.

R14. The Transmission Service Provider shall determine the impact of non-firm ETCs based on the following inputs:

R14.1. The impact of Non-Firm Network Integration Transmission Service serving Load  to include Load forecast error and losses not otherwise included in TRM or CBM.   

R14.2. The impact of grandfathered Non-Firm Transmission Service agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC.
R14.3. The impact of Non-firm Point to Point Transmission Service.
R14.4. The impact of counter-flows not otherwise accounted for in the ATC calculation.

R14.5. Capacity utilized for TRM that the Transmission Service Provider has elected to be released for as non-firm ATC.
R14.6. Post-backs of redirected or relenquished Non-Firm Transmission Service.
R15. The Transmission Service Provider shall increase non-firm ATC by the amount of capacity associated with unscheduled Transmission Service accounted for within firm and non-firm ETC, to the extent allowable by the agreement associated with the service, in accordance with established business practices.  
R16. The Transmission Service Provider shall make publicly available the ATC for each Posted Path.

Re: R12.7 - Being discussed at NAESB - may need to be included.  Maybe for temporary “undesignation” of a DNR











�NAESB posting


�NAESB Posting


�Double jeopardy with MOD-001


�NAESB Posting





Draft 1: May 25, 2007
6 of 6 


