Consideration of Comments — 1st Draft of Standard MOD-004-1 Capacity Benefit Margin (Project 2006-07)
Consideration of Comments 

The ATC Standard Drafting Team thanks all commenters who submitted comments on Draft 1 of the MOD-004-1 Capacity Benefit Margin.  This standard was posted for a 30-day public comment period from May 25 through June 24, 2007.  The drafting team asked stakeholders to provide feedback on the standard through a special standard Comment Form. 
There were 20 sets of comments, including comments from 97 different people from more than 49 companies representing 8 of the 10 Industry Segments as shown in the table on the following pages. 
Based on the comments received, the drafting team made s modifying the standard for another comment period.     

In this “Consideration of Comments” document stakeholder comments have been organized so that it is easier to see the responses associated with each question.  All comments received on the standards can be viewed in their original format at: 

http://www.nerc.com/~filez/standards/Backup_Facilities.html
If you feel that your comment has been overlooked, please let us know immediately. Our goal is to give every comment serious consideration in this process!  If you feel there has been an error or omission, you can contact the Director of Standards, Gerry Adamski, at 609-452-8060 or at gerry.adamski@nerc.net.  In addition, there is a NERC Reliability Standards Appeals Process.

The Industry Segments are:

1 — Transmission Owners

2 — RTOs, ISOs

3 — Load-serving Entities
4 — Transmission-dependent Utilities

5 — Electric Generators

6 — Electricity Brokers, Aggregators, and Marketers

7 — Large Electricity End Users

8 — Small Electricity End Users

9 — Federal, State, Provincial Regulatory or other Government Entities

10 – Regional Reliability Organizations, Regional Entities

	Commenter
	Organization
	Industry Segment

	
	
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	1. 
	Anita Lee (G5)
	AESO
	
	(
	
	
	
	
	
	
	
	

	2. 
	Jason Murray (G1)
	AESO
	
	(
	
	
	
	
	
	
	
	

	3. 
	Darrell Pace (G9)
	Alabama Electric Coop
	
	
	
	(
	(
	(
	
	
	
	

	4. 
	Heln Stines (G9)
	Alcoa Power Generating 
	
	
	
	
	
	(
	(
	(
	
	

	5. 
	Ken Goldsmith (G6)
	ALT
	(
	
	
	
	(
	
	
	
	
	

	6. 
	Eugene Warnecke (G9)
	Ameren
	
	
	(
	
	
	(
	
	
	
	

	7. 
	E. Nick Henery (G2)
	APPA
	(
	
	
	
	
	
	
	
	
	

	8. 
	Jerry Smith (G1)
	APS-TP
	
	
	
	
	
	
	
	
	
	

	9. 
	Dave Rudolph (G6)
	BEPC
	(
	
	(
	
	(
	(
	
	
	
	

	10. 
	Steve Tran  (G1)
	BP TX
	
	
	
	
	
	
	
	
	
	

	11. 
	Abbey Nulph (G1) (I)
	BPA
	(
	
	(
	
	(
	(
	
	
	
	

	12. 
	Rebecca Berdahl (G1)
	BPA
	(
	
	(
	
	(
	(
	
	
	
	

	13. 
	Steve Knudsen (G1) 
	BPA
	(
	
	(
	
	(
	(
	
	
	
	

	14. 
	Charles Mee (G1)
	CA Dept Water & Power
	
	
	
	
	
	
	
	
	
	

	15. 
	Greg Ford (G1)
	CISO-TP
	
	(
	
	
	
	
	
	
	
	

	16. 
	Don Reichenbach (G9)
	Duke Energy
	(
	
	(
	
	(
	(
	
	
	
	

	17. 
	Greg Rowland
	Duke Energy
	(
	
	(
	
	(
	(
	
	
	
	

	18. 
	Joachim Francois (G9)
	Entergy
	(
	
	(
	
	(
	(
	
	
	
	

	19. 
	Ed Davis (G3)
	Entergy Services
	(
	
	(
	
	(
	(
	
	
	
	

	20. 
	George Bartlett (G3)
	Entergy Services
	(
	
	(
	
	(
	(
	
	
	
	

	21. 
	Jim Case (G3)
	Entergy Services
	(
	
	(
	
	(
	(
	
	
	
	

	22. 
	Narinder Saini (G3)
	Entergy Services
	(
	
	(
	
	(
	(
	
	
	
	

	23. 
	Steve Myers (I) (G5)
	ERCOT
	
	(
	
	
	
	
	
	
	
	(

	24. 
	Patricia vanMidde (G1)
	FERC Case MRG, Sempra
	
	
	
	
	
	
	
	
	
	

	25. 
	Dave Folk (G4)
	FirstEnergy
	(
	
	(
	
	(
	(
	
	
	
	

	26. 
	Phil Bowers (G4)
	FirstEnergy
	(
	
	(
	
	(
	(
	
	
	
	

	27. 
	Richard Kovacs (G4)
	FirstEnergy
	(
	
	(
	
	(
	(
	
	
	
	

	28. 
	Ross Kovacs (G9)
	Georgia Transmission Co
	(
	
	(
	
	
	
	
	
	
	

	29. 
	Joe Knight (G6)
	Great River Energy
	(
	
	(
	
	(
	
	
	
	
	

	30. 
	Ron Falsetti (I) (G5)
	IESO
	
	(
	
	
	
	
	
	
	
	

	31. 
	Lou Ann Westerfield (G1)
	IPUC-SP 
	
	
	
	
	
	
	
	
	
	

	32. 
	Matt Goldbert (G5)
	ISO New England (ISO NE)
	
	(
	
	
	
	
	
	
	
	

	33. 
	Rian Thumm
	ITC
	(
	
	
	
	
	
	
	
	
	

	34. 
	Sueyen McMahon (G1)
	LADWP
	(
	
	(
	
	(
	(
	
	
	
	

	35. 
	Eric Ruskamp (G6)
	LES
	(
	
	(
	
	(
	
	
	
	
	

	36. 
	Michelle Rheault
	Manitoba Hydro
	(
	
	(
	
	(
	(
	
	
	
	

	37. 
	Robert Coish (G6)
	Manitoba Hydro 
	(
	
	(
	
	(
	(
	
	
	
	

	38. 
	Tom Mielnik (I) (G6)
	MidAmerican Energy Co (MEC)
	
	
	(
	
	
	
	
	
	
	

	39. 
	Dennis Kimm
	MidAmerican Energy Generation/Trading (MEC – Trading)
	
	
	(
	
	(
	(
	
	
	
	

	40. 
	Larry Middleton (G9)
	Midwest ISO
	
	
	
	
	
	
	
	
	
	

	41. 
	Bill Phillips (G5)
	MISO
	
	(
	
	
	
	
	
	
	
	

	42. 
	Terry Bilke (G6)
	MISO
	
	(
	
	
	
	
	
	
	
	

	43. 
	Carol Gerou(G6)
	MP
	(
	
	(
	
	(
	(
	
	
	
	

	44. 
	Mike Brytowski (G6)
	MRO
	
	
	
	
	
	
	
	
	
	(

	45. 
	Jerry Tang (G9)
	Municipal Electric Authority of GA
	(
	
	(
	
	(
	
	
	
	
	

	46. 
	Jerry Teag
	Municipal Electric Authority of GA (MEAG)
	(
	
	(
	
	(
	
	
	
	
	

	47. 
	Matt Schull (G2)
	NCMPA #1
	
	
	
	
	(
	
	
	
	
	

	48. 
	Robert W. Creighton
	Nova Scotia Power, Inc
	(
	
	
	
	
	
	
	
	
	

	49. 
	Jim Castle (G5)
	NYISO
	
	(
	
	
	
	
	
	
	
	

	50. 
	Todd Gosnell (G6)
	OPPD
	(
	
	(
	
	
	(
	
	
	
	

	51. 
	Brian Weber (G1)
	Pacificorp
	(
	
	
	
	(
	
	
	
	
	

	52. 
	C. Robert Moseley (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	53. 
	David A. Wright (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	54. 
	G. O’Neal Hamilton (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	55. 
	John E. Howard (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	56. 
	Mignon Clybum (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	57. 
	Phil Riley (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	58. 
	Randy Mitchell (G7)
	PSC of SC
	
	
	
	
	
	
	
	
	(
	

	59. 
	Chuck Falls (I) (G1)
	Salt River Project (SRP)
	(
	
	
	
	
	
	
	
	
	

	60. 
	Al McMeekin (G9)
	SC Electric & Gas
	
	
	(
	
	(
	(
	
	
	
	

	61. 
	Stan Shealy (G9)
	SC Electric& Gas
	
	
	(
	
	(
	(
	
	
	
	

	62. 
	Carter Edge (G9)
	SERC
	
	
	
	
	
	
	
	
	
	(

	63. 
	John Troha (G9)
	SERC
	
	
	
	
	
	
	
	
	
	(

	64. 
	Bob Schwermann (G1)
	SMUD
	(
	
	(
	
	(
	(
	
	
	
	

	65. 
	Brian Jobson (G1)
	SMUD
	(
	
	(
	
	(
	(
	
	
	
	

	66. 
	Dick Buckingham (G1)
	SMUD
	(
	
	(
	
	(
	(
	
	
	
	

	67. 
	Dilip Mahendra (G1)
	SMUD
	(
	
	(
	
	(
	(
	
	
	
	

	68. 
	W. Shannon Black (G1)
	SMUD
	(
	
	(
	
	(
	(
	
	
	
	

	69. 
	Phil Odonnell (G1)
	SMUD- Ops
	(
	
	(
	
	(
	(
	
	
	
	

	70. 
	Bill Botters (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	71. 
	Bryan Hill (G9)
	Southern Company Services
	
	
	
	
	(
	
	
	
	
	

	72. 
	Chuck Chakravarthi (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	73. 
	Dean Ulch (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	74. 
	DuShane Carter (G8) (G9)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	75. 
	Garey Rozier (G8)
	Southern Company Services
	
	
	
	
	(
	
	
	
	
	

	76. 
	Gary Gorham (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	77. 
	J. T. Wood (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	78. 
	Jeremy Bennett (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	79. 
	Jim Howell (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	80. 
	Jim Viikinsalo (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	81. 
	Karl Moor (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	82. 
	Marc Butts (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	83. 
	Reed Edwards (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	84. 
	Roan Carter (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	85. 
	Ron Carlsen (G8)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	86. 
	Charles Yeung (G5)
	SPP
	
	(
	
	
	
	
	
	
	
	

	87. 
	Casey Sprouse (G1)
	Sr. Term Marketer
	
	
	
	
	
	
	
	
	
	

	88. 
	Maria Denton (G1)
	SRP
	
	
	
	
	
	
	
	
	
	

	89. 
	Terri M. Kuehneman (G1)
	SRP System Operation
	
	
	
	
	
	
	
	
	
	

	90. 
	Raquel Agular (G1)
	Tucson
	(
	
	(
	
	(
	(
	
	
	
	

	91. 
	Ron Belval (G1)
	Tucson
	(
	
	(
	
	(
	(
	
	
	
	

	92. 
	Doug Bailey (G9)
	TVA
	(
	
	(
	
	(
	
	
	
	
	

	93. 
	Jim Haigh (G6)
	WAPA
	(
	
	
	
	
	
	
	
	(
	

	94. 
	Raymond Vojdani (G1)
	WAPA
	
	
	
	
	
	
	
	
	(
	

	95. 
	Mike Wells (G1)
	WECC
	
	
	
	
	
	
	
	
	
	(

	96. 
	Neal Balu (G6)
	WPS
	
	
	(
	(
	(
	(
	
	
	
	

	97. 
	Pam Oreschnick (G6)
	XEL
	(
	
	(
	
	(
	(
	
	
	
	


I – Indicates that individual comments were submitted in addition to comments submitted as part of a group

G1 – WECC MIC MIS ATC Task Force
G2 – APPA
G3 – Entergy Services
G4 – FirstEnergy
G5 – IRC Standards Review Committee
G6 – MRO
G7- PSC of SC

G8- Southern Company

G9- SERC ATC WG

Index to Questions, Comments, and Responses
81.
The drafting team combined the topics of MOD-004-0, MOD-005-0, MOD-006-0, and MOD-007-0 into the draft MOD-004-1 in an attempt to make the standard easier to follow. Do you agree with the drafting team’s decision to combine all the requirements for Capacity Benefit Margin calculation, verification, preservation, and use into a single standard? If “No,” please explain why in the comments area.


102.
The drafting team attempted to address all of the directives identified in the Federal Energy Regulatory Commission’s (FERC) Orders 890 and 693 related to CBM (summarized in Attachment 1). Do you agree that the drafting team has adequately responded to all of FERC’s directives in FERC Orders 890 and 693 related to CBM in this draft of MOD-004-1?  If “No,” please explain why in the comments area.


123.
The drafting team attempted to clearly identify the functional classes of entities responsible for complying with the proposed draft MOD-004-1 standard and expanded the applicability section of the CBM standard to include all applicable entities. Do you agree with the functional entities identified in the “Applicability” section of the draft standard?  If “No,” please identify the functional entities you believe the standard should apply to and why.


144.
The drafting team created new CBM requirements and expanded or deleted some prior CBM requirements. Do you agree with the requirements identified in the draft standard MOD-004-1?  If “No,” please explain why in the comments area.


175.
In the NERC glossary, CBM is defined as being necessary to meet “Generation Reliability Requirements.”  Do you believe the current NERC definition is adequate?  If “No,” please explain why in the comments area.


206.
In the future, LSEs will be required to request CBM. Do you believe there should be a queuing process to deal with potential conflicts between requests for CBM and transmission service requests? If “Yes” please describe how you believe the queuing process should work and whether the process should be addressed in this standard or elsewhere.


237.
Do you agree with R3.3 of MOD-004-1 that requires that CBM be algebraically subtracted from the path on which it was reserved, or should the CBM set aside be based on the response of the network by modeling the transaction from the POR to POD at the CBM import MW level?  Please explain your answer in the comments area.


268.
If the needs for capacity that resulted in a request for CBM have been met by other means (e.g., via capacity-backed transmission service or new generation), should this standard require that CBM be re-evaluated and possibly reduced (resulting in a change in ATC)?  Please explain your answer in the comments area.


289.
Do you think that Requirement R6 is appropriate for this standard?  If “No,” please explain why in the comments area.


3010.
Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?  If “Yes,” please identify the conflict in the comments area.


3311.
Please provide any other comments (that you have not already provided in response to the questions above) that you have on the draft standard MOD-001-1. Comments:


3912.
In addition to the questions above, the standard drafting team is seeking industry input on a few issues discussed during the revisions of MOD-004 thru MOD-007 related to Capacity Benefit Margin. The intent of this portion of the comment form is to solicit general feedback from the industry related to CBM. Please take a few minutes to offer your opinion relative to the questions below. It is not the intent of the drafting team to prepare formal responses to the questions below; we are solely interested in industry opinions on these issues.


4113.
With respect to draft standard MOD-004-1 R5.4, what type of deterministic and probabilistic studies do you perform or what rules do you follow to determine a Load Serving Entity’s quantity of CBM?  





1. The drafting team combined the topics of MOD-004-0, MOD-005-0, MOD-006-0, and MOD-007-0 into the draft MOD-004-1 in an attempt to make the standard easier to follow. Do you agree with the drafting team’s decision to combine all the requirements for Capacity Benefit Margin calculation, verification, preservation, and use into a single standard? If “No,” please explain why in the comments area.


Summary Consideration:  
	Question #1

	Commenter
	Yes
	No
	Comment

	BPA
	
	(
	R1 of MOD-004-1 needs to clarify that CBM procedures need only be made publicly available if the Transmission Service Provider uses CBM.

	Response: FERC has indicated that the TSP must offer CBM to its LSEs, and as such, the procedures must be posted.  This would be based on generation reliability requirements.  This is for transparency and information for new merchant activity.

	IESO

IRC SRC
	
	(
	We do not agree with combining all of the above mentioned standards in one standard (MOD-004). This coupled with the need to make a distinction between the ATC calculation methods used and the descriptive procedure for resource adequacy assessment has made the new MOD-004 very convoluted, and the requirements difficult to follow and measured. If combining some standards of related objective is desired, a more manageable and appropriate alternative is to divide these 4 standards into two groups - one on the determining and verifying the calculation of CBM and the other on the use and reporting of use of CBM.

	Response: Based on responses received, the consensus is to keep the single standard. 

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	(
	(
	We highly recommend sticking to one single standard to address all of the CBM requirements.

	Response:   Most responders agree and this will be the consensus.

	Entergy Services
	(
	
	Entergy supports combination of CBM Calculation, verification, preservation, and use into one standard.

	Response: Most responders agree and this will be the consensus.

	Duke Energy
	(
	
	

	WECC MIC MIS ATC Task Force
	(
	
	

	APPA
	(
	
	

	FirstEnergy
	(
	
	

	MEAG
	(
	
	

	MEC Trading
	(
	
	

	MEC
	(
	
	

	MRO
	(
	
	

	Nova Scotia Power
	(
	
	

	PSC of SC
	(
	
	

	Southern Co Svcs
	(
	
	

	SERC ATCWG
	(
	
	


2. The drafting team attempted to address all of the directives identified in the Federal Energy Regulatory Commission’s (FERC) Orders 890 and 693 related to CBM (summarized in Attachment 1). Do you agree that the drafting team has adequately responded to all of FERC’s directives in FERC Orders 890 and 693 related to CBM in this draft of MOD-004-1?  If “No,” please explain why in the comments area.

Summary Consideration:  

	Question #2

	Commenter
	Yes
	No
	Comment

	APPA
	
	(
	The Standard, as written, will continue to allow the applicable functions to define CBM without any amount of consistency, which is what Order 890 wanted the Standards to accomplish.  In addition, the Standard does not recognize that ATC is calculated on 3 different time horizons and CBM transmission reservation will vary from the Monthly to the Daily to the Hourly calculations.

	Response: The standard requires the LSE “prove” and document their need for CBM as per section 4.  It is quite possible that these requirements will not be consistent across the country. By law, the ERO cannot determine these requirements but is fully responsible for insuring that the LSE is stating these requirements accurately as determined by “the entity responsible for establishing the Load-Serving Entity’s resource adequacy requirements.” (see requirement 4.2)  However, it is expected that most requirements will be based on some LOLE requirement.  As such, all of the requirements in section 6 are designed to provide a framework for consistency of the LOLP calculations used to determine LOLE.  It is expected that stiff penalties will be imposed on LSE’s who request CBM that is inconsistent with their resource adequacy requirements.  The compliance monitor will be required to insure that the LSE is not deviating from the resource adequacy requirements of the “entity responsible” for these requirements.  

	MEC Trading

MEC

MRO
	
	(
	1.  R3.1.2, R3.2.1, and R3.3.1 should be clarified by matching the language in FERC 890 as follows:  "The Transmission Service Provider shall not include transmission capacity set aside for THE INCREMENTAL POWER FLOWS RESULTING FROM reserve sharing in CBM."   It could be that CBM is reserved to the LSE's generation reliability criteria which is based upon a reserve sharing requirement.  It is just that those flows that result from increment power flows resulting from reserve sharing are to be included in TRM.  
2.  In R1.1, it would be better to include the exact language from Order 890 in the parantheses to explain the resource adequacy requirements that are to be included in the CBM, as follows:  "…..for meeting its resource adequacy requirement (i.e., its procedure for setting aside of Transfer Capability in the form of CBM to MEET a Load-Serving Entity's GENERATION RELIABILITY CRITERIA.)  
890 and 693 also require some level of consistency and the methodology requirements for CBM appear to be fill-in-the-blank.

	Response: 1.) We agree, and have updated the language.
2.) We feel the existing language is appropriate, based on FERC’s use of the term in attachment C, paragraph e of the pro-forma OATT included with Order 890.

	Nova Scotia Power
	(
	(
	What happened to the requirement that CBM is a planning quantity only and tends to zero in the operating horizon.  Does this mean that CBM cannot be used for non-firm import transactions?

	Response: This requirement has been addressed in the specific ATC standards, such that non-firm ATC is increased by unscheduled CBM.

	IESO

IRC SRC
	(
	
	In a general sense, yes, but the amount of detail seems to exceed the requirements implied by the FERC directives, which has resulted in repetitions and circular requirements. For example, R5 repeats most of R4's requirements, except in R5 the retention periods are specified, which arguably should be covered in the compliance section. Another example is R6.1 suggests that the CBM is calculated as a parameter or a by-product of a resource adequacy assessment, but R6.2 requires that the load assumption of the CBM study be the same as that assumed in the the resource adequacy assessment.

	Response: The amount of detail may exceed FERC directives but is considered necessary by those writing the standard.  Based on comments we have received from FERC, they did not intend to limit what the experts thought was necessary.  You are correct in that CBM is a by-product of resource adequacy assessments required by whatever entity directs the LSE to meet their requirements.  All of the requirements under R6 were intended as a template to make compliance with the CBM standard easier for both the LSE and compliance monitor.  We will look to clarify and improve the standard to consolidate where possible.  

	ERCOT
	(
	
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	Duke Energy
	(
	
	

	Entergy Services
	(
	
	

	FirstEnergy
	(
	
	

	ITC
	(
	
	

	PSC of SC
	(
	
	

	Southern Co Svcs
	(
	
	


3. The drafting team attempted to clearly identify the functional classes of entities responsible for complying with the proposed draft MOD-004-1 standard and expanded the applicability section of the CBM standard to include all applicable entities. Do you agree with the functional entities identified in the “Applicability” section of the draft standard?  If “No,” please identify the functional entities you believe the standard should apply to and why.
Summary Consideration:  
	Question #3

	Commenter
	Yes
	No
	Comment

	APPA
	
	(
	All throughout this Standard the author has Reliability Functions performing duties that are counter to those duties prescribe in the Functional Model.  In addition, the SDT has incorrectly included requirements for scheduling of energy, maintenance schedules, and so-on, which are preformed by other Reliability Functions in other Standards.

	Response:   You are correct that this is debatable.  However, you have not identified “the functional entities you believe the standard should apply to and why”.  

	MEC
	
	(
	I believe that the Functional Entity as provided in A.4.1.1 should not be qualified, for example,  A.4.1.1 should just list Load-Serving Entity.  However, if the Standards Drafting Team continues to list only those “Load-Serving Entity that is entitled and would like to have transmission capability set aside in the form of CBM” then I recommend that “would like” changed to “needed”  in other words, reservation of CBM should not be based on likes but based on needs as demonstrated with the studies to be provided in support of the CBM.

	Response:  Section 4.2 should demonstrate need.  If you can define projected CBM requirements, you have demonstrated need.  It MUST still be backed up by a documentable resource adequacy requirement imposed on the LSE by an appropriate entity.  We have modified the language to eliminate “like.”

	MRO
	
	(
	The MRO believes that the Functional Entity as provided in A.4.1.1 should not be qualified, for example, the MRO recommends that A.4.1.1 just list Load-Serving Entity.  However, if the Standards Drafting Team continues to list only those “Load-Serving Entity that is entitled and would like to have transmission capability set aside in the form of CBM” then the MRO recommends that “would like” changed to “needed”  in other words, reservation of CBM should not be based on likes but based on needs as demonstrated with the studies to be provided in support of the CBM.

	Response:   see response to MEC above

	IESO

IRC SRC
	
	(
	There is only one requirement for the Transmission Planner, and that is in R13. However, we do not feel that R13 belongs to this standard. The inclusion of requested and projected CBM values in its planning process belongs to a standard that stipulate requirements for transmission planning. If this requirement is removed or relocated, then TP does not need to be included as an applicable entity. Similar thoughts for the applicability of the BA.

	Response:   We disagree.  If CBM is not considered an appropriate value for planning purposes, we don’t believe it would ever qualify as an appropriate margin in the operating environment.  The basic premise for CBM is that transmission customers paid for this margin when the transmission system was originally built.  The basic assumption is that the original justification for existing transmission was partly to provide for a transmission path to external resources to meet resource adequacy requirements.   The maintenance of this need in the planning process is considered part of this “assumption”.   If the customer is no longer willing to pay for this margin, it should be eliminated if it is no longer supportable by the system in the future.

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	WECC MIC MIS ATC Task Force
	(
	
	

	Duke Energy
	(
	
	

	Entergy Services
	(
	
	

	FirstEnergy
	(
	
	

	ITC
	(
	
	

	MEAG
	(
	
	

	MEC Trading
	(
	
	

	PSC of SC
	(
	
	

	Southern Co Svcs
	(
	
	

	SERC ATCWG
	(
	
	


4. The drafting team created new CBM requirements and expanded or deleted some prior CBM requirements. Do you agree with the requirements identified in the draft standard MOD-004-1?  If “No,” please explain why in the comments area.

Summary Consideration:  

	Question #4

	Commenter
	Yes
	No
	Comment

	BPA
	
	
	The discussion of CBM in Order 890 and NERC’s definition of CBM refer only to generation reliability requirements, not resource adequacy requirements.  Please clarify what is meant by “resource adequacy requirements”.

	Response:   The “resource adequacy requirement” is the same as the “planning” reserve margin as defined by “the entity responsible for establishing the Load-Serving Entity’s resource adequacy requirements.” (see requirement 4.2).  For those entities with LOLE requirements, it is usually the LSE’s dependence on external resources to meet those LOLE requirements.  

A hypothetical example:  Based on internal resources and contracted external resources, an LSE can meet a 1 event in 5 year LOLE.  If the LSE has a resource adequacy requirement of 1 event in 10 years based on a regional or state requirement,  the LSE would have an additional dependency on external resources to meet their 1 event in 10 year criteria  The “amount of import capability” needed to make this improvement in LOLE from 1 event in 5 years to 1 event in 10 years would be the “Projected CBM import MW requirement” defined in requirement R5.1.  

	WECC MIC MIS ATC Task Force
	
	(
	See general comments. END OF DAY

	Response: See response to general comments.

	APPA
	
	(
	The Standard has Functional Entities performing duties that is contrary to the Functional Model’s directions.  Examples are in Requirement R 1.3 and R 10; the scheduling of energy over the transmission capacity that is designated CBM only occur during the active hour to meet “generation reliability requirements.”  The Balancing Authority is the only Function that has that authority to schedule energy during the real-time.  This Standard, as written, will create an environment where confusion will exist during critical situation in the real-time and cause the possibility of a command and control break down during a critical situation in the real-time.  To require the Transmission Service Provider or the Load Serving Entity to be responsible for declaring emergencies or scheduling energy during those emergencies will create very non-reliable situation.  A large part of this Standard needs to be rewritten to ensure reliable operations.

	Response:  WE NEED TO REVIEW THE FUNCITONAL MODEL. We expect that the use of CBM will occur during an EEA2 event.  To our knowledge, an LSE can request, within time limits, transmission service.  If the LSE also happens to be the BA or the BA is designated by the LSE to act in their behalf, the real-time request for emergency service should happen.  In your region, the TSP may defer to the BA if that is an appropriate mechanism.   We would expect the TSP to “make publicly available” this procedure and it could include the BA.

	IESO

IRC SRC
	
	(
	Please see the above comments on some of the repetitive and extraneous requirements.

	Response:   See response to question 2.

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See the response to IRC comments.

	MEAG
	
	(
	R8.1 needs clarification.

	Response:  we agree

	MEC Trading
	
	(
	Many of the requirements are fill-in-the-blank (Isn't R1.2 a requirement to "tell me how you do it? and shouldn't it be "this is how you do it")

	Response:  CBM is an unusual “margin”.  It is based on requirements that the ERO cannot dictate.  A very important part of this standard is section 4.  It requires the LSE to prove and document the resource adequacy requirements used to justify their CBM request.  We expect these requirements will have a historical state, regional, or other entity basis and “be verifiable”.    If this proof and justification is forthcoming, it will be based on supportable requirements imposed by  “the entity responsible for establishing the Load-Serving Entity’s resource adequacy requirements.” (see requirement 4.2)  
The team will reconsider this item for explicitly defining how CBM will be allocated across paths or flowgates. 

	MEC
	
	(
	1. I recommend that R2 be changed from "following a request by an entity with a valid need for such information" to "following a request by a Functional Entity with a valid need for such information, subject to security and confidentiality requirements."  

2.  R5.3 does not represent all the conditions that organizationally exist, therefore, I recommend that a bullet be added under R5.3 as follows"  "Planning Reserve Sharing Group reserve margin to meet the Regional Reliability Organization resource adequacy requirements".  

3.  R6.2 should refer to "a load forecast that has a 50/50% probability of occurrence".  This means that there is a 50% probability that the load will actually be below the forecast and there is a 50% probability that the load is above the forecast.  A statement that it is a 50% probability forecast has no mening without adding some information to it.  For example, is it a 50% Confidence Interval forecast in which case it would be two numbers with 50 percent probability that the actual number will be within the two numbers.  

	Response :  1. Recommendation is an improvement and will be incorporated.    2. All the bullet items cover this and there isn’t any need to add this(LSEs can join Planning Reserve Sharing Groups to meet any one of the 4 bullet items).  3. We have accepted your suggestion.

	
	
	(
	1.  MRO recommends that R2 be changed from "following a request by an entity with a valid need for such information" to "following a request by a Functional Entity with a valid need for such information, subject to security and confidentiality requirements."  2.  R5.3 does not represent all the conditions that organizationally exist in the MRO, therefore, we recommend that a bullet be added under R5.3 as follows"  "Planning Reserve Sharing Group reserve margin to meet the Regional Reliability Organization resource adequacy requirements".  3.  R6.2 should refer to "a load forecast that has a 50/50% probability of occurrence".  This means that there is a 50% probability that the load will actually be below the forecast and there is a 50% probability that the load is above the forecast.  A statement that it is a 50% probability forecast has no mening without adding some information to it.  For example, is it a 50% Confidence Interval forecast in which case it would be two numbers with 50 percent probability that the actual number will be within the two numbers.   

	Response:  see response to MEC

	Southern Co Svcs
	
	(
	5.2 comments:  The wording in R5.2 of the proposed standard implies that only one of the identified entities has a role in determining the Load-Serving Entity's resource adequacy requirements.  These adequacy requirement could be determined by one or more or none of the listed entities.  This requirement should be reworded to require the LSE to list the responsible entity(ies).

Suggested wording:

R5.2.  Identify the entity(ies) (e.g., the municipality, state commission, Regional Transmission Organization/Independent System Operator, Regional Reliability Organization, or Regional Entity) responsible for establishing the Load-Serving Entity's resource adequacy requirements. 

5.3 comments:  The Load-Serving entity should be added to the list in R5.3.

6.4 comments:  The resources referenced in R6.4 should be limited to only those owned or controlled by the Load-Serving entity. Therefore, R6.4 should be reworded and R6.4.2. should be removed.

Suggested wording:

"R6.4.  Identify all resources that are owned or controlled by the Load-Serving Entity in its area excluded from serving the Load-Serving Entity's load, including:"

6.5 & 6.7.1 comments:  Replace rates with assumptions. 

6.7.5 comments (grammatical):  Change effect to affect.

	Response:  we will use the suggested wording of R5.2    Re: R5.3  We have restructured the requirement to address you r concern.   Re: R6.4, We have accepted your language, and deleted the sub-requirements.     Accetped both comments.

	SERC ATCWG
	
	(
	1. R8.1 needs clarification. 
2. As drafted, R5.2 implies that only one of the identified entities has a role in determining the Load-Serving Entity's resource adequacy requirements.  This adequacy requirement could be determined by more than one or none of the listed entities.  This requirement should be reworded to require the LSE to disclose the responsible entity(ies).

3. The resources referenced in R6.4 should be limited to only those owned or controlled by the Load-Serving entity. Therefore, R6.4 should be reworded to state, and R6.4.2. should be removed.

	Response:  1. We agree R8.1 needs clarification. 2.  R5.2 will be reworded.  3. See response to Southern Company above regarding R6.4 

	Entergy Services
	(
	
	

	FirstEnergy
	(
	
	

	ITC
	(
	
	

	PSC of SC
	(
	
	


5. In the NERC glossary, CBM is defined as being necessary to meet “Generation Reliability Requirements.”  Do you believe the current NERC definition is adequate?  If “No,” please explain why in the comments area.
Summary Consideration:  
	Question #5

	Commenter
	Yes
	No
	Comment

	WECC MIC MIS ATC Task Force
	
	(
	GRR is used as a defined term without a definition.  If retained as a defined term it needs a definition.

As to the definition of CBM, the Team suggests a more specific NERC CBM definition as follows:
“Capacity Benefit Margin”
CBM is the amount of firm import transmission capability, requested by the LSE, to exclusively serve identified load only during periods of emergency generation deficiencies extending beyond the beginning of the scheduling hour in which the emergency generation deficiency occurs.”  

Commentary:

The “located on” was excluded from the suggested language because the definition would have to generically identify the system of “that TSP” – which TSP is “that”?  This is impractical when the definition is written from the standpoint of the LSE as opposed to the existing TSP paradigm.  

“…[T]o enable access by the LSE to generation from interconnected systems” was deleted as that is conveyed in the determinant “import” as suggested in the new definition. 

“Preservation of CBM for an LSE allows that entity to reduce its installed generating capacity below that which may otherwise have been necessary without interconnections to meet its generation reliability requirements” was excluded from the suggested definition as it is merely commentary and adds nothing to the definition.

	Response: GRR was not intended to be treated as a defined term, and it is not indicated as such in the actual definition. We will consider the text in your definition, but note it does not completely define CBM.

	APPA
	
	(
	The definition of CBM is causing the industry to calculate CBM is many different ways.  The definition of CBM states that CBM is used to meet an entity’s “generation reliability requirements.”  Some entities are saying that the use of CBM to handle “Planning Reserves” is the correct and reserve transmission capacity as CBM to bring in energy from energy resources outside the BA’s area that were determined when the entity calculated “Planning Reserves.”  Other entities calculate the amount of CBM capacity based on “Operating Reserves.”  As the definition of CBM is written either one could be correct or incorrect.  This definition worked well when the industry maintained reliability of the BES from Reliability Policies.

The CBM definition’s undefined term “generation reliability requirement” allows an excessive amount of transmission capacity to be removed from the BES as CBM and prevents the correct amount of ATC to be placed on the market for use by other entities.  In addition, the definition of CBM is so general it is impossible for a Compliance Program to determine if an entity is non-compliant.

	Response:   The intent of all of the new requirements is that the LSE must prove, to the compliance monitors satisfaction, that it is properly stating its need for transmission margin to meet its “resource adequacy requirements.  It is the full intent of the language used in the requirements to prevent the overstatement of CBM that you imply will happen.  The compliance monitor will have significant responsibility to make this determination.  

	IESO

IRC SRC
	
	(
	We should redefine it along the line that is provided in FERC's directive that CBM is required for generation deficiency only.

	Response:  We think the definition covers your concern.

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	
	(
	The NERC glossary and CBM definition should be expanded to include other terms, such as "Resource Adequacy" to fully address this issue.  This expansion may come as a result of future LSE requests for CBM based on a justification not currently envisioned.

	Response:  While we understand this desire, the definition is a high-level description of CBM; the requirements contain all the details, and therefore, we don’t believe that the definition should be expanded to include all this detail.

	Nova Scotia Power
	
	(
	CBM is required to meet Resource Adequacy Requirements. Generation Reliability implies that access to transmission makes generation (and generators) more reliable. Resource Adequacy ensures that firm load can be supplied to a level of reliability adopted by the RRO. The resources to meet those requirements include reserve margin provided by excess generation or interruptable load. If the "resource" is located across a posted path, then CBM provides access to the resource.  Since "resource" can include generation and load, then the NERC definition is insufficient.  

	Response:    We have modified the definition.

	MEC

MRO
	(
	(
	It would be better if CBM is defined in the NERC glossary as provided in the FERC Order 890 as meeting "Generation Reliability Criteria" however, the existing definition is adequate.

	Response: We have modified the definition, and the new language is more appropriate. 

	FirstEnergy
	(
	
	

	SERC ATCWG
	(
	
	

	Duke Energy
	(
	
	

	Entergy Services
	(
	
	

	MEAG
	(
	
	

	MEC Trading
	(
	
	

	PSC of SC
	(
	
	

	Southern Co Svcs
	(
	
	


6. In the future, LSEs will be required to request CBM. Do you believe there should be a queuing process to deal with potential conflicts between requests for CBM and transmission service requests? If “Yes” please describe how you believe the queuing process should work and whether the process should be addressed in this standard or elsewhere.

Summary Consideration:  NEED TO ADDRESS THIS IN DETAIL
	Question #6

	Commenter
	Yes
	No
	Comment

	PSC of SC
	
	
	Our comments are from a regulatory perspective.  This is strictly a technical issue.

	Response: Note that stakeholders do not need to respond to every question on the comment form.  

	APPA
	
	(
	The needs to secure a transmission path to reach generation resources outside a LSE Balancing Authority Area that will “meet generation reliability requirements” are extremely important to reliable operations of the BES.  Since the Reliability Standards are written to insure reliable operations a TSP would be hard pressed to deny an LSE the ability to secure resources to meet “generation reliability requirements.”  If a TSP denied this service it could be exposed to acts of non-compliance should the BES’s integrity diminish because the TSP denied the LSE the CBM capacity.

	Response: 

	Entergy Services
	
	(
	There is no need to have a queue process for CBM.  Transmission Service Requests are approved if ATC is available and ATC is calculated using CBM.  Therefore, CBM needs to be set aside first to accurately calculate ATC before Transmission Service Requests can be approved.

	Response: 

	FirstEnergy
	
	(
	CBM is a reliability product that must be available when called upon.  Transmission service requests are a business product that may have reliability impacts if properly scheduled.  Any queing process would have to give priority to CBM.

	Response: 

	IESO

IRC SRC
	
	(
	By virtue of the definition and formula of ATC determination, CBM is the component that must be allotted before any transmission service requests are assessed and granted.

	Response: 

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	
	(
	Absolutely not.  The original justification for CBM is that the transmission system was built for the contingencies envisioned by CBM.  It was paid for by the original local network customers.  No one should be allowed, by queuing process, to supercede this.   However, if there is not sufficient transmission capacity to provide a CBM margin as well as requests for transmission service, the system should be expanded to provide the needed capacity.  While there is a system impact process to cover this situation, it has not worked well in the last 10 years.  Improved import capacity into a deficient system to meet all needs should be addressed in the planning process not some queuing process.

	Response: 

	MEC

MRO
	
	(
	CBM is basic reliability requirement. If not met, transmission expansion planning should plan for it and should not sell addition transmission service on the same path/flowgate.

	Response: 

	SERC ATCWG
	
	(
	We need more clarification on the queing process.  What is the definition.

	Response: 

	WECC MIC MIS ATC Task Force
	(
	
	The question is unclear at to whether it applied to an R4/R6 “request to set aside” or an R8 “request to schedule energy.”  A queuing should apply at the initial “request” stage (R4 and R6).  Since by definition, CBM is a “firm” commitment, its request under R4/R6 would place it in the highest priority queue.  If addressed there, no queuing problem exists in R8.  Since the R8 “schedule” cannot take place until the RC declares an EE2 under R10; and whereas the R4/R6 set the priority, it would seem there would be no queuing issue even in emergency conditions.  If this is not the case, the NERC Team should clarify how each of these “Rs” interplays sequentially.   

R4.  In R4 CBM is “requested” to comply with a regulatory mandate.  This would include a body such as a state or local governance board in which case the LSE is at the mercy of the regulatory body. 
R6.  We read R6 as an alternative method for determining CBM “IF” the regulatory approach in R4 does not apply.  (If that’s not the case that should be clarified.)  

R5.  Either way, in R5 the approach and the details get documented and retained. 
R7-R8.  In R7 the TSP makes sure there is enough to go around in anticipation that the LSE can “schedule” it when needed under R8. 

If the request for queuing is under R4, the LSE’s request should have the absolute highest priority; otherwise, it could be forced into immediate noncompliance with it regulatory mandate.  Since the requested amount under R4 or R6 is set aside as firm before R8 is triggered (with the condition precedent under R10), then under R8 queuing should not be a problem as the capability requested in R4 was already set aside in R7.  
Thus, if the question addresses R4 – “request” to “set aside” – than “yes” there should be a queue and the LSE should be first.
If the question addresses, R8 – “request” to “schedule” the question is actually moot as the capacity has already been set aside as firm by the TSP in R7 and queuing should simply be in accordance with the now applicable rules.  Firm first… others next.

	Response:   Re your first comment: Assuming that all LSEs have submitted their request per section R4.2, there should be no need for queuing as long as the appropriate CBM was set aside in the first place.  

Re: your 2nd comment:  We believe all LSEs are “at the mercy” of those entities responsible for setting their resource adequacy requirements.  I.e., you can’t ask for more CBM then they would allow you have via a CBM MW import requirement.  If “there is not enough to go around” , you need to go back to the responsible entities (the ones setting your rates) and request additional transmission to meet resource adequacy.  If they don’t agree, you don’t have any justification.
Re: your 3rd comment:  The last comment implies there shouldn’t be a queuing process.  If the LSE’s request for CBM is of the highest priority, there is no queuing, they come first.  We agree the LSE should come first and get all they ask for.

	Duke Energy
	(
	
	CBM requests should be addressed on a "first-come first-served" basis.  LSE's are required to submit annual 10-year projections to the Transmission Service Provider.  CBM requests will have lower priority than existing queued firm transmission service requests.  NAESB should formalize the queuing process.

	Response:  We don’t agree. There is a general assumption that the “entity responsible for resource adequacy” also was involved in the regulation of transmission rates.  To the extent that the transmission was constructed to provide access to external resources to meet resource adequacy requirements, then access by all customers paying for this transmission service is assumed.  To exclude any of these customers by a queuing process discriminates them from the transmission system they originally paid for through their rates.  What you’re suggesting is that those customers who came later by buying firm transmission service can now preclude customers who already paid for the system.  This is contrary to the original premise on which CBM is based.

	MEC Trading
	(
	
	This should be address in the TSPs OATT and filed at FERC.  (Maybe it could be a requirement to just that in this standard)

	Response:  FERC has already stated that transmission rates must be adjusted to account for those that use or don’t use CBM.

	Nova Scotia Power
	(
	
	There can easily be conflicts for multple LSE's requesting CBM, and there is a problem if the aggregate of all CBM requests exceeds the transmission capacity (R7). Therefore, if this is a new requirement, then there must be some "open season" to collect requests within a fixed time window similar to the Section 2.1 of FERC Order 888 pro-forma tariff.  The CBM would be awarded to all comers if there is sufficient capacity but is allocated in lottery fashion if there are more requests than capacity.  However, there is the question of the role of ETC in allocating CBM by this method.  How much transmission capacity would be offered for CBM? I assume that existing Transmission Reservations cannot be impacted by the CBM bidding process, so only ATC for the planning horizon (if there is any) can be offered.  What would an LSE pay for CBM.  If it was required to pay the same as it would for a long-term (firm) reservation, then are they really getting CBM or are they getting a long-term firm Transmission Reservation). Some entities interpret Section 2.1 of Order 888 pro-forma tariff to permit bidding on amount and duration to award capacity to the "highest net present value" of the capacity.  If there is no charge for CBM, how does the TSE recover lost transmission revenue? It seems that many of these questions must be directed to NAESB

	Southern Co Svcs
	(
	
	The request to reserve (set aside) a CBM amount by the LSE should be treated like any other firm transmission service request.

	Response:   If the filed requests for CBM in section R4.2 exceed the transmission capacity available, it should be discovered at that point (re; your statement “aggregate of all CBM requests exceeds the transmission capacity).  It is important to note that R4 requests are based on recognized historic entities responsible for resource adequacy.  If the system is not capable of handling these requirements (as would happen if there wasn’t sufficient capacity to cover all “valid” CBM requests), then this entity should be consulted as to what to do.  A queuing process will not result in someone meeting their resource adequacy responsibility.  Note: the FERC order does require that those not requiring CBM should have their rates adjusted accordingly.  The assumption is that all existing transmission rates already presume the LSE is paying for CBM service.  CBM should not be treated like any other requests, unless and until the rate structures are changed to reflect this.  The current presumption, which is true, is that customers have already paid for CBM via the existing transmission rate structure (with network rates being the most noteworthy).


7. Do you agree with R3.3 of MOD-004-1 that requires that CBM be algebraically subtracted from the path on which it was reserved, or should the CBM set aside be based on the response of the network by modeling the transaction from the POR to POD at the CBM import MW level?  Please explain your answer in the comments area.
Summary Consideration:  

	Question #7

	Commenter
	Yes
	No
	Comment

	PSC of SC
	
	
	Our comments are from a regulatory perspective.  This is strictly a technical issue.

	Response: Note that stakeholders do not need to respond to every question on the comment form.  

	MEC Trading
	
	
	(Not sure if the Yes/No is for the first part of thequestion or the second)  Network Response on path should be based upon network response by modeling it from the POR to the POD.

	Response: agree.  THIS IS SIMILAR TO THE QUESTIONS ABOUT STANDARDIZING ALLOCATION OF CBM TO PATHS OR FLOWGATES.  NEEDS DETAILED DISCUSSION.

	IESO
	
	
	The way it is specified in R3.3 (and R3.2) is the correct approach.

	Response:  agree

	ERCOT
	(
	
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	APPA
	
	(
	The use of CBM capacity is just a reservation of transmission capacity that will only be used should an adverse situation develop in the BES and generation resources are needed to meet “generation reliability requirements.”  However, those generation resources are out side the LSE’s Balancing Authority’s Area.  The simulation of energy over the CBM would be a study to determine how the system reacted under adverse operating conditions of the BES.  How the use of CBM transmission capacity is treated will be determined how the final definition of CBM is written.  Presently, both method would be needed because CBM is used for different purposes throughout the industry.

	Response: In general, we agree with your observations.  However, we disagree that CBM should be used for “different purposes.”  The intent of this standard is to specify what purposes CBM may be used for.

	Duke Energy
	
	(
	The standard should be flexible enough to allow the Transmission Service Provider to use either method which best supports reliability in their control area.

	Response:  that’s the way it’s going.  NOTE: WE’LL NEED TO ADDRESS THE WAY THIS REQUESTED.  WHAT IF SOMEONE WANTS TO RESERVE A MONTH OF CBM? A SEASON?  WE’LL NEED TO DISCUSS THIS IN QUEUEING AND SUCH.  WHAT ABOUT ROLL-OVER RIGHTS?

	Entergy Services
	
	(
	CBM should be set aside on a path based on the response of CBM import MW level on that path.  This should be treated similar to impact of loads or generation on paths by including their response on paths rather than algebraically subtracting from the path..

	Response: For Area interchange, should be set aside on paths, based on CBM level on requested path.  

	IRCSRC
	
	(
	CBM on path/flowgate should be the ‘max’ rather than ‘sum’ of all that’s required to meet each individual LSE’s resource adequacy requirement. Reasoning: Generation emergencies don’t happen all at once. Reserve a ‘sum’ is beyond the 1-day-in-10-year criterion (or whatever criterion that’s used by the region), and is not an efficient way of utilizing transmission capacity..

	Response: This may or may not be true based on how the individual LSEs are expected to meet their resource adequacy requirements.  Many CBM MW import requirements are determined for a single area (such as a BA) based on all the load and all the generation committed to those loads.  The sum of the individual LSE’s share of CBM would equal this total requirement.  If they are determined separately, which may be the case in some areas, you are correct in that the maximum should not exceed a cumulative LOLE for the entire area.  This should be included in the documentation by an LSE so as to not overstate the case.  This is a good question, and we’ll need to think about this and discuss.  Maybe the Planning Coordinator has some responsibility to ensure the CBM analysis is done on a simultaneous basis, rather than non-simultaneous? Maybe if the LSEs don’t do a joint study, the TSP can limit to the max per interface?  We need to put this in the agenda for next week.

	ITC
	
	(
	It should be based on the response of the network to the most likely sources.  It is important that the availability of generation in the source area be considered when doing this.  For example, assuming a source network with minimal reserves would be a poor assumption.  This is an area that will ultimately require a very astute compliance monitor to determine compliance.

	Response:  
This is not a NERC issue, but really a FERC or Market Monitor issue.  From the NERC perspective, the TSP should base their analysis on the request made by the LSE.

	MEC

MRO
	
	(
	CBM on path/flowgate should be the ‘max’ rather than ‘sum’ of all that’s required to meet each individual LSE’s resource adequacy requirement. Reasoning: Generation emergencies don’t happen all at once. Reserve a ‘sum’ is beyond the 1-day-in-10-year criterion (or whatever criterion that’s used by the region), and is not an efficient way of utilizing transmission capacity.     

	Response: see response to IRCSRC above.  We need to consider this in more depth.  What if it is a JOU? E.g., one generator 1000MW, 4 shares 250 each, TSP grants 250CBM (simultaneous), unit goes 750MW short?

	Nova Scotia Power
	(
	(
	It will depend on where the LSE is located in relation to the interface. For example, can an LSE request CBM to access reserve capacity two systems away?  Let's say that there are there radially connected systems A is connected to B and C is is only connected to B.  LSE#1 in A requests CBM through B to access capacity in C. LSE#2 requests access to capacity in A. In assigning import CBM on the A-B interface, LSE B must consider that the requirement for capacity reserve is due to a shortage in B or in C or to a lesser probability in B+C.  

	Response: You have pointed out the importance of an LSE picking a path to the most likely sources of reserve capacity.  This is why the LSE must request and not the TSP.  We need check to make sure that the standard applies to a TSP, and you can only set aside capability on the system in which your reside.  If not, we need to clarify this.  Maybe say “qualified under the TSPs tariff”?

	FirstEnergy
	(
	
	The posted ATC for the CBM reserved path should have been based on the network response or contractual limit for that POR to POD, and thus subtracting CBM on that path is consistent with the ATC determination.

	Response: We will investigate.  RSP should be algebraic on the ATC side, but other methodologies will need to be impact-based.  Does this go into ATC or TTC (another question).  Maybe can’t go in TTC, but is the first thing taken off the TTC?

	MEAG
	(
	
	The use of CBM capacity is for LSE under any potential emergency of generation deficiency. By modeling the CBM as the transaction from the POR to POD at the required CBM import MW level would treat the adverse operation as a normal condition and reduce the import TTC for the TSP.  

	Response: As far as we know that is the only way to do it.  Keep in mind that the “true normal” condition is that the CBM would be released for non-firm transmission service on nearly all days.  It is expected that CBM would only be called upon on very rare occasions when actual operating reserves are reduced to near zero levels as a result of generator outage.  

	Southern Co Svcs
	(
	
	For this method, a maximum TTC is calculated for each path, and the CBM set aside is decremented from that path to yield the remaining capacity available for Firm use.  The network response for the CBM set aside (POR to POD) is considered and reflected in the TTC when it is calculated.  To consider the network response of the CBM set aside for a second time would result in a lower value than the requested amount being decremented from the requested path.  This could result in an over-commitment for that path.

	Response:  the group can talk about when is the appropriate time to deduct.  Obviously , it’s only once.   This has to do with scheduling.  How do you ensure that if you did network response that the schedule (when activated) can flow?  Does the operator need to approve the CBM schedule?  Is it tagged?  Etc…


8. If the needs for capacity that resulted in a request for CBM have been met by other means (e.g., via capacity-backed transmission service or new generation), should this standard require that CBM be re-evaluated and possibly reduced (resulting in a change in ATC)?  Please explain your answer in the comments area.

Summary Consideration:  

	Question #8

	Commenter
	Yes
	No
	Comment

	PSC of SC
	
	
	Our comments are from a regulatory perspective.  This is strictly a technical issue.

	Response: Note that stakeholders do not need to respond to every question on the comment form.  

	Southern Co Svcs
	
	(
	This could facilitate the opportunity for hording transmission capacity. The standard as drafted requires the LSE to request CBM as needed and maintain the proper documentation as required.

	Response: It can’t be hoarding if the CBM is reduced.  Currently, many TSPs set aside CBM but fail to reduce it when LSE’s make additional firm purchases, thus reducing their LOLE when CBM is not reduced.  It is also conceivable that an LSE may not renew a purchase thus increasing their LOLE.  In that instance, the CBM should be increased.   A new requirement to adjust CBM when firm external purchases by LSEs change would prevent hoarding.  It will require the TSP to keep a running tab of CBM which could be different for each time period depending on the duration of these external purchases. 
This should be handled when we do the annual update.  That update should reflect changes.  Maybe we need to change the update requirment to do it?  The TSP maybe can set some recalc timelines or thresholds?  E.g., it must be recalced if you do a purchase that is equal to some percentage of your CBM?  Maybe we make it the burden of the LSE to make it accurate, and if its not, auditing or FERC can penalize him as appropriate? 

	WECC MIC MIS ATC Task Force
	(
	
	CBM should be called on only after TRM has been utilized during 0-59 minutes.  Rolling into 60+ minutes, CBM should be called on.  That said, as the foundational emergency subsides there should be a statement in the standard to “unwind” the utilization of CBM.  If, for example, an LSE had reserved 100 MW of CBM in accordance with R4 but when required to use that capacity under R8 could actually serve 60 MW by other means, then CBM should be reduced to 40 MW and ATC increased accordingly.     

	Response:    This question was intended not to cover decrementing of CBM when scheduled, but decrementing of CBM when assumptions change regarding how much is needed.  We don’t believe the Firm ATC will change, as the “reserved” capacity for CBM will simply turn into “scheduled” energy flow.  The Non-Firm ATC would decrease, as the CBM that could be sold as non-firm would decrease.

	APPA
	(
	
	Reducing the CBM because new generation is built in the LSE’s Balancing Authority’s Area would be a financial decision by the LSE.  I do not believe this Standard has authority to mandate financial decisions.  However if new reliability rules are passed that limit the amount of resources located outside the LSE's Balancing Authority’s Area, which can be used to meet “generation reliability requirements” then this Standard has the obligation to lower the CBM to the predetermined about of transmission capacity used for CBM.

	Response: You’re correct in that this standard cannot mandate financial decisions.  However, when new generation is built or external resources are purchased, it is the decision by the LSE to meet their resource adequacy requirements in a more stable way than dependence on CBM.  At the same time, when an LSE does this, it no longer is entitled to the full CBM prior to this change in resource adequacy.  Will need to be updated per above.

	Duke Energy
	(
	
	As resource mix changes, CBM would be re-evaluated on an annual basis with updated LSE requests for CBM.

	Response: We agree that the resource adequacy requirements supporting CBM should be reevaluated every year.  However this question is referring to resource decisions made between resource adequacy calculations. 

	Entergy Services
	(
	
	CBM should be recalculated to determine accurate CBM requirements that should include meeting the generation requirement from any other transmission service or new generation.  Any double counting of elements that impact CBM calculations should be avoided.

	Response: agree

	FirstEnergy
	(
	
	In the case of new generation, the recalcuation periodicity would conceivably be infrequent.  In the case of capacity-backed transmission service, the recalculation periodicity may be frequent, but is necessary to allow the markets to function properly.

	Response: agree 

	IESO
	(
	
	CBM is intended for having transmission capability to meet generation deficiency. If this deficiency can be met via other means, then the CBM allotted will no longer be required and could even be reduced to 0 if required.

	Response: agree

	IRC SRC
	(
	
	CBM is intended for having transmission capability to meet generation deficiency. If this deficiency can be met via other means, then the CBM allotted will no longer be required.

	Response: agree

	ERCOT
	(
	
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	(
	
	This is a simple answer.  You invite double counting if you don't reduce CBM when this happens.  It amounts to hoarding.  This is already a problem in our opinion.

	Response: agree

	MEC Trading
	(
	
	It is to the benefits of all stakeholders if the use of transmission is optimized so CBM should be re-evaluated and possible reduced if CBM is met by other means.  Maybe the TSPs OATT should be the right place for this information.

	Response: agree with your point one.  However, OATT doesn’t need to be changed if the standard we’re writing requires CBM to be reduced when additional resources are acquired which reduce dependence on CBM.

	MEC
MRO
	(
	
	It is to the benefits of all stakeholders if the use of transmission is optimized so CBM should be re-evaluated and possible reduced if CBM is met by other means.

	Response: We agree, and will look at modifying the standard to incorporate reviews and updates to CBM at appropriate time intervals (or based on appropriate triggers).

	Nova Scotia Power
	(
	
	CBM requirements can change from year to year.  For example, if the market responds to price signals and additional generation is built, there is no longer a need for the originally plannned CBM, which should be released to the market. The same is true for entities which are required to install renewable generation or demand-side management programs, which can free existing generation to provide Resource Adequacy without the need for CBM

	Response: We agree that the resource adequacy requirements supporting CBM should be reevaluated every year.  However this question is referring to resource decisions made between resource adequacy calculations.  

	MEAG
	(
	
	


9. Do you think that Requirement R6 is appropriate for this standard?  If “No,” please explain why in the comments area.

Summary Consideration:  

	Question #9

	Commenter
	Yes
	No
	Comment

	APPA
	
	(
	The LSE is performing many functions of the other Functional Entities, which are described in the Functional Model.  As stated in Question 3 the author has incorrectly assigned duties of many different Functional Entities to the LSE in R.6 and will create confusion between this Standard and other Standards that are written for the many different subjects covered in R.6.  It is recommended this requirement be completely removed.

	Response:  see response to Entergy Services.  Debating this… we may end up deleting or moving R6 (under 5.4) R6 because it is really not appropriate.  This is a true “fill in the blank,” because the requirement is not in NERC’s scope… it is actually a state/regulatory/other requirement. 

	Entergy Services
	
	(
	Requirement R6 addresses resource adequacy requirement and it does not belong in the CBM standard.  Requirement R5.2 covers identification of appropriate criteria used for resource adequacy studies that will identify need for CBM, if any.  Probabilistic studies, if included in resource adequacy studies criteria shall be used and there is no need to include requirement R6 in this standard.

	Response: R6 does not preclude an LSE from using different parameters IF THIS IS SPECIFIED AND ACCEPTED BY THE ENTITY RESPONSIBLE FOR THE RESOURCE ADEQUACY REQUIREMENTS OF THE LSE.  It provides an acceptable framework for documentation of nearly all LOLP studies that we are familiar with.  While an LSE does not have to use R6, if they do it will be a simpler way to comply with this standard than using a non-typical LOLP study.  It was added to make compliance simpler for the LSE and the compliance monitor.  Debating this… we may end up deleting or moving R6 (under 5.4) R6 because it is really not appropriate.  This is a true “fill in the blank,” because the requirement is not in NERC’s scope… it is actually a state/regulatory/other requirement.  WE WILL COME BACK TO THIS.  See Tariff sheet 154 in pro forma 890.

	WECC MIC MIS ATC Task Force
	(
	
	As drafted, the standard appears to say there are two ways to establish the level of CBM required: 1) via regulatory mandate at R4 or 2) via probabilistic analysis at R6, assuming there is no regulatory mandate.  

If that is not the intent of the two methods, than perhaps the more clarity on when the two methods would be used is in order.  

	Response: R6 is intended to explain the required data to be provided if a probabilistic study is undertaken; it is not intended to state that something other than regulatory mandate is allowed.  If a regulator requires a probabilistic study to be undertaken then this is the information we want to see. (NOTE WE MAY ELIMINATE R6 – but regardless, we need to clarify)

	IESO

IRC SRC
	(
	(
	By and large, R6 describe the process and assumption requirements for resource adequacy assessment via which the CBM is determined. It is our interpretation that FERC requires the basis of this assessment be made known to support and demonstrate a fair and consistent approach is taken in determining the CBM value. That said, R6 could arguably be placed in a standard on resource adequacy assessment. If R6 is to stay, at the very least some of the subrequirements can be removed or combined (see Comments under Q2 for an example).

	Response: 
Debating this… we may end up deleting or moving R6 (under 5.4) R6 because it is really not appropriate.  This is a true “fill in the blank,” because the requirement is not in NERC’s scope… it is actually a state/regulatory/other requirement.  WE WILL COME BACK TO THIS.  See Tariff sheet 154 in pro forma 890.

	ERCOT
	(
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	(
	(
	How else would a compliance monitor be able to evaluate a justification for CBM if he doesn't have the input used to make such a determination.  If anything, this could be expanded to assist the compliance monitor in such a determination.

	Response:  agree.  However, we are not sure that this is compliance’s job – Debating this… we may end up deleting or moving R6 (under 5.4) R6 because it is really not appropriate.  This is a true “fill in the blank,” because the requirement is not in NERC’s scope… it is actually a state/regulatory/other requirement.  WE WILL COME BACK TO THIS.  See Tariff sheet 154 in pro forma 890.

	MEC
	(
	(
	I prefer if all CBM requests were supported by appropriate probabilistic based studies.  It does seem odd that when the better approach (the probabilistic approach) is used, then the standard has all kinds of requirements defining how the better approach is to be done.  

	Response:  we agree that the probabilistic studies must be supportable.  While R6 is a template, it does not preclude the LSE from following other data required by the entity responsible for the LSE’s resource adequacy requirements.  Compliance will be evaluated against the documented requirements of the entity responsible for the LSE’s resource adequacy requirements.  COME BACK TO THIS WHEN WE FIGURE OUT R6

	MRO
	(
	(
	The MRO would prefer if all CBM requests were supported by appropriate probabilistic based studies.  It does seem odd that when the better approach (the probabilistic approach) is used, then the standard has all kinds of requirements defining how the better approach is to be done.  

	Response: see response to MEC

	Nova Scotia Power
	(
	
	There should be a high level of proof that CBM is required.  An important component is the ability to deliver this energy with single contingencies.

	Response: we agree and hence the detailed requirements of such a proof.  Need to revisit when R6 debate complete .We also need to ask FERC )or figure out on our own) the 1st contingency question – right now, standard does not cover.

	Duke Energy
	(
	
	

	FirstEnergy
	(
	
	

	MEC Trading
	(
	
	

	PSC of SC
	(
	
	


10. Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?  If “Yes,” please identify the conflict in the comments area.  

Summary Consideration:  
	Question #10

	Commenter
	Yes
	No
	Comment

	APPA
	(
	
	As noted above.

	Response: Please see response above.

	ERCOT
	(
	
	ERCOT is a separate Interconnection and Region connected to the Eastern Interconnection through DC ties.  Texas Senate Bill 7 effective on 9/1/99 amended the Texas utilities code to provide for the restructuring of the electric utility industry within the ERCOT Interconnection. The act deregulated the electricity generation market to allow for competition in the retail sale of electricity. As of July 2001 the ERCOT interconnection began operation as a single Balancing Authority Interconnection and implemented a market in accordance with the Texas Public Utility commission ruling. Since the implementation of this Act, all of ERCOT has been a single Balancing Authority Area Interconnection and there has been no reservation of transmission capacity in ERCOT.

Capacity Benefit Margin is defined as the amount of firm transmission transfer capability

preserved by the transmission provider for Load- Serving Entities (LSEs), whose loads are located on that Transmission Service Provider’s system, to enable access by the LSEs to generation from interconnected systems to meet generation reliability requirements. Preservation of CBM for an LSE allows that entity to reduce its installed generating capacity below that which may otherwise have been necessary without interconnections to meet its generation reliability

requirements. The transmission transfer capability preserved as CBM is intended to be used by the LSE only in times of emergency generation deficiencies.

Under ERCOT market rules, Transmission Service allows all eligible transmission service customers to deliver energy from resources to serve load obligations, using the transmission facilities of all of the Transmission Service Providers in ERCOT.  In the current and future ERCOT market design the use of CBM is not applicable to the ERCOT Interconnection. ERCOT does not have a synchronous connection with any other Control Area, and does not use the transmission reservation and scheduling practices addressed by these standards. ERCOT requests the drafting team consider revising the wording so that Responsible Entitles required to conform to the standards are those that are synchronously connected with other Balancing Authority Areas and/or offer transmission reservations and schedules within the interconnection. We also recommend that the standard allow for ERCOT exception or exemption from calculation and posting of ATC, TTC, CBM, and TRM without the need for a Regional variance.  

	Response:  Because Texas law already has resource adequacy requirements that exclude CBM, ERCOT is already excluded.  R4 requires the LSE to ask for CBM.  If an LSE in ERCOT asked for CBM, he would be denied because they have no justification per R4.3   I.e., even if a Texas LSE asked, they have no justification. Unless your LSE makes a request for it, you should have no obligation to post or do anything re: CBM other than provide a contact (need to add a requirement to say this).  We will attempt to clarify this in the applicability section,.

	MEC Trading
	(
	
	FERC Order 890 required consistency and this standard does not require any consistency.

	Response: The consistency is achieved by requiring an LSE to prove that they have supportable resource adequacy requirements that allow for the use of CBM.  By law, the ERO cannot set resource adequacy standards but can require an LSE to demonstrate that they have supportable requirements that do provide for CBM to meet these requirements.  We expect consistency within the domain of the local entity responsible for resource adequacy (by state, by region, etc). dennis to come up with additional language

	Nova Scotia Power
	(
	
	R2 requires documention to be "publically released" (published on OASIS) information that is either commercially sensitive or can include Critical Infrastructure Information, the wording of R8 in MOD-008 should be used in MOD-004 to protect information. The process of taking bids on CBM will require modifcations to transmission tariffs Tariffs and Market Rules may have to be updated to reflect the new requirements.

	Response:  We have changed R2 to not be publicly available, and expect that NAESB will address release of information to customers.  We don’t expect tariff changes for CBM.  See responses to question 6 regarding queuing. 

	Southern Co Svcs
	(
	
	R7 requires the Transmission Service Provider to answer a request for CBM within 30 days of receipt.  This is inconsistent with the time allowed to answer other firm transmission service requests per Tariff and should be revised to track the tariff requirements for processing long term firm transmission requests.

	Response: We will adjust the standard to say it should match the provider’s tariff.  

	ITC
	
	(
	R4 gives the LSE great latitude in defining their resource adequacy requirements.  R4 allows the LSE to fully document whatever requirement they have.  It will ultimately be up to the compliance monitor to evaluated their justification and documentation.

	Response:  agree

	IESO

IRC SRC
	
	(
	However, there are entities that do not provide physical transmission services. Hence, these standards or some of the requirements in these standards may not apply.

	Response: we agree. If a TSP is working under a “FERC approved tariff” that does not require the sale of transmission service, they should not be accountable to this standard.  We are modifying the standard language to address this.

	WECC MIC MIS ATC Task Force
	
	(
	

	Duke Energy
	
	(
	

	Entergy Services
	
	(
	

	FirstEnergy
	
	(
	

	MEC
	
	(
	

	MRO
	
	(
	

	PSC of SC
	
	(
	


11. Please provide any other comments (that you have not already provided in response to the questions above) that you have on the draft standard MOD-001-1. Comments:
Summary Consideration:  

	Question #11

	Commenter
	Comment

	WECC MIC MIS ATC Task Force
	A. R3.  Each of the sub-bullets contains the term “reserve sharing” (R.3.1.2; R.3.2.1; R.3.3.1).  This is not used as a defined term in the standards; however, Reserve Sharing Groups is a NERC defined term and may more accurately address what the standard is seeking to address.

Suggested rewrite: 

(E.g.) R3.2.  The Transmission Service Provider that uses the Rated    System Path…

R3.2.1.  The Transmission Service provider shall not include in the CBM calculation any transmission capacity set aside as part of a Reserve Sharing Group agreement already accounted for in the TRM calculation. 
Response: We will accept your language to clarify the standard. 
B. R4.  We suggest the second parenthetical phrase be deleted as it does not add any significant clarification. 
Response: As a group, we think it is needed to explain what “CBM MW Import Requirement” means.  Perhaps we should include as a definition.
C. R6.3.1.  Designated Network Resource (DNR) is used as a defined term without a NERC Glossary definition.  The Team suggests using language from Section 1.26 “Network Resource” within the Pro Forma OATT as a springboard for a new definition.  
Response: It’s in tariffs.  We will add it to the glossary.  NEED TO WRITE A DEFINITION.  LOOK TO PRO FORMA
D.  R6.4. - Intent is unclear.

R6.4  Suggested rewrite:  “Identify all resources in the Load-Serving Entity’s Balancing Authority Area excluded from serving the Load-Serving Entity’s load, including: “  (Emphasis and language added)
Response: We have clarified the language.
E. R8 is unclear.

If CBM is “reduced” in R7.2 what does it mean that the LSE is “still entitled to the CBM MW import?”  Please clarify or rewrite. 
Response: Has been reworded to clarify.
F. Order 890, P. 262 states:

”…we determine that LSEs should be permitted to call for use of CBM, if they do so pursuant to conditions established in the reliability standards…process.”  (Emphasis added.) 

“We direct public utilities…to specify the generation deficiency conditions during which an LSE will be allowed to use…CBM.”  (Emphasis added.) 

R10. states,

“The Load-Serving Entity shall declare a NERC Energy Emergency Alert (EEA) 2 and initiate all steps in EEA 2 prior to scheduling of energy over transmission capacity set aside as CBM.”  (Emphasis added.) 
EOP-002, states:

“A. General Requirements

1. Initiation by Reliability Coordinator. An Energy Emergency Alert may be initiated only by a Reliability Coordinator at 1) the Reliability Coordinator’s own request, or 2) upon the request of a Balancing Authority, or 3) upon the request of a Load Serving Entity.” (Emphasis added.) 

In contravention to Order 890, P. 262, R10 as drafted does not state the specific “generation deficiency conditions” required as a condition precedent for an LSE to call upon CBM.

In contravention to EOP-002, R10 grants an LSE the right to declare a NERC Energy Emergency 2.  The NERC Drafting Team needs to remedy the conflict.

Suggested language:

(Plagiarized from Attachment 1-EOP-002-0; Energy Emergency Alerts)
RX.1.  
Each Load-Serving Entity that is, or expects to be, unable to provide its customers’ energy requirements, and has been unsuccessful in locating other systems with available resources from which to purchase, or that cannot schedule known resources due to insufficient transmission capacity, shall instruct its Reliability Coordinator to declare an Energy Emergency 2.

RX.2.
Each Load-Serving Entity shall instruct its Reliability Coordinator to declare a NERC Energy Emergency 2 prior to scheduling any energy on transmission capacity reserved for CBM. 
R.X3.   Each Reliability Coordinator instructed by a Load-Serving Entity to declare a NERC Energy Emergency 2 pursuant to this Standard, shall: 

· Initiate a NERC Energy Emergency Alert as detailed in Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”

· Act to mitigate the emergency condition, including a request for emergency assistance if 
· Required
Response: The use of CBM under EEA2 will be suggested to those responsible for EEA2.  We agree that this need to be clear to the user of CBM

G. R11.  The report required in R11 should also be mandated for delivery to the Balancing Authority and the Reliability Coordinator for purposes of post mortem examination.  
Response: We have accepted your suggestion.

R11.  Change “declared” to “instructed.”
Response: We have changed this word to “initiated” to make the phrase align with EOP-002.
H.  R1.1.  Should be changed to read: “Its procedure for a Load-Serving Entity to request its CBM import MW requirement on each REQUESTED Point of Receipt – Point of Delivery (POR-POD) combination or POSTED PATH….” (Emphasis Added.) 

Orders 889/890 do not require posting of information on every possible combination of POR/POD nor on every possible path.  Thus information must only be posted on “Posted Paths.”

The defined term “Posted Path” must be added to the NERC Glossary to meet the intent of Orders 889 and 890 without creating an onerous burden to post information need by no one.  It was not FERC’s intent to require the posting of ATC / TTC et al for paths upon which there is no request for service. 

The following Posted Path definition must be added to the NERC Glossary and utilized in each of the ATC related standards: 

Posted Path 

Posted Path means: 1) any Balancing Authority to Balancing Authority interconnection; 2) any path for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months; 3) and any path for which a customer requests to have ATC or TTC posted.  For purposes of this definition, an hour includes any part of an hour during which service was denied, curtailed or interrupted. (Plagiarized from NAESBE R-4005 and Order 889, RM95-9-000, April 24, 1996, P. 58-60.

Although the WECC Team has only addressed the definition of a Posted Path, we would encourage the NERC ATC to develop a parallel definition to properly delimit the Flowgates upon which information must be posted, as clearly, FERC did not intend that information be posted on each and every Flowgate or path simply because a Flowgate or path exists.  FERC’s intent as to what paths and Flowgates were affected by posting was clearly laid out in Order 889 as well as 890 per the aforementioned references. 

I.  R1.2  Should read, “…over each POSTED PATH or Flowgate.”

J. R1.4 Should read, “…for each timeframe by Flowgate or POSTED PATH, as applicable.”  (Emphasis Added.) 

K. R2.  Should read, “…over each POSTED PATH or Flowgate…”

L. R3.2 Should read, “…for determining Total Transfer Capability shall use the algebraic sum of all valid CBM requests for each POSTED PATH as the CBM for that path.” (Emphasis Added.)

M. R4.2. Should read, “…for each POSTED PATH or specified POR-POD combination for each year…”  Again, a parallel definition to POSTED PATH for affected Flowgates would be of value here.  This Team did not pursue such a definition but encourages the NERC ATC Drafting Team to do so.  

N. R5.1 Same comment as above at R4.2.

O. R6.  Same comment as above at R4.2. 

P. R7. And R7.2.   Same comment as above at R4.2.
Response: We have incorporated all of the above regarding recommendations to use “posted path” .
Q. R7.3 uses the term Import Entitlement without supplying a definition.
Response: It should read “CBM MW Import Entitlement Report”  (see R4) .  We have modified the standard to address.
R. R8.1 Same comment as above at R4.2.

S. R13.  Same comment as above at R4.2.
Response: We have incorporated all of the above regarding recommendations to use “posted path” .
T.  The WECC Team suggests the following clarifying language bee added to R8. 

“R8. The Load-Serving Entity may request the scheduling of energy FOR ANY TIME HORIZON  over transmission capacity set aside as CBM up to an amount equal to that determined under R7 as required by the Transmission Service Provider’s procedure pursuant to R1.3.  (Emphasis added.)
Response: We don’t agree.  It should only be “scheduled” when it’s needed during an EEA2 event.  For any time horizon beyond EEA2 events, a transmission reservation would be required.  
U. R1 and R2 of MOD-004-1 should be clarified to show that CBM procedures and copies of the models used for allocating CBM over paths need only be made public “if” CBM is included in the TSP’s overall ATC calculation.
Response: we agree
Below items are “utility specific” and were not addressed by the WECC Team. 

In addition to the questions above, the standard drafting team is seeking industry input on a few issues discussed during the revisions of MOD-004 thru MOD-007 related to Capacity Benefit Margin. The intent of this portion of the comment form is to solicit general feedback from the industry related to CBM. Please take a few minutes to offer your opinion relative to the questions below. It is not the intent of the drafting team to prepare formal responses to the questions below; we are solely interested in industry opinions on these issues. 

We would like to better understand the various generation supply adequacy requirements that have transmission-related implications, implied or specified.  This will assist in further development of MOD-004-01 CBM.

1.  What entity is responsible for establishing your Generation Reserve and Resource Adequacy requirements (commission, region, etc)? 

2.  With respect to draft standard MOD-004-1 R5.4, what type of deterministic and probabilistic studies do you perform or what rules do you follow to determine a Load Serving Entity’s quantity of CBM?  Some examples: 

· A Loss of Load Expectation (LOLE) study based on a Loss of Load Probability (LOLP) that allows or establishes a transmission requirement for access to external resources.

· A statutory obligation to meet a regional standard (which might also be an LOLE requirement).  What is the transmission requirement if definable?

· A statute with a defined transmission obligation implied or specified.

· A generation requirement, such as loss of the largest unit, which can be interpreted to require access to external resources to cover the loss of the resource.



	Response:  see individual responses above


	BPA
	R1. through R9. and R13. should be clarified that CBM need only be posted and requested on Posted Paths, where "Posted Path" is defined consistent with NAESB R-4005 and Order 889, RM95-9-000, April 24, 1996, P. 58-60.

	Response: We agree.  See individual responses to WECC  for each section above

	Duke Energy 
	R3.1.1 - Existing Transmission Commitments (ETC) is not included in definitions, but it should be defined.

	Response:  We agree, and will write a definition for the Glossary.
Draft Definition – will need to be revisited as a separate item:

“ETC: Committed uses of the transmission system including 1.) Native Load commitments (inlcuding Network Integrated Transmission Service), Ancillary Services not otherwise included in CBM or TRM, 3) rollover rights, 4.) grandfathered transmission service agreements and bundled contracts for energy and transmission, 5.) confirmed reservations, 6.) post-backs of redirected services, parallel flows, and counterflows not otherwise accounted for in the ATC calculation.
Another quesiton – do you share queued?  Study?  Accepted?  Confirmed?  With your neighbor.

	Entergy Services
	Entergy does not understand asking for comments on standard MOD-001-1 in this questionaire.
Requirement R8.1 should include a condition by appending the language " if other entities who reserved CBM on that path are not using their share of CBM.  Under no circumstances, the total use of CBM by all entities on a path at any time will exceed the total amount of CBM reserved on that path and for that period."  
Definitions of terms on page 2 do not belong in this standard and should be removed.  
Entergy does not use CBM in their ATC/AFC calculations.  It appears from the standard that it is mandatory for Transmission Service Providers to use CBM.  It should be left to the descretion of Tansmission Service Provider to use CBM and its use should not be made mandatory.  

	Response: Regarding MOD-001, this was a typographical error.  

For R8.1, we have modified the standard to address this concern.
The drafting team is allowed to submit definitions on any of the standards it submits.  Since they all end up in the glossary, it is unimportant which standard to which they are attached. However, to aid in clarity, we will submit these definitions as part of MOD-001 the next time we make a posting.
Regarding the TSP electing to not offer CBM, we believe that FERC is requiring this in Order 693, paragraph 1082.

	FIrstEnergy
	R2 requires copies of models used for CBM allocation, but the allocations are not required to be and may not be based on power flow modeling.  
Response: 

We have updated R2 to allow for information other than models to be provided.

In addition, it requires a request from an entity with a valid need.  Methods are needed to determine what constitutes a valid need, who decides the validity of the need, and for resolving disputes. 
Response: 
We have replaced the generic term with specific entities to address this concern.
R4.2 requires the LSE to allocate the CBM by path; however, the LSE may not have/use power flow tools consequently they may have difficulty complying with this requirement. The standard should include a method for managing offsetting resource requirements where the TSP has multiple LSEs such as the situation where LSE A provides needed energy to LSE B without requiring an import.  Under this scenario too much CBM may be set aside as the standard is currently written. R7.1 appears to attempt to cover this situation but it is not clearly stated and the basis for managing this is not addressed. 
The standard is placing a responsibility on the LSE to document and provide data to support the justification of CBM.  It is expected that errors in this documentation or computation may be subject to financial penalties.  If any LSE were to overstate their CBM request because of inadequate or improper documentation, they may be financially penalized to prevent recurrence.  Beyond the LSE, it is expected that TSPs will have to upgrade their methods and systems in order to comply with this standard.  This standard does place new obligations on several entities that may require time, money and manpower to comply.
R13 states the TP "shall include all valid requests and projected CBM import MW requirements ... in its planning process."  However, a method for needs to be established for managing situations where the import limitation is outside his area of responsibility. Overall, there are many good things in here.
Response: CBM is only set aside on the facilities of the TSP in which the load is located.  Accordingly, the TSP cannot address import limitations outside his area of responsibility.  WE NEED TO MAKE SURE THIS IS CLEAR IN THE STANDARD 
R12 requires the TSP to make publicly available the report prepared by the LSE pursuant to R11.  This requirement should be placed on the LSE that created and owns the report and has the retention responsibility. 
We plan to eliminate this requirment and move it to NAESB.

To reduce confusion R14 should list the components of uncertainty rather than refering to MOD-008-1 R1.1.  This MOD-008-1 requirment requires TPs and TOPs to include these elements in the TRM analysis where MOD-004-1 requires the LSE to exclude these values from the CBM calculation. The difference in application may be lost in switching back and forth between the two standard's requirements.
We intended to reduce confusion by refering the list in only one place, rather than create a potential for the lists to get out of synchronization as standards change.

	Response:   See individual responses.  

	IESO
IRC SRC
	ETC is introduced in this standard for the first time and hence this term needs to be defined here.

	Response: We will be putting it in the glossary to address this.

	ERCOT
	See IRC comments submitted by Charles Yeung.

	Response: See response to IRC comments.

	ITC
	(note question 11 should have referred to MOD-004 not MOD-001)  While compliance has not been addressed, it is worth noting that the compliance monitor for CBM requirements will have to be a very astute individual or group to deal with the multiple possible resource adequacy requirements under the ERO.  They will no doubt have to deal with non-jurisdictional entities to make their evaluations.  We suspect it will be a lengthy process in some cases.  We would also like to point out that the TSP has little latitude in using the MW import requirement  supplied by the LSE.  If they suspect that this value is too high, they don't have recourse here to do anything about it.  Even if a large fine could result from a compliance issue, the TSP must sell service with a margin they may have good reason to feel is unjustified.  Is a large fine justification enough to not give the TSP some latitute?

	Response:   We recognize that compliance may be challenging.

	MEC Trading
	The purpose of each of the standards should be revised to be more in-line with the other ATC/TTC/TRM stanadards.  We recommend that the purpose in this standard be revised to state:  "To promote the consistent and transparent…use of Capacity Benefit Margin (CBM) for reliable system operation."   The standard should make it clear that an LSE should be required to do comply with certain requirements within this standard only if it requests CBM.  Also this industry is sophisticated enough to perform or have performed a probabilistic study so that it what the CBM should be based on.

	Response: We have made the change suggested in the first comment.  We have also addressed the second comment in the “Applicable Entity” section.

	MEC
MRO
	The purpose of each of the standards should be revised to be more in-line with the other ATC/TTC/TRM stanadards.  The purpose in this standard be revised to state:  "To promote the consistent and transparent…use of Capacity Benefit Margin (CBM) for reliable system operation."

	Response: We have made the change suggested.

	Manitoba Hydro
	MH is not a supporter of the use of CBM as we believe that CBM makes the unsupportable assumption that there will be energy and transmission avaialable in the adjoining entitity during the time of the emergency. However as there a desire to maintain this feature, MH believes that there should be a requirement to build if CBM causes the AFC on a flowgate to become negative and that a portion of cost should be assigned to the LSE who is responsible for the CBM.

	Response: The CBM needs to be considered in the annual evaluation of network service that TOs are supposed to make.  If the transmission system in question cannot support the requested CBM, then a system impact study should commence.  I.e., if you use CBM, then you should plan for it.

	Nova Scotia Power
	The standard does not address the issue of export transmission capacity, since CBM is an import capacity only. An interface involves at least two TSP's: the TSP owning the export side and the TDP owning the import side. Has the drafting team examined the issues around a LSE that requests CBM held back from import but the export TDP can accept reservations without consideration to CBM.  Say that the ATC on A-B interface is 200 MW.  An LSE in B requires 50 MW of CBM which reduces import ATC on the B side to 150 MW and ATC on the A side remains at 200 MW.  A transmission customer in B requests firm reservations on the A-B interface of 200 MW.  The A TSP assigns 200 MW to the customer and the B TSP says he can only have 150 MW.  The customer takes all 200 MW on the A side but nothing on the B side.  Does he then effectively block A-B transactions?.

	Response: This is an important point that is not being addressed.  The assumption is that interconnections with neighbors are shared and were constructed, in most cases, to insure access to external resources to meet resource adequacy requirements.  This was a mutual benefit.  Both sides have access to external resources.  An import problem to one is an export problem to the other.  If one side has had “historical” access to external resources to meet their resource adequacy requirements, can the other side now complain that it impedes their “export”capability.  This may be debatable but CBM has been a recognized margin for at least the 11 years since US deregulation.  That’s why it’s important that any CBM claim be both documentable and supportable by whomever is responsible for the resource adequacy requirements of the LSE.


12. In addition to the questions above, the standard drafting team is seeking industry input on a few issues discussed during the revisions of MOD-004 thru MOD-007 related to Capacity Benefit Margin. The intent of this portion of the comment form is to solicit general feedback from the industry related to CBM. Please take a few minutes to offer your opinion relative to the questions below. It is not the intent of the drafting team to prepare formal responses to the questions below; we are solely interested in industry opinions on these issues. 

We would like to better understand the various generation supply adequacy requirements that have transmission-related implications, implied or specified.  This will assist in further development of MOD-004-01 CBM.

What entity is responsible for establishing your Generation Reserve and Resource Adequacy requirements (commission, region, etc)? Reply:

Summary Consideration:  The drafting team thanks all who provided responses.  This shall serve as the summary response to all information provided.  
	Question #12

	Commenter
	Yes

No

Comment

	APPA
	It is not within the scope of this SDT to deal with resource studies, in fact the glossary states the Resource Planner determines the resource adequacy.  Generation Reserves has not been defined in the standards nor has Resource Adequacy.

	BPA
	For Generation Reserve and Resource Adequacy requirements, BPA  follows the procedures developed by the Northwest Power Pool which meet the WECC's Minimum Operating Reliability Criteria.  BPA also meets the requirements in the NERC standards for Control Performance BAL-001-0 and Disturbance Control BAL-002-0.

	Duke Energy
	The NC and SC state commissions exercise their authority in this area by requiring an annual filing by the regulated utilities, which includes the identification and justification of reserve margins.

	ERCOT
	Within ERCOT, a technical recommendation is developed by ERCOT System Planning, acting as the Planning Coordinator.  ERCOT Market Participants can give input to the process through open meetings.  The technical recommendation is subject to approval by the ERCOT Board of Directors and the Public Utilities Commission of Texas (PUCT).  The technical recommendation stipuates generation reserve and resource adequacy requirements both for long term planning and for operating reserve.

	FirstEnergy
	The Regional Reliability Organization - ReliabilityFirst

	IESO
	In Ontario, it would be the IESO and the Ontario Power Authority (OPA) which would be responsible for establishing generation reserve and resource adequacy requirements.

	IRC SRC
	Unable to provide a specific answer as a group. Gernally speaking, however, it is the region that stipuates generation reserve and resource adequacy requirements both for long term planning as well as for operating reserve. (SRC please note: I'm only speculating. Don't let me put words in your mouth)

	ITC
	TC does not have a resource adequacy requirement.  We must work with the LSEs in our service territory to determine appropriate CBM to plan for.  These requirements allow for this to happen.

	MEC
	It is my understanding of the 2005 Energy Policy Act that the Regional Reliability Organization or NERC can either set the generation reliability critiera or enforce the generation reliability criteria, but it cannot do both.  The MRO is in the process of proposing to set the generation reliability criteria as 1 day in 10 years.  It will be the responsibility of the Load Serving Enetity or its delegate (such as a Planning Reserve Sharing Group) within the MRO to set the reserve margin to meet the 1 day in 10 year criteria.  The State will enforce the generation reliability criteria and the Planning Reserve Sharing Group will enforce the reserve margin requirement.

	MRO
	It is the MRO's understanding of the 2005 Energy Policy Act that the Regional Reliability Organization or NERC can either set the generation reliability critiera or enforce the generation reliability criteria, but it cannot do both.  The MRO is in the process of proposing to set the generation reliability criteria as 1 day in 10 years.  It will be the responsibility of the Load Serving Enetity or its delegate (such as a Planning Reserve Sharing Group) within the MRO to set the reserve margin to meet the 1 day in 10 year criteria.  The State will enforce the generation reliability criteria and the Planning Reserve Sharing Group will enforce the reserve margin requirement.

	Nova Scotia Power
	NPCC sets LOLE standards.

	PSC of SC
	PSCSC reviews reserve margin / resource adequacy of regulated electric utilities in Integrated Resource Plans.

	Salt River Project
	SRP sets its Generation Reserve and Resource Adequacy requirements in accordance with WECC Standards.


13. With respect to draft standard MOD-004-1 R5.4, what type of deterministic and probabilistic studies do you perform or what rules do you follow to determine a Load Serving Entity’s quantity of CBM?  Some examples: 

· A Loss of Load Expectation (LOLE) study based on a Loss of Load Probability (LOLP) that allows or establishes a transmission requirement for access to external resources.

· A statutory obligation to meet a regional standard (which might also be an LOLE requirement).  What is the transmission requirement if definable?

· A statute with a defined transmission obligation implied or specified.

· A generation requirement, such as loss of the largest unit, which can be interpreted to require access to external resources to cover the loss of the resource. Reply:

Summary Consideration:  The drafting team thanks all who provided responses.  This shall serve as the summary response to all information provided.  
	Question #13

	Commenter
	

	APPA
	It is not within the scope of this SDT to deal with resource studies, in fact the glossary states the Resource Planner determines the resource adequacy.  LOLE and LOLP are methods used by the Resource Planners.

	Duke Energy
	None

	ERCOT
	CBM is not used within ERCOT,

	FirstEnergy
	Currently the ISO determines CBM via an LOLE study based on 1/10 of a day/year. Currently Ohio does not have a requirement for an LOLP.  ReliabilityFirst has established a 1 day in 10 year LOLP criteria that is voluntary.  In the future, the ISO PRSG may self-contract an LOLP enforcement requirement.  It is expected that the ISO market rules will eventually enforce LOLP.  

	IESO
	The IESO uses stochastic tools like GE MARS to establish reserve requirements for meeting loss of load expectations (LOLE). However, for Ontario, the concept of CBM is not used and is set to 0.

	ISO SRC
	Unable to provide a specific answer as a group. Again, the LOLE approach is rather commonly used by the ISOs and RTOs in assessing resource adequacy. (SRC please note: ditto the above)

	ITC
	ITC does not have a requirement, although we are familiar with the LOLE/LOLP evaluations.  We strongly believe that R6 is a must for this standard.  We have heard estimates that as much as 90% of the load in this country is subject to LOLE requirements based on LOLP studies.  To not have requirements in this area would be negligent.  

	MEC Trading
	LOLE study

	MEC
	I would prefer an LOLE study requirement to support the CBM requests of the Load Serving Entities.

	MRO
	MRO would prefer an LOLE study requirement to support the CBM requests of the Load Serving Entities.

	Nova Scotia Power
	LOLE simulations with assumed transmission capacity, however the answer is around 20% reserve

	PSC of SC
	Our comments are from a regulatory perspective.  This is strictly a technical issue.

	Southern Co Svcs
	Addressing these concerns should be the role of the resource adequacy drafting team and should be handled in the resource adequacy standard.

	Salt River Project
	SRP’s current planning reserve target is based on historical study work that considered unit availability, load uncertainty, and projected costs associated with carrying different levels of reserves.




� The appeals process is in the Reliability Standards Development Procedures: http://www.nerc.com/standards/newstandardsprocess.html.  










Page 48 of 48

