Consideration of Comments — 1st Draft of Standard MOD-028-1 Network Response ATC (Project 2006-07)

The ATC Standard Drafting Team requesters thank all commenters who submitted comments on the first draft of standard MOD-028-1, Network Response (Project 2006-07). This standard was posted for a 30-day public comment period from May 25 through June 24, 2007.  The requesters asked stakeholders to provide feedback on the standard through a special standard Comment Form. There were 17 sets of comments, including comments from 76 different people from more than 40 companies representing all of the 10 Industry Segments as shown in the table on the following pages. 
Based on the comments received, the drafting team is recommending        .   

In this “Consideration of Comments” document stakeholder comments have been organized so that it is easier to see the responses associated with each question.  All comments received on the standards can be viewed in their original format at: 

http://www.nerc.com/~filez/standards/MOD-V0-Revision.html
If you feel that your comment has been overlooked, please let us know immediately. Our goal is to give every comment serious consideration in this process!  If you feel there has been an error or omission, you can contact the Director of Standards, Gerry Adamski, at 609-452-8060 or at gerry.adamski@nerc.net.  In addition, there is a NERC Reliability Standards Appeals Process.

The Industry Segments are:

1 — Transmission Owners

2 — RTOs, ISOs

3 — Load-serving Entities
4 — Transmission-dependent Utilities

5 — Electric Generators

6 — Electricity Brokers, Aggregators, and Marketers

7 — Large Electricity End Users

8 — Small Electricity End Users

9 — Federal, State, Provincial Regulatory or other Government Entities

10 – Regional Reliability Organizations, Regional Entities

	Commenter
	Organization
	Industry Segment

	
	
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	1. 
	Anita Lee (G2) 
	AESO
	
	(
	
	
	
	
	
	
	
	

	2. 
	Darrell Pace (G7)
	Alabama Electric Coop.
	
	
	
	(
	(
	(
	
	
	
	

	3. 
	Helen Stines (G7)
	Alcoa Power Generating, Inc.
	
	
	
	
	
	(
	(
	(
	
	

	4. 
	Ken Goldsmith
	ALT
	(
	
	
	
	(
	
	
	
	
	

	5. 
	Eugene Warnecke (G7)
	Ameren
	
	
	(
	
	
	(
	
	
	
	

	6. 
	E. Nick Henery
	APPA
	(
	
	(
	(
	
	
	
	
	
	

	7. 
	Dave Rudolph
	BEPC
	(
	
	(
	
	(
	(
	
	
	
	

	8. 
	Abbey Nulph
	Bonneville Power Administration (BPA) 
	(
	
	(
	
	(
	(
	
	
	
	

	9. 
	Brent Kingsford (G2)
	CAISO
	
	(
	
	
	
	
	
	
	
	

	10. 
	Don Reichenbach (G7)
	Duke Energy 
	(
	
	(
	
	(
	(
	
	
	
	

	11. 
	Greg Rowland
	Duke Energy
	(
	
	(
	
	(
	(
	
	
	
	

	12. 
	Joachim Francois (G7)
	Entergy Services Inc.
	(
	
	(
	
	(
	(
	
	
	
	

	13. 
	Ed Davis
	Entergy Services Inc.
	(
	
	(
	
	(
	(
	
	
	
	

	14. 
	George Bartlett
	Entergy Services Inc.
	(
	
	(
	
	(
	(
	
	
	
	

	15. 
	Jim Case
	Entergy Services Inc.
	(
	
	(
	
	(
	(
	
	
	
	

	16. 
	Narinder K Saini
	Entergy Services Inc.
	(
	
	(
	
	(
	(
	
	
	
	

	17. 
	Steve Myers (I) (G2)
	ERCOT
	
	(
	
	
	
	
	
	
	
	(

	18. 
	Dave Folk
	FirstEnergy Corp.
	(
	
	(
	
	(
	(
	
	
	
	

	19. 
	Phil Bowers
	FirstEnergy Corp. EDPP
	(
	
	(
	
	(
	(
	
	
	
	

	20. 
	Richard Kovacs
	FirstEnergy Corp. EDPP
	(
	
	(
	
	(
	(
	
	
	
	

	21. 
	Ross Kovacs (G7)
	Georgia Transmission Corporation
	(
	
	(
	
	
	
	
	
	
	

	22. 
	Joe Knight
	Great River Eenergy
	(
	
	(
	
	(
	
	
	
	
	

	23. 
	Danielle Beaulieu
	Hydro-Québec TransÉnergie
	(
	
	
	
	
	
	
	
	
	

	24. 
	Roger Champagne (G4)
	Hydro-Québec TransÉnergie (HQT)
	(
	
	
	
	
	
	
	
	
	

	25. 
	Ron Falsetti (I) (G2)
	IESO
	
	(
	
	
	
	
	
	
	
	

	26. 
	Charles Yeung (G2)
	IRC Standards Review Committee
	
	(
	
	
	
	
	
	
	
	

	27. 
	Matt Goldberg (I)(G2)
	ISO New England (ISO NE)
	
	(
	
	
	
	
	
	
	
	

	28. 
	Kathleen Goodman (G4)
	ISO New England (ISO NE)
	
	(
	
	
	
	
	
	
	
	

	29. 
	Eric Ruskamp
	LES
	(
	
	(
	
	(
	(
	
	
	
	

	30. 
	Robert Coish (G3)
	Manitoba Hyrdo EB
	(
	
	(
	
	(
	(
	
	
	
	

	31. 
	Jerry Tang (G7)
	MEAG
	(
	
	(
	
	(
	
	
	
	
	

	32. 
	Tom Mielnik (I) (G3)
	MidAmerican Energy Company (MEC)
	(
	
	(
	
	(
	(
	
	
	
	

	33. 
	Dennis Kimm (G3)
	MidAmerican Energy Generation/Trading (MEC Trading)
	(
	
	(
	
	(
	(
	
	
	
	

	34. 
	Larry Middleton (G7)
	Midwest ISO
	
	(
	
	
	
	
	
	
	
	

	35. 
	Carol Gerou
	Minnesota Power (MP)
	(
	
	(
	
	(
	(
	
	
	
	

	36. 
	Bill Phillips (G2)
	MISO
	
	(
	
	
	
	
	
	
	
	

	37. 
	Terry Bilke (G3)
	MISO
	
	(
	
	
	
	
	
	
	
	

	38. 
	Mike Brytowski
	MRO
	
	
	
	
	
	
	
	
	
	

	39. 
	Greg Campoli (G4)
	New York ISO (NYISO)
	
	(
	
	
	
	
	
	
	
	

	40. 
	Jim Castle (G2)
	New York ISO
	
	(
	
	
	
	
	
	
	
	

	41. 
	Ralph Rufrano (G4)
	New York Power Authority (NYPA)
	(
	
	(
	
	
	
	
	
	
	

	42. 
	Al Adamson (G4)
	New York State Reliability Council
	
	
	
	
	
	
	
	
	
	(

	43. 
	Matt Schull (G1) 
	North Carolina MPA #1
	
	
	(
	(
	(
	(
	
	
	
	

	44. 
	Guy V. Zito
	NPCC WG
	
	
	
	
	
	
	
	
	
	

	45. 
	Alicia Daugherty (G2)
	PJM
	
	(
	
	
	
	
	
	
	
	

	46. 
	C. Robert Moseley (G5)
	PSC of South Carolina (PSC SC)
	
	
	
	
	
	
	
	
	(
	

	47. 
	David A. Wright (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	48. 
	G. O'Neal Hamilton (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	49. 
	John E. Howard (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	50. 
	Mignon L. Clyburn (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	51. 
	Phil Riley (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	52. 
	Randy Mitchell (G5)
	PSC of South Carolina
	
	
	
	
	
	
	
	
	(
	

	53. 
	John Troha (G7)
	SERC ATCWG
	
	
	
	
	
	
	
	
	
	(

	54. 
	Carter Edge (G7)
	SERC RC
	
	
	
	
	
	
	
	
	
	(

	55. 
	Al McMeekin (G7)
	South Carolina Electric & Gas Co.
	
	
	(
	
	(
	(
	
	
	
	

	56. 
	Stan Shealy (G7)
	South Carolina Electric & Gas Co.
	
	
	(
	
	(
	(
	
	
	
	

	57. 
	Bryan Hill (G7)
	South Carolina Services 
	(
	
	
	
	(
	
	
	
	
	

	58. 
	Bill Botters (G6)
	Southern Company Services (SCS)
	(
	
	
	
	(
	
	
	
	
	

	59. 
	Chuck Chakravarthi (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	60. 
	Dean Ulch (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	61. 
	DuShaune Carter (G6) (G7)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	62. 
	Garey Rozier (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	63. 
	Gary Gorham (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	64. 
	Jeremy Bennett (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	65. 
	Jim Howell (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	66. 
	Jim Viikinsalo (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	67. 
	JT Wood (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	68. 
	Karl Moor (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	69. 
	Marc Butts (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	70. 
	Reed Edwards (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	71. 
	Roman Carter (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	72. 
	Ron Carlsen (G6)
	Southern Company Services
	(
	
	
	
	(
	
	
	
	
	

	73. 
	Doug Bailey (G7)
	TVA
	(
	
	(
	
	(
	
	
	
	
	

	74. 
	Jim Haigh
	WAPA
	(
	
	
	
	
	(
	
	
	
	

	75. 
	Neal Balu (G3)
	WIPS
	
	
	
	
	
	
	
	
	
	

	76. 
	Pam Oreschnick
	XEL
	(
	
	(
	
	(
	(
	
	
	
	


I – Indicates that individual comments were submitted in addition to comments submitted as part of a group

G1 – APPA
G2 – IRC Standards Review Committee

G3 – MRO Group Members
G4 – NPCC CP9 Working Group

G5 – PSC of South Carolina

G6 – Southern Company Servies

G7 – SERC Available Transfer Capability Working Group (ATCWG)

Index to Questions, Comments, and Responses
82.
Do you believe that all elements of ETC have been adequately captured in Requirements eleven and fourteen (R11 and R14)?  If “No,” please explain why in the comments area.





1. The drafting team attempted to address all of the directives identified in the Federal Energy Regulatory Commission’s (FERC) Orders 890 and 693 related to ATC and TTC. Do you agree that the drafting team has adequately responded to all of FERC’s directives in FERC Orders 890 and 693 related to ATC/TTC in this draft of MOD-028-1?  If “No,” please identify which directives were ‘missed’ in the comments area.


Summary Consideration:  

	Question #1

	Commenter
	Yes
13
	No
9
	Comment

	APPA
	
	(
	The Federal Energy Regulatory Commission (FERC) has requested Standards that determine the requirements to calculate TTC will be handled in the FAC Standards.  Order 693 States the following: 1050. We adopt the NOPR proposal and require that TTC be addressed under the Reliability Standard that deals with transfer capability such as FAC-012-1, rather than MOD-001-0. The FAC series of standards contain the Reliability Standards that form the technical and procedural basis for calculating transfer capabilities. FAC-008-1 provides the basis for determining the thermal ratings of facilities while FAC-009-1 provides the basis for communicating those ratings. FAC-010-1 and FAC-011-1 provide the system operating limits methodologies for the planning and operational horizon respectively and FAC-014 provides for the communication of those ratings.

FERC has correctly recognized that FAC-012 and FAC-013, while associated with modeling is highly dependent on the previous FAC Standards as noted by FERC.

	Response: FERC has provided the Drafting Team additional guidance regarding this area.  The TTC Standard will be moved from FAC to MOD.  

	Duke Energy
	
	(
	Conditional Firm Service (CFS) and Planning Redispatch Service (PRS) under Order No. 890 create new issues relating to modeling and calculating ATC.  Specifically, when PRS is offered to maintain service, modeling for ATC calculations will be impacted during these periods.  TTC must be modeled/calculated accounting for the new CFS/PRS requirements.

	Response: It is important to note that Planning Redispatch and CFS are only offered to long-term (one year or longer) service requests and that these two service types are considered firm when ATC is available in the short-term horizons.  We believe this will be handled as a part of the NAESB work. 

	Entergy
	(
	
	

	ERCOT
	(
	(
	See IRC comments submitted by Charles Yeung.

	Response: See IRC response.

	FirstEnergy
	(
	
	

	HQT
	(
	(
	We believe the fundamental concerns of the FERC Orders 890 and 693 are identified in the standard. However, there are many detailed requirements in Orders 890 and 693 such that there has not been adequate time to do a thorough comparison. It is expected that the supplemental SAR would be addressing the issues that remain outstanding from those Orders.

	Response: no response required

	IESO
	(
	(
	We agree that the drafting team appears to have addressed all the FERC directives. However, we feel that this and the other MOD standards need revisions to properly align responsibilities and eliminate duplications (also see our comments on the other MOD standards).

	Response: The drafting team will look for these examples and consider this when modifying the standards.

	IRC
	(
	(
	We agree that the drafting team appears to have addressed all the FERC directives. However, we feel that this and the other MOD standards need revisions to properly align responsibilities and eliminate duplcations (also see our comments on the other MOD standards). We should resist this question again when updated standard versions are posted.

	Response: The drafting team will look for these examples and consider this when modifying the standards.

	ISO NE
	(
	(
	We believe the fundamental concerns of the FERC Orders 890 and 693 are identified in the standard. However, there are many detailed requirements in Orders 890 and 693 such that there has not been adequate time to do a thorough comparison.

	Response: no response required

	MEC
	(
	
	

	MEC Trading
	
	(
	The entire point of 890 and 693 appeared to be not only for transparency, but consistency.

	Response: no response required

	MRO
	(
	
	

	NPCC WG
	(
	(
	We believe the fundamental concerns of the FERC Orders 890 and 693 are identified in the standard. However, there are many detailed requirements in Orders 890 and 693 such that there has not been adequate time to do a thorough comparison. It is expected that the supplemental SAR would be addressing the issues that remain outstanding from those Orders.

	Response: no response required

	PSC SC
	(
	
	

	SCS
	(
	
	

	SERC ATCWG
	(
	
	


2. Do you believe that all elements of ETC have been adequately captured in Requirements eleven and fourteen (R11 and R14)?  If “No,” please explain why in the comments area.
Summary Consideration:  

	Question #2

	Commenter
	Yes
4
	No
10
	Comment

	APPA
	
	(
	This Standard is trying to detail the requirements of ETC and TTC in the same document.  A large amount of the sub requirements in R11 and R14 are incorrect and/or being preformed by the wrong Applicable Function.  The formula for Non-Firm ATC is incorrect and cannot be complied with by the Applicable Function listed.

	Response: The drafting team will consider this when modifying the standards (TP are responsible for TTC calculation not TSPs).  We need to do a FM true up of this for ALL the standards.  STOPPED HERE

	BPA
	
	(
	The impact of load growth for Network Integration Transmission Service should be included in R11.2.

The "five years or longer in duration" language should be removed from R11.5. due to the fact that this element of Order 890 is only to be implemented by a Transmission Service Provider (TSP) once the FERC has approved the TSP's Attachment K -- this may not occur for some TSPs until after the standards are to be implemented.  Additionally, regardless of whether a TSP's Attachment K is approved, there will be a transition period (to be developed by each TSP) from the old 1-year/60-day roll-over paradigm to the 5-year/1-year -- the standard should not preclude a TSP from encumbering capacity for those existing Customers who have not yet been required to commit to five years of service to retain their roll-over rights.

	Response: DT will incorporate suggested change to R11.2 (<<<you are correct this should be removed>>was there a reason I’m not aware of as to why it wasn’t there?)
DT will remove the timeframe noted in R11.5.

	Duke Energy
	
	(
	R11.4 should read as follows:  The impact of Firm Point to Point Transmission Service adjusted for Post-backs.

R11.5 should read as follows: The impact of maintaining roll-over rights for Long-Term Firm Transmission Service contracts.

R11.6 should be deleted or replaced with more specific details of what Ancillary Services impacts are to be considered.

R11.7 should be deleted, since this is now included in R11.4 above.

R11.8 should be deleted or replaced with more specific details of how counterflows should be included.

R11.9 should read as follows: The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service, adjusted for Post-backs.

R14.3 should read as follows: The impact of Non-Firm Point to Point Transmission Service, with adjustments for Post-backs.

R14.4 should be deleted or replaced with more specific details of how counterflows should be included.

R14.6 should be deleted, since this is now included in R14.3 above.

	Response: 
DT will incorporate R11.4 suggestion with similar wording

DT will incorporate R11.5 suggestion.

DT will ??? R11.6 suggestion ??? 
DT will incorporsate R11.7 suggestion 
DT does not agree with this comment on R11.8 or R14.4. The standard needs to ensure a TSP defines how they utilize counterflow in their description of the ATC, but we do not believe it is reasonable at this time to dictate the details of how each TSP must include counterflow.
DT will incorporate R11.9 suggestion with similar wording.
DT will incorporate R14.3 suggestion with similar wording (should it be just ‘Post-backs’, ’Post-backs of Firm services’, ‘Post-backs of Firm services or Non-firm services’)
DT will incorporate R14.6 suggestion.



	Entergy
	
	(
	R.12 is part of ETC for Firm ETC and R15 is adjustment to the Non-Firm ETC which is similar to post back of capacity, therefore, these should be included as sub bullets under R11 and R14 respectively.

	Response: 
Is R12 really only applicable to Firm?
DT will incorporate suggestion on bringing R15 into a sub-requirement of R14.

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: No response needed

	FirstEnergy
	(
	
	However the term "Post-backs" is industry jargon and should be replaced with the term "reinstatement" to add clarity., 

	Response: DT will clarify the term “post-backs” 

	IESO
	
	(
	We feel that R11.1, R11.2, R11.6 and R14.1 leave room for double counting of components that shold have been taken care of by TRM and CBM. Further, we do not understand why the CBM component is excluded from R13. If the omission is based on the rationale that CBM could be offered as non-firm ATC, then wouldn't TRM be treated in the same manner?

	Response: 

	IRC
	
	(
	We feel that R11.1, R11.2, R11.6 and R14.1 leave room for double counting for components that shold have been taken care of by TRM and CBM.

	Response: These requirements have been clarified to avoid possible double counting.

	ISO NE
	
	(
	We suggest rephrasing R11 and R14 so that it also states that: "The TSP shall determine the impact of firm ETCs based on the inputs listed below. If any of the inputs listed below refer to a product or service that is not contained in the TSP's FERC-approved Tariff, the TSP shall document this fact in their ATCID and the value of such input(s) in the ETC calculation shall be considered to be zero MW."  

The wording of 11.8 and 14.4 imply that the TSP MUST include the impact of counterflow. We do not agree that the impact of counterflow MUST be considered. It should up to the TSP as to if, when and how counter flow is considered.  The requirement should be worded to allow for that flexibility and require that the TSP document how it is considered.

	Response: The drafting team will adopt the suggested changes in MOD-028.  Not all TSPs subject to this standard have FERC approved tariffs.  Additionally, if a TSP does not offer a product or service described in R11 and R14 then the current language allows for the TSP to identify “no impact” since they do not offer these service types.

	MEC
	
	(
	1.  R11 should be revised to indicated that "The Transmission Service Provider shall determine the impact of firm existing transmission committements based on an appropriate level of the following inputs."  
2.  Existing transmission commitments should not be listed in capatalized letters unless a definition is going to be developed for the NERC Glossary.

	Response: Define ETC for insertion into the NERC glossary.  The DT believes “appropriate level” is too vague.  Impacts of all Firm commitments should be noted.

	MEC Trading
	(
	
	

	MRO
	
	(
	1.  R11 should be revised to indicated that "The Transmission Service Provider shall determine the impact of firm existing transmission committements based on an appropriate level of the following inputs."  2.  Existing transmission commitments should not be listed in capatalized letters unless a definition is going to be developed for the NERC Glossary.

	Response: Addressed in previous response.

	PSC SC 
	(
	
	

	SCS
	(
	
	


3. The drafting team attempted to clearly identify the functional classes of entities responsible for complying with the proposed draft MOD-028-1 standard. Do you agree with the functional entities identified in the “Applicability” section of the draft standard?  If “No,” please identify the functional entities you believe the standard should apply to in the comments area. 
Summary Consideration:  

	Question #3

	Commenter
	Yes
8
	No
11
	Comment

	APPA
	
	(
	As stated in comment no. 1, TTC is directed to be handled in the FAC series Standards.  Therefore the Applicable Functions are incorrect.

	Response: The new SAR DT will determine the appropriate disposition of where the TTC requirements will be documented.

	BPA
	
	(
	"Planning Coordinator" is not defined in the NERC Glossary of Terms Used in Reliability Standards.  Please clarify what the Planning Coordinator is or replace "Planning Coordinator" with Planning Authority.

	Response: Planning Coordinator is the appropriate term from the Functional Model.  The DT will define “Planning Coordinator” in the revised standards; therefore, the new term will be included in the NERC glossary.

	Duke Energy
	(
	
	

	Entergy
	(
	
	Applicability section correctly includes entities to whom this standard is applicable.  However, in requirements the entities are not qualified as "…..that uses the Network Response method….".  Appropriate adjustments to the requirements should be made throughout this standard.

	Response: This comment has been addressed in the applicability section of the standard; therefore, the requirements only pertain to users of this method.

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See response above.

	FirstEnergy
	(
	
	MOD-001, 028, 029, and 030 should be combined into one standard to eliminate the need to reference several standards at once, eliminate duplication, and simplify the applicability sections of MOD-028, 029, and 030.

	Response: The DT began with the approach but the resulting standard was very large and confusing as to what requirements a TSP had to comply with.  We believe that by separating the standards to each cover a different methodology the standards will be easier to follow and enforce.

	HQT
	(
	(
	We agree with the entities listed. However, the description of the applicability for the PC and RC are not valid. The PC and RC provide input to ATC calculations, but they do not calculate ATCs. Suggest replacing 'ATCs' with 'TTCs' in the description of Requirement 4.1 and 4.2.  Also, the language in these Applicability descriptions should be the consistent between MOD-028 and MOD-029.

	Response: The DT agrees that “calculate ATCs” should be removed from the RC; however. Believes the PC is the entity responsible for calculating the TTCs and subsequently ATCs.  The TSP should also have the “calculate ATCs” language removed.  The DT will make the language consistent with MOD-029 and MOD-030.  Planning Coordinator will be defined in a manner to perform this task.

	IESO
	
	(
	The Planning Coordinator and Reliability Coordinator do not calculate ATCs. We suspect the reason that they are included in the applicability section is for their role in determining TTC. However, their roles are incorrectly stated in the applicability description.

	Response: See response above

	IRC
	
	(
	The Planning Coordinator and Reliability Coordinator do not calculate ATCs. We suspect the reason that they are included in the applicability section is for their role in determining TTC. However, their roles are incorrectly stated in the applicability description.

	Response: See response above.

	ISO NE
	(
	(
	We agree with the entities listed. However, the description of the applicability for the PC and RC are not valid. The PC and RC provide input to ATC calculations, but they do not calculate ATCs. Suggest replacing 'ATCs' with 'TTCs' in the description.

	Response: See response above.

	MEC
	
	(
	The Functional Entity as provided in A.4. should not be qualified, for example, A.4. should just list Planning Coordinator, Reliability Coordinator, and Transmission Service Provider.  

	Response: The drafting team disagrees with this comment.  MOD-028 should only apply to entities that use this method.

	MEC Trading
	
	
	This is very difficult because the functional model seems to be very specific, but roles within a utility are not so clearly defined.

	Response: OK

	MRO
	
	(
	The MRO believes that the Functional Entity as provided in A.4. should not be qualified, for example, the MRO recommends that A.4. just list Planning Coordinator, Reliability Coordinator, and Transmission Service Provider.

	Response: The drafting team disagrees with this comment.  MOD-028 should only apply to entities that use this method.

	NPCC WG
	(
	(
	We agree with the entities listed. However, the description of the applicability for the PC and RC are not valid. The PC and RC provide input to ATC calculations, but they do not calculate ATCs. Suggest replacing 'ATCs' with 'TTCs' in the description of Requirement 4.1 and 4.2.  Also, the language in these Applicability descriptions should be the consistent between MOD-028 and MOD-029.

	Response: See HQT response above.

	PSC SC
	(
	
	

	SCS
	(
	
	

	SERC ATCWG
	
	(
	The applicability section needs clarification.  Referencing R4 and R5, they should apply only to those entities performing the function.  The standard should not require the calculations be made by the PC and RC, but should be applicable to the designated entitiy performing these calculations .  The designated entity must be specified as a requirement in this standard.  For example: The TSP, PC and RC must specify and agree to the entity that performs this function in the TSP’s ATCID as required in MOD 1.   The current revision of MOD-001 states the following requirement as R1:  “Each Transmission Service Provider, and its associated Planning Coordinators and Reliability Coordinators, shall agree upon and implement one or more of the ATC methodologies specified in Reliability Standard MOD-028, MOD-029, and MOD-030 for use in determining Transfer Capabilities of those Facilities under the tariff administration of that Transmission Service Provider.”  The requirements of MOD-0028 should refer to the Designated Entity specified through this requirement.  The following are examples of how this would be implemented in the standard:

B. Requirements

R4. Each Designated Entity shall ensure that the Total Transfer Capability (TTC) for each of its Transmission Service Provider’s POR to POD Paths is calculated and up-to-date for use within the Transfer Capability time horizons specified in MOD-001 R2.

R5. Prior to calculating TTC, each Designated Entity shall update the following components of the base case power flow model it uses to calculate TTC for the time horizon being studied:

	Response:  The entities responsible for each requirement should be identified.  Not sure I agree with this suggestion.  Doesn’t the functional model say who is responsible for what and if entities designate responsibilities, they still OWN the responsibility Not sure we should make the standards so general by using that designated entity term. Should we try to get some of these items related to ATC more clearly identified in the Functional Model to clear up confusion – how would we do that?


4. Are there any elements other than those currently listed in R5 that need to be updated in the power flow model for calculating TTC?  If “Yes,” please list the elements and explain why they need to be updated in the comments area.

Summary Consideration:  
	Question #4

	Commenter
	Yes
4
	No
15
	Comment

	APPA
	
	(
	The requirements in R5 have already been mandated, correctly, in the FAC and other MOD models.  To repeat those requirements in this standard will confuse the industry and make it impossible the maintain a workable compliance program for several standards.

	Response: The DT disagrees with this statement. The requirements of R5 are much more detailed that provided in any current FAC standard.

	Duke Energy
	
	(
	

	Entergy
	
	(
	If intent of R5.4 and R5.5 is to update power flow models to include all known outages, R5.6 and R5.7 should be merged with R 5.4 and R5.5 to include planned and unplanned outages.

	Response: The DT agrees with this comment and will adjust the standard accordingly.

	ERCOT
	(
	(
	See IRC comments submitted by Charles Yeung.

	Response: See IRC response

	FirstEnergy
	
	(
	R 5.11 requires inclusion of the data provided by adjacent Transmission Service Providers and any other TSP with which coordination agreements have been executed; however, this standard does not include a requirement for adjacent TSPs to provide this data nor for executing coordination agreements with other TSPs.

	Response: I believe that requirement already exist in MOD-001, which is the ‘parent’ to this standard.  This was intentionally left somewhat open because NERC cannot force coordination agreements to occur. We want to enforce that to the extent they are in place, that data MUST be utilized.

	HQT
	
	(
	

	IESO
	(
	(
	While the component list appears to be complete, we find it difficult to keep track of or understand the rationale behind putting this requirement in this standard, while being uncertain of what changes are to be made to FAC-012 and -013. If those parts of FAC-012 and -013 that relate to TTC calculation are to be absorbed in this standard, then we'd think that having R5 (and R6) alone may not be sufficient. On the other hand, if FAC-012 and -013 are to remain as is or be moved to other standards, then we do not see the need to replicate partical requirements in MOD-028. 
Note that the supplementarty SAR indicates that: "Specifically, the following Standards may be modified, transferred to NAESB or retired:
FAC-012 Transfer Capability Methodology

FAC-013 Establish and Communicate Transfer Capabilities
The SDT needs to be more specific and certain of its direction on these two standards to help the industry better understand and track changes.

	Response: These comments will be addressed through the supplemental SAR.

	IRC
	(
	(
	While the component list appears to be complete, we find it difficult to keep track of or understand the rationale behind putting this requirement in this standard, while being uncertain of what changes are to be made to FAC-012 and -013. If those parts of FAC-012 and -013 that relate to TTC calculation are to be absorbed in this standard, then we'd think that having R5 (and R6) alone may not be sufficient. On the other hand, if FAC-012 and -013 are to remain as is or be moved to other standards, then we do not see the need to replicate partical requirements in MOD-028. 

Note that the supplementarty SAR indicates that: "Specifically, the following Standards may be modified, transferred to NAESB or retired:

FAC-012 Transfer Capability Methodology

FAC-013 Establish and Communicate Transfer Capabilities
The SDT needs to be more specific and certain of its direction on these two standards to help the industry better understand and track changes.

	Response: These comments will be addressed through the supplemental SAR.

	ISO NE
	
	(
	

	MEC
	
	(
	

	MEC Trading
	(
	
	A consistent way of modeling all of the things listed in R5 should be clearly identified within the standard (partial path reservations, conditional firm service, outages that last 1 day for a monthly model, etc.)

	Response: ?????? I think some of what they’re referring to would be considered business practice. Would it be in R5 or in R11 and R14 or in ‘evaluation of the service request’?

	MRO
	
	(
	

	NPCC WG
	
	(
	

	PSC SC
	
	(
	

	SCS
	
	(
	

	SERC ATCWG
	
	(
	


5. In R12, we provided a preliminary response to Order 890s paragraph 245, which deals with reservations that have the same POR (generator) but different PODs (loads).  Do you agree that R12 meets the intent of order 890?  If “No,” please suggest how you believe the Order’s requirements from paragraph 245 should be addressed in the comments area.

Summary Consideration:  

	Question #5

	Commenter
	Yes
6
	No7
	Comment

	APPA
	
	(
	The statement as written will impair the operational flexibility of the BES.  Any path or network or flowgate that has a rating higher at its POR than the rating of a generator connected at the same POR would limit the transfers at that POR to the generator size.  The SDT does not want that.  The only time this will be appropriate is when the generator is connected by a radial generator-tie and no other transaction from the system will use this node as the POR.

	Response: The DT agrees with this comment and will adjust R12 accordingly. The DT will replace POR with “Source”.

	Duke Energy
	
	(
	The Transmission Service Provider shall limit the modeling of all Transmission Reservations from a specific generating plant to not exceed the modeled rating of all generators at that plant.  Transmission Reservations should be allocated first to DNR's and the remainder allocated proportionately up to the modeled plant rating.

	Response: The DT agrees with first comment, but disagrees with the second.  Coordination should take place to model generation resources correctly.

	Entergy
	
	(
	The language of R12 does not directly address the intent of Order 890 paragraph 245.  It does not provide clear instructions for treatment of multiple reservation from a POR (generator) other than limiting the impact to name plate rating.  We suggest that a uniform method, or alternate methods be included for treating these reservations to address Order 890 paragraph 245.  

	Response: The DT will replace POR with “Source” to clarify.

	ERCOT
	(
	(
	See IRC comments submitted by Charles Yeung.

	Response: See IRC response

	FirstEnergy
	(
	
	However, the phrase "not exceed" can be replaced with the word "the" since the term "limiting the total impact" is synonomous.

	Response: Change is not necessary if both are equal.

	MEC
	(
	(
	The words seem to meet the requirement although developing a process which meets the requirment is very difficult to do.  Also, this requirement is a transmission service request evaluation process requirement and does not belong in its present form in a standard concerning ATCs calculation.  Also, there are issues with implementing this requirement.  When there are numerous point to point requests for transmission service where some of them are partial path requests, it is not clear how to enforce the impacts of all transmission service shall not exceed the source at a particular point.  If the Standards Drafting Team intends to continue with this requirement, the Standards Drafting Team should outline some subrequirements which explain how the Transmission Service Provider is to do this.  It would be helpful if the SDT would develop an example of multiple requests some of which are partial path requests and show how the Transmission Service Provider than reviews the impacts to meet the requirement.

	Response: The DT agrees and will clarify this section.

	MEC Trading
	(
	
	The words seem to meet the requirement although developing a process which meets the requirment is very difficult to do.  This appears to make unit specific service of less value then service that lists a control area for redirecting that service.

	Response: OK

	MRO
	(
	(
	The words seem to meet the requirement although developing a process which meets the requirment is very difficult to do.  Also, this requirement is a transmission service request evaluation process requirement and does not belong in its present form in a standard concerning ATCs calculation.  Also, there are issues with implementing this requirement.  When there are numerous point to point requests for transmission service where some of them are partial path requests, it is not clear how to enforce the impacts of all transmission service shall not exceed the source at a particular point.  If the Standards Drafting Team intends to continue with this requirement, the Standards Drafting Team should outline some subrequirements which explain how the Transmission Service Provider is to do this.  It would be helpful if the SDT would develop an example of multiple requests some of which are partial path requests and show how the Transmission Service Provider than reviews the impacts to meet the requirement.

	Response: See response above

	PSC SC
	(
	
	

	SCS
	
	(
	We interpret the intent of paragraph 245 to imply that a generator should not be modeled at a level exceeding its maximum capability. With this interpretation, service could be granted up to the capability of the generator for each different POD.  This is not allowed as R12 is currently drafted.

	Response: not sure I agree


6. Do you agree with the requirements included in the proposed standard?  If “No,” please list the requirements you do not agree with and explain why in the comments area.

Summary Consideration:  

	Question #6

	Commenter
	Yes
2
	No
13
	Comment

	APPA
	
	(
	Requirements R1 through R9 should be in the FAC series Standards.  The TTC Standards do not address any of the reliability issues that would have been address in FAC-012 and FAC-013, if they had not been written as a fill-in-the-blank standard.  The Regional Procedures for determining TTC that are requested in the existing FAC-012 would not have been written as proposed in MOD-028, 029, or 030.

	Response: See supplemental SAR

	BPA
	
	(
	R2. -- For system security reasons, the contingency list details should not be publicly available.  Identifying the most critical contingencies publicly could make them a target and thus reduce system reliability.  This information should only be shared with those entities demonstrably impacted by such limiting contingencies.

	Response: coin flip

	Duke Energy
	
	(
	R2, R3, R8 and R16 are "communications" in nature and should be removed from NERC requirements and should be put into NAESB business practice standards where the communications requirements can be justified.

Need to re-word the following requirements:

R4. The Planning Coordinator, Reliability Coordinator or Transmission Service Provider shall ensure that the Total Transfer Capability (TTC) for each of its Transmission Service Provider's POR to POD Paths is calculated and up-to-date for use within the Transfer Capability time horizons spedified in MOD-001 R2.

R5.  Prior to calculating TTC, the Planning Coordinator, Reliability Coordinator or Transmission Service Provider shall ensure the following components of the base case power flow model used to calculate TTC for the time horizon being studied are updated:

R5.6.  Unplanned transmission system Element outages, or unplanned returned to service.

R5.7.  Unplanned generation resource outages, or unplanned returned to service.

R5.10.  Appropriate Firm Transmission Service Reservations, to eliminate netting of flows to avoid reliability concerns with associated reservations not being scheduled.

R6.  The Planning Coordinator, Reliability Coordinator or Transmission Service Provider shall follow these steps in determining the TTC for each path specified:

R7.  Each Planning Coordinator and Reliability Coordinator that calculates TTC shall provide its Transmission Service Provider with the TTC for each of the specified paths.

	Response: The DT shall clarify who is performing the TTC calculation as currently drafted it is not obvious if the RC, PC, or TSP is performing the analysis.

	Entergy
	
	(
	From R5.11, language "with which coordination agreements have been executed" should be struck.  In R6.3, "interfaces" should be changed to ties/interconnections.  In R7, "each of the specified' should be struck and "idenfied in R3" should be added after paths.  From  R11.5, the language "five years or longer in duration…..renewal" should be struck and "as applicable" be added after contracts.

	Response: The DT agrees and will modify the standard accordingly.

	ERCOT
	
	
	See IRC comments submitted by Charles Yeung.

	Response: See IRC response.

	FirstEnergy
	(
	
	

	HQT
	
	(
	R1:  MOD-028 requires 'a list', MOD-029 requires 'a description'. The language for this requirement between these two MODs should be consistent.

R2:  This list of contingencies could contain critical infrastructure information.  The phrase "consistent with CEII policies" should be added to the end of this requirement.

R6.1: The intent of the text of Requirement 6.1 in MOD-028 and MOD-029 seems to be the same. If the intent is the same, the language should be the same.

	Response: The DT agrees and will modify the standard accordingly.

	IESO
	
	(
	We have a question on R13 with respect to the omission of CBM (see our comments under Q2). Further, in R15, we do not understand what would be the items that are "by the amount of capacity associated with unscheduled Transmission Service accounted for within firm and non-firm ETC" when increasing non-firm ATC.

	Response: R15 is describing unused service that will increase non-firm ATC (a.k.a postbacks)

	IRC
	
	
	We have a question on R13 with the omission of CBM (see our comments under Q2). Further, in R15, we do not understand what would be the items that are "by the amount of capacity associated with unscheduled Transmission Service accounted for within firm and non-firm ETC" when increasing non-firm ATC.

	Response: R15 is describing unused service that will increase non-firm ATC (a.k.a postbacks)

	ISO NE
	
	(
	R1.  MOD-028 requires 'a list', MOD-029 requires 'a description'. The language for this requirement between these two MODs should be consistent.

R2.  This list of contingencies could contain critical infrastructure information.  The phrase "consistent with CEII policies" should be added to the end of this requirement.

R6.1 The intent of the text of Requirement 6.1 in MOD-028 and MOD-029 seems to be the same. If the intent is the same, the language should be the same.

	Response: The DT agrees and will modify the standard accordingly.

	MEC
	
	(
	1.  For R1, R2, R4, R5, R6, and R7, the responsible entities described are incorrectly based upon the assumption that all NERC members are members of an RTO.  These requirements should be revised in this regard to provide that "the Transmission Service Provider, the Reliability Coordinator, and/or the Planning Coordinator, as appropriate", do these requirements in the standard. 2.  R6.2 and R6.3 use "first contingency" which implies that the only planning criteria to be used is first contingency outages.  The TTC must be based upon the appropriate planning criteria whatever that is.  The references to first contingency should be made more generic.  3.  R3, R8 and other requirements that indicate that the results are to be made available publicly should indicate that these results should be made available publicly "on the OASIS" so that this information is not made publicly without registration.  4.  R11 should be revised to indicated that "The Transmission Service Provider shall determine the impact of firm ETCs based on "an appropraite level of " the following inputs.  5.  R14 should be expanded to include the use of metered data to forecast non-firm ETC in the operating horizon and therefore, allowing the release of non-firm ETC for non-firm ATCs in the operating horizon.  This method is being used in the area to maximize the non-firm offerings in the operating horizon.  I suggest wording such as the following for R18 or as a subrequirement:  "Forecasts of non-firm ETC may be made using metered data so as to allow the release of non-firm ETC in the operating horizon.  When such forecasting methods are used, it may be assumed that reductions in metered flows in the operating horizon are due to reductions in non-firm ETC."

	Response: 1. The DT disagrees.  The nomenclature used is appropriate. 2.  The DT agrees R6 should be clarified to include “appropriate planning criteria (at a minimum first contingency)”.  3.  The DT agrees.  4. The DT disagrees…appropriate is to vague.  5.  TTC should be recalculated if models are adjusted.  The current standard allows for this to happen. 

	MEC Trading
	
	(
	This is a fill-in-the-blank standard.

	Response: The DT disagrees.  Please clarify.

	MRO
	
	(
	1.  The MRO believes that for R1, R2, R4, R5, R6, and R7, the responsible entities described are incorrectly based upon the assumption that all NERC members are members of an RTO.  These requirements should be revised in this regard to provide that "the Transmission Service Provider, the Reliability Coordinator, and/or the Planning Coordinator, as appropriate", do these requirements in the standard. 2.  R6.2 and R6.3 use "first contingency" which implies that the only planning criteria to be used is first contingency outages.  The TTC must be based upon the appropriate planning criteria whatever that is.  The references to first contingency should be made more generic.  3.  R3, R8 and other requirements that indicate that the results are to be made available publicly should indicate that these results should be made available publicly "on the OASIS" so that this information is not made publicly without registration.  4.  R11 should be revised to indicated that "The Transmission Service Provider shall determine the impact of firm ETCs based on "an appropraite level of " the following inputs.  5.  R14 should be expanded to include the use of metered data to forecast non-firm ETC in the operating horizon and therefore, allowing the release of non-firm ETC for non-firm ATCs in the operating horizon.  This method is being used in the MRO to maximize the non-firm offerings in the operating horizon.  The MRO suggests wording such as the following for R18 or as a subrequirement:  "Forecasts of non-firm ETC may be made using metered data so as to allow the release of non-firm ETC in the operating horizon.  When such forecasting methods are used, it may be assumed that reductions in metered flows in the operating horizon are due to reductions in non-firm ETC."

	Response:  See MEC response

	NPCC WG
	
	(
	R1:  MOD-028 requires 'a list', MOD-029 requires 'a description'. The language for this requirement between these two MODs should be consistent.  R2:  This list of contingencies could contain critical infrastructure information.  The phrase "consistent with CEII policies" should be added to the end of this requirement.  R6.1: The intent of the text of Requirement 6.1 in MOD-028 and MOD-029 seems to be the same. If the intent is the same, the language should be the same.

	Response: See ISO NE response.

	PSC SC
	(
	
	

	SCS
	
	(
	R5.11 Comments. It may not be feasible to include all data from neighboring systems (e.g. PC or RC may not be able to incorporate all Special Protection schemes in a base case for TTC calculation).  Also, the timeframes for which the values are being calculated may not allow for the incorporation of this data.

	Response: The DT will address this issue

	SERC ATCWG
	
	(
	See comments in Question 3.

	Response: See response to SERC ATCWG Question 3


7. Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?  If “Yes,” please identify the conflict in the comments area.  

Summary Consideration:  

	Question #7

	Commenter
	Yes
3
	No
12
	Comment

	APPA
	(
	
	See comment No. 1

	Response: See APPA response to comment No. 1.

	Duke Energy
	
	(
	

	Entergy
	
	(
	

	ERCOT
	
	(
	See IRC comments submitted by Charles Yeung.

	Response: See IRC response.

	FirstEnergy
	
	(
	

	HQT
	
	(
	We are not aware of any conflicts.  However, we want to ensure that NERC recognizes that many of the requirements defined in these standards do not apply to entities that do not sell transmission service in advance of the physical flow of energy. For example, many or all items associated with firm and non-firm ETC would be zero for these markets.

	Response: The DT recognizes that some of the ETC components may be zero.  The applicable entities should identify and explain the zero ETC components as part of complying with the standard.

	IESO
	
	(
	However, please note that some markets do not offer physical transmission services and hence some of the requirements in this standard do not apply to these entities.

	Response: See HQT response.

	IRC
	
	(
	No, but please note that some markets do not offer physical transmission services and hence some of the requirements in this standard do not apply to these entities.

	Response: See HQT response.

	ISO NE
	
	(
	We are not aware of any conflicts. However, we want to ensure that NERC recognizes that many of the services (e.g., the offering of firm point to point service, see R.11.4) to which these requirements apply are not offered by Transmission Service Providers that do not sell transmission service in advance of the physical flow of energy.For example, many or all items associated with firm and non-firm ETC would be zero in the markets administered by these TSPs. For example, over the Pool Transmission Facilities in New England, all capability is considered available to the market (i.e., the Total Transfer Capability) until real-time scheduling occurs. With the current arrangement of these proposed standards, the ATC Implementation Document would clearly document how the TSP complies with these standards, based on what services are offered through the Commission-approved tariff and/or market rules.

	Response: See HQT response

	MEC
	
	(
	

	MEC Trading
	(
	
	No requirement for consistency

	Response: OK

	MRO
	
	(
	

	NPCC WG
	
	(
	We are not aware of any conflicts.  However, we want to ensure that NERC recognizes that many of the requirements defined in these standards do not apply to entities that do not sell transmission service in advance of the physical flow of energy. For example, many or all items associated with firm and non-firm ETC would be zero for these markets.

	Response: See HQT response

	PSC SC
	
	(
	

	SCS
	(
	
	R12 requires the TSP to limit the total impact of all Transmission Service from a “POR” (multiple generators) not a specific “generator” as written in Order 890.

	Response: The DT will change POR to “Source” to address this concern.


8. Please provide any other comments (that you have not already provided in response to the questions above) that you have on the draft standard MOD-028-1. 

Summary Consideration:  

	Question #8

	Commenter
	Yes
	No
	Comment

	APPA
	
	
	MOD-028 is very confusing and it will be difficult, if not impossible, to integrate into a Compliance program.  The Compliance Monitor and the industry will have a very difficult time determining what needs to be accomplished to be compliant.

All of the Documents in this review have been written like a policy and this will not permit a Compliance Monitor to be able to determine if the Registered Applicable Function is conducting themselves in a manner that will meet the objectives of the Standards.

	Response: The DT will address this concern through the supplemental SAR and the measures portion of the standard.

	BPA
	
	
	The ATC MODs (MOD-001-1, MOD-028-1, MOD-029-1, and MOD-030-1) do not clearly distinguish the methodologies and their applications.  Please provide narrative descriptions of these methodologies.

The Applicability section 4.1. through 4.3. and R1., R3., R6. through R10., R13., and R16. should be clarified that ATC need only be calculated and posted for Posted Paths, where "Posted Path" is defined consistent with NAESB R-4005 and Order 889, RM95-9-000, April 24, 1996, P. 58-60.

R11.7. and R14.6. -- Please define the term "Post-back".

	Response: The DT disagrees with BPA’s first comment.  The standard as drafted does not need a narrative.  BPA can reference the NERC 1995 document “Total Transfer Capability a Reference Document for Calculating and Reporting the Electric Power Transfer Capability of Interconnected Electric Systems” and the NERC 1996 document “Available Transfer Capability Definitions and Determinations Document a Framework for Determining Available Transfer Capabilities of the Interconnected Transmission Networks for a Commercially Viable Electricity Market” for further clarification.  
MOD-028 standard addresses TTC not ATC.  The TSP is responsible for idetifying paths for the TTC analysis.  FERC Order 889 provides additional clarity for which paths a TSP should have a TTC calculated.

The DT will define “post-backs”.



	ERCOT
	
	
	ERCOT is a separate Interconnection and Region connected to the Eastern Interconnection through DC ties.  Texas Senate Bill 7 effective on 9/1/99 amended the Texas utilities code to provide for the restructuring of the electric utility industry within the ERCOT Interconnection. The act deregulated the electricity generation market to allow for competition in the retail sale of electricity. As of July 2001 the ERCOT interconnection began operation as a single Balancing Authority Interconnection and implemented a market in accordance with the Texas Public Utility commission ruling. Since the implementation of this Act, all of ERCOT has been a single Balancing Authority Area and there has been no reservation of transmission capacity in ERCOT.

Available Transfer Capability is defined as the measure of the transfer capability remaining in the physical transmission network for further commercial activity over and above already committed uses. It is defined as Total Transfer Capability less existing transmission commitments (including retail customer service), less a Capacity Benefit Margin, less a Transmission Reliability Margin. The ERCOT Interconnection has already moved “beyond” ATC and into a Market design which resulted in the disappearance of an explicit transmission service product. In addition the DC Tie transfer capability is planned and coordinated by a TSP  that is a member of both Regions and therefore both ERCOT and SPP are notified when the DC Tie capability is reduced. 

Under ERCOT market rules, Transmission Service allows all eligible transmission service customers to deliver energy from resources to serve load obligations, using the transmission facilities of all of the Transmission Service Providers in ERCOT. Currently ERCOT employs a zonal congestion management scheme that is flow-based, whereby the ERCOT transmission grid, including attached generation resources and load, are divided into a predetermined number of congestion zones. This congestion management scheme applies zonal shift factors, determined by ERCOT, to predict potential congestion under the known topology of the ERCOT System. This scheme is used in the Day Ahead and Adjustment Periods to evaluate potential congestion. During the operating period ERCOT uses zonal shift factors to determine zonal Redispatch deployments needed to maintain flows within zonal limits. The local congestion management scheme relies on a more detailed Operational Model to determine how each particular Resource or Load impacts the transmission system.  This model uses the current known topology of the transmission system. Unit specific Redispatch instructions are then issued to manage local congestion. 

In the future ERCOT will be transitioning from a Zonal Market to a full LMP market.  This system is designed to manage congestion in the Day Ahead and Real-Time on a Resource specific basis. Under both of these market designs transmission facility limits are established in advance and updated based on coordinated exchange of information between transmission providers and ERCOT in planning and operating periods.

 In the current and future ERCOT market design the method of calculating ATC, TTC and the use of CBM and TRM are not applicable to the ERCOT Region. ERCOT does not have a synchronous connection with any other Balancing Authority Area, and does not use the transmission reservation and scheduling practices addressed by these standards. ERCOT requests the drafting team consider revising the wording so that Responsible Entitles required to conform to the standards are those that are synchronously connected with other Balancing Authority Areas and/or offer transmission reservations and schedules within the interconnection. We also recommend that the standard allow for ERCOT exception or exemption from calculation and posting of ATC, TTC, CBM, and TRM without the need for a Regional variance.  

	Response: OK.  Variances are allowed.

	FirstEnergy
	
	
	The standard should include specifics of methods for complying with the term "publicly available" such as posting on OASIS, a corporate web page, etc. (This concept is mentioned in all MOD-028, MOD-029, and MOD-030.) 

R5.10 needs more clarity.  While it provides leeway with respect to recognizing Firm Reservations, the term appropriate is subjective in nature and requires quidance on determing what is appropriate and what is not.

	Response: The DT agrees and will modify the standard accordingly.

	IESO
	
	
	Please see our comments on the Supplementary SAR. Also, as indicated under Q4, we are concerned with the lack of details and specific direction on treatment of FAC-012 and -013, and how changes to these two standards will be coordinated with the requirements in this standard (and MOD-029 and MOD-030).

	Response: The DT will address this concern through the supplemental SAR.

	IRC
	
	
	Please see our comments on the Supplementary SAR. Also, as indicated under Q4, we are concerned with the lack of details and specific direction on treatment of FAC-012 and -013, and how changes to these two standards will be coordinated with the requirements in this standard (and MOD-029 and MOD-030).

	Response: The DT will address this concern through the supplemental SAR.

	MEC
	
	
	The purpose of each of the standards should be revised to be more in-line with each other, that is some refer to "transparent" and others do not.  The purpose in MOD-028-1 be revised to replace "uniform" with "transparent".

	Response: The DT feels MOD-028 is in line with MOD-029 and MOD-030.

	MEC Trading
	
	
	This standard should be combined with MOD-30 and the requirements should be written to require consistency.

	Response: The DT and FERC disagrees.  There is sufficient difference between the two methods to warrant separate standards.

	MRO
	
	
	The purpose of each of the standards should be revised to be more in-line with each other, that is some refer to "transparent" and others do not.  The MRO recommends that the purpose in MOD-028-1 be revised to replace "uniform" with "transparent".   

	Response: The DT will address this concern through the supplemental SAR.

	SCS
	
	
	1. As drafted, it is not completely clear as to which of the requirements would apply to long-term planning and which requirements would not apply.

2. The group should consider how conditional firm will be treated with respect to ETC and the TTC calculation.

3. The reference in R12 to "nameplate" should be change to "maximum capability."  Under certain conditions, the output of a generator can exceed the value of its nameplate.

	Response: MOD-028 as drafted does not apply to long-term planning.  The evaluation of long-term service requests is addressed very prescriptively in each TSPs OATT; therefore to avoid any potential conflict MOD-028 only pertains to short-term transmission service requests.  Additionally, as mandated by FERC Order 890 it is expected that long—term service requests be evaluated by the same criteria that a transmission owners use to plan their respective system.
Conditional Firm Service (hours based) should be treated as Firm ETC expect in the time frames (horizons) that curtailment is probable.  Conditional Firm Service (contingency based) should be treated as Firm ETC for all horizons; however, operationally it is expected that RCs will develop processes to curtail this service when the limiting contingency occurs.  NAESB should develop business practices for the conversion of both types of long-term Conditional Firm Service(CFS) when sufficient short-term ATC is available to make all or a portion of the  CFS service firm as described in FERC Order 890.

The DT agrees to change to “maximum capability”.

	SERC ATCWG
	
	
	Standard is not clear as to what applies to long-term timeframe and short-term timeframe. 

Reference in  R12 to generator nameplate should be changed to maximum capability since in some conditions the generator can exceed nameplate rating.   

	Response: The standard applies only to the short-term service horizon.  The DT will change to “maximum capability”.


� The appeals process is in the Reliability Standards Development Procedures: http://www.nerc.com/standards/newstandardsprocess.html.  








Page 7 of 27

