Standard MOD-001-1 — Available Transfer Capability

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.
4. SDT posted first draft for comment from February 15 – March 16, 2007.
Description of Current Draft:

This is the second draft of the proposed standard posted for stakeholder comments.  This draft represents consideration of stakeholder comments submitted with the first draft of the proposed revisions to MOD-001 as well as consideration of applicable FERC directives from FERC Order 693 and Order 890.
Future Development Plan:

	1. Post revised standard for stakeholder comments.
	May 25 – June 24, 2007

	2. Respond to comments.
	TBD

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. Post for 30-day pre-ballot review.
	TBD

	6. First ballot of standard.
	TBD

	7. Respond to comments.
	TBD

	8. Recirculation ballot.
	TBD

	9. 30 Day posting before board adoption.
	TBD

	10. Board adopts MOD-001-1.
	TBD


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Posted Path 1) Any Balancing Authority to Balancing Authority interconnection; 2) any path for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months; 3) and any path for which a customer requests to have ATC or TTC posted.  For purposes of this definition, an hour includes any part of an hour during which service was denied, curtailed or interrupted.

Introduction

1. Title:
Available Transfer Capability
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and transparent application and documentation of Available Transfer Capability (ATC) calculations for reliable system operations.  
4. Applicability:

4.1. Planning Coordinators that are synchronously connected to or wholly within the Eastern Interconnection, Western Interconnection, or Quebec Interconnection.
4.2. Reliability Coordinators that are synchronously connected to or wholly within the Eastern Interconnection, Western Interconnection, or Quebec Interconnection.
4.3. Transmission Service Providers that are synchronously connected to or wholly within the Eastern Interconnection, Western Interconnection, or Quebec Interconnection. 

4.4. Transmission Planners that are synchronously connected to or wholly within the Eastern Interconnection, Western Interconnection, or Quebec Interconnection.
5. Effective Date:
TBD
B. Requirements

R1. Each Transmission Planner shall select one or more of the ATC methodologies specified in Reliability Standard MOD-028, MOD-029, and MOD-030 for use in determining Transfer Capabilities of those Facilities within the Transmission Planner’s planning area.  Only one method may be used for each Posted Path or Flowgate per timeframe.
R2. Each Transmission Planner shall not select any methodology that has not been approved by their associated Planning Coordinator.
R3. Each Transmission Planner, and its associated Transmission Service Providers and Reliability Coordinators, shall apply the agreed upon ATC methodology or methodologies to calculate ATC values for the time periods listed below:
R3.1. Same day and real-time.

R3.2. Day ahead and pre-schedule. 
R3.3. Beyond the day-ahead and pre-schedule, up to thirteen (13) months ahead.
R4. Each Transmission Service Provider shall prepare and maintain an “Available Transfer Capability Implementation Document” (ATCID) that includes, as a minimum, the following information:

R4.1. Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC or AFC calculations may be validated.
R4.2. A description of the manner in which the Transmission Service Provider will account for counterflows, for both its own facilities and those of adjacent Transmission Service Providers.
R4.3. The identity of the Planning Coordinator and Reliability Coordinator associated with each Facility under the Transmission Service Provider’s tariff.
R4.4. The identity of the Transmission Service Providers to which it provides data for use in calculating transfer capability.
R4.5. The identity of the Transmission Service Providers from which it receives data for use in calculating transfer capability.
R5. The Transmission Service Provider shall notify the following entities (via electronic mail) a minimum of 14 calendar days before implementing a new or revised ATCID: 
R5.1. Each Transmission Planner in the Transmission Service Provider’s area.

R5.2. Each Planning Coordinator in the Transmission Service Provider’s area.

R5.3. Each Reliability Coordinator in the Transmission Service Provider’s area.

R5.4. Each Transmission Operator in the Transmission Service Provider’s area.

R5.5. Each Planning Coordinator adjacent to the Transmission Service Provider’s area.

R5.6. Each Reliability Coordinator adjacent to the Transmission Service Provider’s area.

R5.7. Each Transmission Service Provider whose area is adjacent to the Transmission Service Provider’s area.

R5.8. 
R6. Each Transmission Service Provider shall, at a minimum, adjust ATC within ten minutes of the time any of these components changes: TFC, ETC, AFC, CBM, TRM, or posted TTC.  
R7. 
R8. 
R9. 
R10.  
R11. Within fourteen calendar days of a request of any Transmission Service Provider, Planning Coordinator, Transmission Planner, Reliability Coordinator, or Transmission Operator, each Transmission Service Provider shall begin to make available on the schedule specified by the requestor to all Transmission Service Providers, Planning Coordinators, Transmission Planners, Reliability Coordinators, and Transmission Operators, current versions of the following data in electronic format for use in ATC calculations, for up to 13 months into the future (subject to confidentiality and security requirements): 

R11.1. Load forecasts by Balancing Authority
R11.2. Generation dispatch, in one of the following formats chosen by the provider:

· dispatch order
· participation factors
· block dispatch
R11.3. Topology

R11.4. Transmission reservations 

R11.5. Assumptions regarding transmission and generation facilities additions and retirements

R11.6. Power flow models and underlying assumptions
R11.7. Facility ratings

R11.8. Counterflows

R11.9. Existing transmission commitments

R11.10. TTC or AFC recalculation frequency (or notification of a change in TTC or AFC in advance of it changing)
R11.11. Source and sink identification and mapping to the model
R11.12. Third party allocation methodologies

R12. Each Transmission Service Provider, requesting data under R.6 shall utilize that specific data for purposes of consistency in the determination of ATC.

R13. The level of modeling detail in Transmission models used to determine ATC shall be reviewed with and approved by adjacent Transmission Service Providers.
R14. The limits used in Transmission models used to determine ATC shall be reviewed with and approved by adjacent Transmission Service Providers.
R15. 
R16. 
R17. 
R18. 
R19. 
R20. 
R21. 
R22. 
R23. 









�Shannon suggested this – however, is this already covered in the MODs?





Draft 2: May 25, 2007
2 of 4 

Proposed Effective Date:  To be determined

