Standard MOD-028-1 — Area Interchange Methodology

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development June 20 2005.

2. SAC Authorized the SAR to be development as a standard on February 14 2006.

3. SC appointed a Standard Drafting Team on March 17, 2006.

Description of Current Draft:

This is the first draft of the proposed standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Definitions of Terms Used in Standard
This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Area Interchange Methodology: A method for determining ATC, characterized by:

· Most facilities within the Balancing Area are considered

· An initial calculation of TTC for the interface (POR/POD or Source/Sink), followed by periodic recalculations to capture topology changes

ATC is calculated by decrementing the nominal value of a reservation against a path from the path’s TTC (unless that reservation has been incorporated into the model used to calculate TTC)

· Introduction

1. Title:
Area Interchange Methodology
2. Number:
MOD-028-1 
3. Purpose:
To promote the consistent and transparent application and documentation of Available Transfer Capability (ATC) calculations performed using the Area Interchange Methodology for reliable system operations.
4. Applicability:

4.1. Each Planning Coordinator that uses the Area Interchange Methodology to calculate ATCs for Posted Paths identified in an Available Transfer Capability Implementation Document
4.2. Each Reliability Coordinator that uses the Area Interchange Methodology to calculate ATCs for Posted Paths identified in an Available Transfer Capability Implementation Document
4.3. Each Transmission Service Provider that uses the Area Interchange Methodology to calculate ATCs for Posted Paths identified in an Available Transfer Capability Implementation Document
5. Effective Date:
TBD
B. Requirements

R1. Each Planning Coordinator and Reliability Coordinator shall provide its Transmission Service Provider with a list of the Contingencies and assumptions it uses in determining Transfer Capabilities for the Posted Paths under the Transmission Service Provider’s tariff.
R2. The Transmission Service Provider shall make the Contingencies and criteria used to determine the contingencies provided by the Planning Coordinator or Reliability Coordinator publicly available.
 

R3. The Transmission Service Provider shall make publicly available a list of its Point-of-Receipt (POR) to Point-of-Delivery (POD) Posted Paths that includes, at a minimum, all interfaces between Balancing Authorities within or adjacent to the Transmission Service Provider’s area.

R4. Each Planning Coordinator and Reliability Coordinator shall ensure that the Total Transfer Capability (TTC) for each of its Transmission Service Provider’s Posted Paths is calculated and up-to-date for use within the Transfer Capability time horizons specified in MOD-001 Requirement 2.  
R5. Prior to calculating TTC, each Planning Coordinator and Reliability Coordinator shall update the following components of the base case power flow model it uses to calculate TTC for the time horizon being studied:

R5.1. Anticipated transmission system configuration. 

R5.2. Facility Ratings.
R5.3. Load forecast. 
R5.4. Transmission system elements scheduled to be taken out of or returned to service. 

R5.5. Generation resources scheduled to be taken out of or returned to service.
R5.6. Unplanned transmission system Element outages.  

R5.7. Unplanned generation resource outages.  

R5.8. Typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis. 

R5.9. Special Protection System models.

R5.10. Appropriate Firm Transmission Service Reservations
R5.11. All the following data as provided by adjacent Transmission Service Providers, and any of the following data provided by any other Transmission Service Providers with which coordination agreements have been executed. 

· Load forecasts by Balancing Authority

· Generation dispatch

· Topology

· Transmission reservations 

· Assumptions regarding transmission and generation facilities additions and retirements

· Power flow models and underlying assumptions

· Facility ratings

· Counterflows

· Existing transmission commitments

· TTC or AFC recalculation frequency (or notification of a change in TTC or AFC in advance of it changing)

· Source and sink identification and mapping to the model

· Third party allocation methodologies 

R6. Each Planning Coordinator and Reliability Coordinator shall follow these steps in determining the TTC for each Posted Path specified:
· Study the impact of increasing the transfer(s) between the POR and POD by adjusting Loads or generation to reach a reliability limit (first contingency incremental transfer capability) such that the system can withstand any single Contingency and achieve the following results:

· Transient, dynamic or voltage instability shall not occur.
· All facilities shall be within their associated Facility ratings. 

· Cascading Outages or uncontrolled separation shall not occur.  

· Add into the first contingency incremental transfer capability, all impacts of Firm Transmission Service Reservations that were included in the study model to obtain the first contingency TTC
.

· Use (as the TTC) the lesser of the value of the first contingency TTC or the sum of Facility Ratings of all interfaces between the POR and POD.

R7. The Planning Coordinator and Reliability Coordinator shall each provide its Transmission Service Provider with the TTC for each of the specified Posted Paths.
R8. The Transmission Service Provider shall make publicly available the TTC provided by its Planning Coordinator and Reliability Coordinator(s) upon their being made available to the Transmission Service Provider. 

R9. 

R10. The Transmission Service Provider shall calculate firm ATC by reducing the TTC by the sum of the Firm Existing Transmission Commitments (ETCs), the Capacity Benefit Margin (CBM), and the Transmission Reliability Margin (TRM) allocated to the Posted Path.

R11. The Transmission Service Provider shall determine the impact of firm ETCs based on the following inputs:

· The transmission capability utilized in serving Native Load commitments, to include Native Load growth, load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of Firm Network Integration Transmission Service serving Load, to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of grandfathered Firm Transmission Service Agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC.
· The impact of Firm Point-to-point Transmission Service.
· The impact of maintaining roll-over rights for Firm Transmission Service contracts, five years or longer in duration, granting Transmission Customers the right of first refusal to take or continue to take Transmission Service from a Transmission Owner when the Transmission Customer’s Transmission Service contract expires or is eligible for renewal.
· The impact of any Ancillary Services not otherwise included in CBM or TRM,
· Post-backs of redirected relenqusihed 
Firm Transmission Service,  
· The impact of counter-flows not otherwise accounted for in the ATC calculation.
· The impact of any other services, contracts, or agreements not specified above using transmission that serves Native Load or Firm Network Integration Transmission Service. 

· Firm ETC which has not been accounted for from all adjacent Transmission Service Providers, as well as those with which coordination agreements have been executed.
R12. The Transmission Service Provider shall limit the total impact of all Transmission Service from a specific POR to not exceed sum of the nameplate ratings of all generators at that POR.
R13. When determining impacts of a reservation, the source or sink point shall be determined as follows:

· If the point has been specified in the request and it is discretely modeled in the TSPs ATC/AFC model, the discretely modeled point shall be used

· If the point has been specified in the request and the point can be mapped to an “equivalence” modeled in the TSPs ATC/AFC model, the modeled equivalence shall be used

· If the point has been specified in the request and the point cannot be mapped to discretely modeled point or an “equivalence” modeled in the TSPs ATC/AFC model, the interface point with the adjacent Transmission Service Provider (upstream or downstream, as appropriate) shall be used

· If the point has not been specified, the interface point with the adjacent Transmission Service Provider (upstream or downstream, as appropriate) shall be used
R14. The Transmission Service Provider shall calculate Non-Firm ATC by reducing the TTC by the sum of the Firm ETCs, the Non-Firm ETCs, any scheduled use of CBM, and the TRM that the Transmission Service Provider has not elected to release allocated to the Posted Path.

R15. The Transmission Service Provider shall determine the impact of non-firm ETCs based on the following inputs:

· The impact of Non-Firm Network Integration Transmission Service serving Load, to include load forecast error and losses not otherwise included in TRM or CBM.   

· The impact of grandfathered non-firm Transmission Service Agreements and bundled contracts for energy and transmission, where executed prior to the effective date of a Transmission Service Provider’s Open Access Transmission Tariff or Safe Harbor Tariff accepted by FERC.
· The impact of Non-firm Point-to-point Transmission Service,

· The impact of counter=flows not otherwise accounted for in the ATC calculation.

· Capacity utilized for TRM that the Transmission Service Provider has elected to be released as non-firm ATC.
· Post-backs of redirected or relenquished Non-Firm Transmission Service
· Non-Firm ETC which has not been accounted for from all adjacent Transmission Service Providers, as well as those with which coordination agreements have been executed.
R16. The Transmission Service Provider shall increase Non-firm ATC by the amount of capacity associated with unscheduled Transmission Service accounted for within Firm and Non-Firm ETC, to the extent allowable by the agreement associated with the service, in accordance with established business practices.  

R17. The Transmission Service Provider shall make publicly available the ATC for each Posted Path. 







�NAESB posting


�NAESB Posting


�Should this be incremental transfer capability?


�NAESB posting


�Double jeopardy with MOD-001


�Being discussed at NAESB, so may need to be included.  Maybe for temporary “undesignation” of a DNR


�NAESB Posting





Draft 1: May 25, 2007
4 of 7 

Proposed Effective Date:  To be determined

