ISO New England Comments on OASIS Business Practices for FERC Order 890
Due 8/15/2007


1. There are several places in these requirements that state certain information is ‘to be made publicly available’.  There should be qualifiers on these statements such that CEII protocols are followed.

2. Section (b).3.  There is an inconsistency between the wording of the required ATC component posting and the proposed templates provided for those postings.  The wording requires the posting of TTC, TRM and CBM to be ‘by the day’, ‘by the month’, ‘on-peak’ or ‘off-peak’. However, there is only a ‘start’/’stop’ in the systemdata template which does allow service increments to be specified in the posting.  However, if these components do not have a strong connection to the service increment, the proposed systemdata template would be adequate.  In comments on the S&CP, ISO-NE has suggested that the TRM and CBM be included in the TS_CLASS and that the Transmission Provider be allowed to choose if they will post the TTC/TRM/CBM values using the TS_CLASS approach or the simplified systedata approach.  We recommend that the Transmission Provider not be required to post the data in two formats.  Whichever approach is selected, the language of Section 3 should be modified to be consistent with that approach.
3. Section (b).3.i.C.2 defines when hourly values must be updated, but there is no mention of how often any other duration or service must be updated 
4. Section (b).3.i.C.3 contains language that new values for ATC need to be posted when they are affected by more than a 10% change in TTC.  This is the only requirement associated with when the monthly and yearly posted ATCs need to be updated. We recognize this is specific language that was in the FERC Order.  However, we recommend it be positioned differently in the section, or reworded, to be clear that this is not the only time that the posted monthly and yearly ATC values should be updated. .   

5. Section (b)3.i.C.4 says “When the monthly and yearly capability posted…”. The FERC Order 890 paragraph 369 requires this to be “When the monthly or yearly capability posted…”.  

6. Section (b).3 is dealing specifically with posting requirements. However, the overall Section (b)3.iii is not related to posting. One of the items is a document that must be posted, but it would be more consistent with the content of Section (b).3 to place both these (b).3.iii.A and (b).3.iii.B elsewhere in the requirements. 
7. Section (i) is the only place in the requirements that mentions flowgates.  We recommend that either this term be removed of, if any specific requirements are associated with flowgates that the term be utilized throughout the requirements.

8. The proposed format of the systemdata template allows for the FERC required postings, but the Business Practice standards to not provide any guidance on those FERC required postings (p. 916); the one general statement does not promote consistent posting of this data. For example:

· How far in advance are load forecasts to be posted?

· In what granularity are load forecasts to be posted (i.e. peak only, every hour)?
· How often should the posted load forecasts be updated?

9. We recommend that a qualifier be added in WEQ-001 such that if the load forecast data for a TSP does not have any impact on their ATC, that the TSP is not required to post load forecast data as defined in the NAESB requirements, and that the TSP is required to describe on their OASIS (in their Business Practices) why the load forecast data does not impact their ATC?

10. We are not sure if this suggestion belongs in the Implementation Guide or the Business Practices document, so we will present this comment to both committees.  Customers request service on OASIS in response to offerings posted by the Transmission Providers. While those offerings do not contain the acronym ‘ATC’, those posted offerings represent the ‘available transfer capability’ on their system at any given time.  We recommend that it be clear in the NAESB documentation that the posting the service available using the TS_CLASS and TS_TYPE features meets the FERC requirement to post ATC such that Transmission Providers are NOT required to reiterate their ‘available transfer capability’ through the generalized format provided for in the SYSTEMDATA template. 

11. No information is specified on the required additional posting for firm curtailments per paragraph 1627.
12. There are several places in the OASIS templates that allow for the Transmission Provider to register additional types or attributes.  There are also templates that are optional.  WEQ-001 should require that if the Transmission Provider registers any additional types or attributes to be used in their templates or is using any optional template, that the description of such be contained Transmission Provider’s Business Practices, which would be posted on OASIS.  Some example of these are: 
· using security template for Outage Postings

· using the security template for Curtailment Even Postings

· registering additional elements for use in the systemdata template

· registering additional reduction types for use in the reduction template

Page 2

8/15/2007

