Here is a list of post-backs.  Not all may be incorporated at every utility and not all are incorporated at Duke.  I probably overlooked some, since I’m doing this quickly.
 
The following impact both the internal ATC calculation and the external ATC calculation.
1. Unscheduled Firm PTP reservations posts back to NF ATC. 

2. Unscheduled Non-Firm PTP reservations posts back to NF ATC. 

3. Unscheduled Secondary PTP reservations (Non-Firm Redirect of a Firm PTP reservation) posts back to NF ATC. (If your rules require Secondary PTP reservations to decrement NF ATC, which Duke does.  As info, some companies may disagree that NF ATC should be decremented for Secondary PTP reservations.) 

4. Unscheduled Firm Network reservations posts back to NF ATC. 

5. Unscheduled Secondary Network reservations (Non-Firm Network – as info, this is not a redirect of a Firm Network) posts back to NF ATC. 

6. Displaced Firm reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being displaced. 

7. Annulled Firm reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

8. Recalled Firm reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being recalled. 

9. Displaced Non-Firm reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being displaced. 

10. Annulled Non-Firm reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

11. Recalled Non-Firm reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being recalled. 

12. Firm Redirect of a Firm PTP causes post back to F ATC on the path of the Parent reservations’ path for the time interval of the Firm Redirect and may also post back to NF ATC depending on the horizon.  (Note:  Non-Firm Redirect of a Firm reservation does not impact the Firm ATC on the Parent Reservation’s path.) 

13. Firm Redirect of a Firm PTP may causes post back to F ATC on the path of the Parent reservations’ path for rollover rights that were set-aside in the Firm ATC calculation.  This is dependent on the term of the Firm Redirect (and details on how to handle have not yet been established as a NAESB BP). 

14. Terminated Firm Network reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

15. Terminated Secondary Network reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

16. Downward adjustments and terminations of Firm PTP Tags (7F) may post back to NF ATC depending on the horizon. 

17. Downward adjustments and terminations of Firm Network Tags (7FN) may post back to NF ATC depending on the horizon. 

18. Downward adjustments and terminations of Non-Firm PTP Tags (NERC priority 2NH-5NM) may post back to NF ATC depending on the horizon. 

19. Downward adjustments and terminations of Secondary PTP Tags (1NS) may post back to NF ATC depending on the horizon. 

20. Downward adjustments and terminations of Firm Network Tags (7FN) may post back to NF ATC depending on the horizon. 

21. Downward adjustments and terminations of Secondary Network Tags (6NN) may post back to NF ATC depending on the horizon. 

 
 
The following only impact the internal ATC calculation:
1. Withdrawn Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

2. Retracted Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

3. Superseded Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

4. Withdrawn Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

5. Retracted Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

6. Superseded Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

7. Counteroffer with lower MW of a Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

8. Counteroffer with lower MW of a Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

9. Withdrawn Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

10. Retracted Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

11. Superseded Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

12. Withdrawn Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

13. Retracted Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

14. Superseded Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

15. Counteroffer with lower MW of a Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

16. Counteroffer with lower MW of a Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

17. Withdrawn Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

18. Retracted Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

19. Superseded Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

20. Withdrawn Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

21. Retracted Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

22. Superseded Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

23. Counteroffer with lower MW of a Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

24. Counteroffer with lower MW of a Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

25. Withdrawn Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

26. Retracted Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

27. Superseded Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

28. Withdrawn Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

29. Retracted Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

30. Superseded Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

31. Counteroffer with lower MW of a Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

32. Counteroffer with lower MW of a Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

33. Withdrawn Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

34. Retracted Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

35. Superseded Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

36. Withdrawn Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

37. Retracted Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

38. Superseded Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

39. Counteroffer with lower MW of a Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

40. Counteroffer with lower MW of a Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

